## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 8 |  |  |  | Date : 08/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 08/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.08 | 201.79 | 0.02 | 85.65 | 0.86 | 0.24 | 0.01 | 0.01 | 24.84 | NA | 3.21 | 8.79 | 0.02 | 0 | 889.62 | NA | 2.72 | 0.06 | 0.01 | 13.56 | 55.01
07-08Hr | 0.04 | 183.14 | 0.02 | 76.51 | 0.7 | 0.39 | 0.01 | 0.01 | 27.27 | NA | 3.44 | 8.8 | 0.02 | 0 | 890.1 | NA | 2.45 | 0.06 | 0.01 | 14.29 | 58.29
08-09Hr | 0.11 | 177.91 | 0.02 | 82.67 | 0.21 | 0.03 | 0.01 | 0.01 | 25.23 | NA | 3.11 | 8.83 | 0.02 | 0 | 890.11 | NA | 2.6 | 0.06 | 0.01 | 10.24 | 79.1
09-10Hr | 0.14 | 178.33 | 0.02 | 75.36 | 0.62 | 0.23 | 0.01 | 0.01 | 27.09 | NA | 3.49 | 8.94 | 0.02 | 0 | 889.74 | NA | 2.58 | 0.06 | 0.01 | 11.7 | 115.42
10-11Hr | 0.1 | 209.5 | 0.02 | 74.02 | 0.54 | 0.08 | 0.01 | 0.01 | 27.59 | NA | 3.24 | 8.94 | 0.02 | 0 | 888.84 | NA | 2.7 | 0.06 | 0.01 | 16.67 | 45.5
11-12Hr | 0.1 | 190.03 | 0.02 | 72.55 | 0.94 | 0.21 | 0.01 | 0.01 | 28.07 | NA | 3.22 | 8.97 | 0.02 | 0 | 887.82 | NA | 2.53 | 0.06 | 0.01 | 15.54 | 103.8
12-13Hr | 0.1 | 163.46 | 0.02 | 67.94 | 0.94 | 0.13 | 0.01 | 0.01 | 29.89 | NA | 3.26 | 9.33 | 0.02 | 0 | 886.99 | NA | 2.68 | 0.06 | 0.01 | 8.04 | 104.95
13-14Hr | 0.12 | 197.25 | 0.02 | 82.89 | 0.78 | 0 | 0.01 | 0.01 | 26.24 | NA | 2.88 | 9.04 | 0.02 | 0 | 886.62 | NA | 2.5 | 0.06 | 0.01 | 9.54 | 61.97
14-15Hr | 0.07 | 187.98 | 0.02 | 92.96 | 0.7 | 0.23 | 0.01 | 0.01 | 23.28 | NA | 3.33 | 9.08 | 0.02 | 0 | 886.5 | NA | 2.48 | 0.06 | 0.01 | 12.62 | 1.12
15-16Hr | 0.14 | 172.77 | 0.02 | 96.74 | 0.54 | 0.21 | 0.01 | 0.01 | 22.22 | NA | 3.35 | 9.01 | 0.02 | 0 | 886.83 | NA | 2.55 | 0.06 | 0.01 | 11.92 | 0
16-17Hr | 0.12 | 189.98 | 0.02 | 96.89 | 0.26 | 0.21 | 0.01 | 0.01 | 21.79 | NA | 3.01 | 8.94 | 0.02 | 0 | 887.51 | NA | 2.38 | 0.06 | 0.01 | 11.74 | 0
17-18Hr | 0.08 | 187.72 | 0.02 | 96.7 | 0.18 | 0.15 | 0.01 | 0.01 | 21.76 | NA | 3.08 | 8.83 | 0.02 | 0 | 888.56 | NA | 2.48 | 0.06 | 0.01 | 14.65 | 0
18-19Hr | 0.16 | 184.61 | 0.02 | 96.61 | 0.37 | 0.1 | 0.01 | 0.01 | 21.68 | NA | 3.33 | 8.9 | 0.02 | 0 | 889.39 | NA | 2.71 | 0.06 | 0.01 | 13.85 | 0
19-20Hr | 0.23 | 189.81 | 0.02 | 98.09 | 0.35 | 0.28 | 0.01 | 0.01 | 21.5 | NA | 3.38 | 9.04 | 0.02 | 0 | 889.8 | NA | 2.43 | 0.06 | 0.01 | 18.09 | 0
20-21Hr | 0.17 | 183.8 | 0.02 | 99.15 | 0.62 | 0.28 | 0.01 | 0.01 | 21.28 | NA | 3.22 | 8.97 | 0.02 | 0 | 889.72 | NA | 2.46 | 0.06 | 0.01 | 17.1 | 0
21-22Hr | 0.11 | 177.52 | 0.02 | 99.02 | 0.7 | 0.26 | 0.01 | 0.01 | 21.23 | NA | 3.35 | 9.04 | 0.02 | 0 | 889.65 | NA | 2.51 | 0.06 | 0.01 | 16.11 | 0
22-23Hr | 0.08 | 180.65 | 0.02 | 99.24 | 0.45 | 0.21 | 0.01 | 0.01 | 21.19 | NA | 3.24 | 9.01 | 0.02 | 0 | 889.45 | NA | 2.45 | 0.06 | 0.01 | 18.42 | 0
23-00Hr | 0.11 | 183.8 | 0.02 | 99.5 | 1.18 | 0.05 | 0.01 | 0.01 | 20.91 | NA | 3.24 | 8.83 | 0.02 | 0 | 888.92 | NA | 2.8 | 0.06 | 0.01 | 22.05 | 0
00-01Hr | 0.1 | 192.75 | 0.02 | 99.5 | 0.7 | 0.54 | 0.01 | 0.01 | 20.79 | NA | 3.42 | 8.94 | 0.02 | 0 | 888.55 | NA | 2.33 | 0.06 | 0.01 | 19.47 | 0
01-02Hr | 0.07 | 196.94 | 0.02 | 99.5 | 0.78 | 0.15 | 0.01 | 0.01 | 20.87 | NA | 3.26 | 8.8 | 0.02 | 0 | 888.38 | NA | 2.46 | 0.06 | 0.01 | 21.53 | 0
02-03Hr | 0.16 | 185.78 | 0.02 | 99.5 | 0.54 | 0.08 | 0.01 | 0.01 | 20.85 | NA | 3.04 | 8.76 | 0.02 | 0 | 888.31 | NA | 2.58 | 0.06 | 0.01 | 20.48 | 0
03-04Hr | 0.13 | 202.9 | 0.02 | 99.5 | 0.37 | 0.28 | 0.01 | 0.01 | 20.82 | NA | 3.53 | 8.65 | 0.02 | 0.06 | 888.52 | NA | 2.68 | 0.06 | 0.01 | 18.26 | 0
04-05Hr | 0.04 | 224.6 | 0.02 | 99.5 | 0.45 | 0.1 | 0.01 | 0.01 | 20.74 | NA | 3.35 | 8.69 | 0.02 | 0.27 | 888.88 | NA | 2.7 | 0.06 | 0.01 | 13.57 | 0
05-06Hr | 0.12 | 221.37 | 0.02 | 99.5 | 0.7 | 0.08 | 0.01 | 0.01 | 20.73 | NA | 3.2 | 8.72 | 0.02 | 0.03 | 889.24 | NA | 2.7 | 0.06 | 0.01 | 13.46 | 8.09
06-07hr | 0.46 | 233.86 | 0.02 | 99.5 | 0.21 | 0 | 0.01 | 0.01 | 21.19 | NA | 2.88 | 8.58 | 0.02 | 0 | 889.68 | NA | 3.35 | 0.06 | 0.01 | 21.94 | 8.8
Avg | 0.13 | 191.93 | 0.02 | 91.56 | 0.59 | 0.18 | 0.01 | 0.01 | 23.16 | NA | 3.24 | 8.9 | 0.02 | 0.01 | 888.71 | NA | 2.59 | 0.06 | 0.01 | 15.39 | 25.68
Min | 0.04 | 163.46 | 0.02 | 67.94 | 0.18 | 0 | 0.01 | 0.01 | 20.73 | NA | 2.88 | 8.58 | 0.02 | 0 | 886.5 | NA | 2.33 | 0.06 | 0.01 | 8.04 | 0
Max | 0.46 | 233.86 | 0.02 | 99.5 | 1.18 | 0.54 | 0.01 | 0.01 | 29.89 | NA | 3.53 | 9.33 | 0.02 | 0.27 | 890.11 | NA | 3.35 | 0.06 | 0.01 | 22.05 | 115.42
Geom.Mean | 0.13 | 191.93 | 0.02 | 91.56 | 0.59 | 0.18 | 0.01 | 0.01 | 23.16 | NA | 3.24 | 8.9 | 0.02 | 0.01 | 888.71 | NA | 2.59 | 0.06 | 0.01 | 15.39 | 25.68
Median | 0.11 | 187.98 | 0.02 | 96.89 | 0.62 | 0.21 | 0.01 | 0.01 | 21.68 | NA | 3.24 | 8.94 | 0.02 | 0 | 888.88 | NA | 2.55 | 0.06 | 0.01 | 14.65 | 0
Mode | 0.1 | 183.8 | 0.02 | 99.5 | 0.7 | 0.21 | 0.01 | 0.01 | 21.19 | NA | 3.24 | 8.94 | 0.02 | 0 | 890.11 | NA | 2.7 | 0.06 | 0.01 | 8.04 | 0
Std.Deviation | 0.08 | 16.47 | 0 | 10.67 | 0.26 | 0.12 | 0 | 0 | 2.9 | NA | 0.17 | 0.16 | 0 | 0.05 | 1.11 | NA | 0.2 | 0 | 0 | 3.94 | 39.45
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0