## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 20 |  |  |  | Date : 20/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 20/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 2 | 0.16 | 4.65 | 99.5 | 20.88 | 143.33 | 0.03 | 3.46 | 2.76 | 0.23 | 0.06 | 0 | 7.27 | 884.16 | 18.99 | 3.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 11 | 0.18 | 4.65 | 99.5 | 20.91 | 121.42 | 0 | 3.24 | 2.52 | 0.3 | 0.06 | 0 | 7.28 | 884.25 | 9.87 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 10 | 0.1 | 4.65 | 99.5 | 21.09 | 132.02 | 0 | 3.17 | 2.56 | 0.35 | 0.06 | 0 | 7.17 | 884.21 | 14.47 | 3.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 6 | 0.07 | 4.67 | 99.5 | 21.45 | 135.05 | 0 | 3.05 | 2.5 | 1.67 | 0.06 | 0 | 7.52 | 883.87 | 37.76 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 6 | 0.27 | 4.7 | 99.19 | 22.5 | 140.85 | 0 | 3.27 | 2.51 | 2.6 | 0.06 | 0 | 8.51 | 883.38 | 57.36 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 9 | 0.12 | 4.73 | 92.48 | 23.85 | 127.12 | 0 | 3.22 | 2.57 | 0.3 | 0.06 | 0 | 10.76 | 882.72 | 75.97 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 35 | 0.23 | 4.72 | 90.1 | 24.11 | 118.38 | 0 | 3.22 | 2.51 | 0.32 | 0.06 | 0 | 9.51 | 882.12 | 45.72 | 2.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 35 | 0.25 | 4.8 | 93.22 | 23.68 | 105.6 | 0 | 3.38 | 2.52 | 0.39 | 0.06 | 0 | 7.31 | 881.55 | 24.03 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 25 | 0.21 | 4.81 | 94.87 | 23.18 | 130.49 | 0.97 | 3.17 | 2.45 | 0.34 | 0.06 | 0 | 7.57 | 881.21 | 19.32 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 21 | 0.15 | 4.83 | 97.12 | 22.24 | 145.41 | 0.03 | 3.19 | 2.54 | 0.33 | 0.06 | 0 | 7.53 | 881.34 | 9.44 | 2.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 13 | 0.13 | 4.81 | 99.12 | 21.87 | 119.53 | 0 | 3.16 | 2.48 | 0.18 | 0.06 | 0.13 | 10.64 | 881.77 | 1.69 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 8 | 0.13 | 4.79 | 99.5 | 21.27 | 128.8 | 0 | 3.15 | 2.48 | 0.24 | 0.06 | 0 | 7.97 | 882.35 | 0 | 3.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 7 | 0.17 | 4.76 | 99.15 | 21.32 | 130.48 | 0 | 3.17 | 2.51 | 1.38 | 0.06 | 0 | 7.45 | 882.61 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 9 | 0.22 | 4.74 | 98.8 | 21.38 | 127.22 | 1.93 | 3.22 | 2.46 | 0.28 | 0.06 | 0 | 8.66 | 883.25 | 0 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 10 | 0.23 | 4.79 | 98.49 | 21.42 | 131.87 | 0.07 | 3.22 | 2.51 | 0.05 | 0.06 | 0 | 8.97 | 883.57 | 0 | 2.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 10 | 0.18 | 4.76 | 99 | 21.37 | 148.91 | 0 | 3.29 | 2.59 | 0.1 | 0.06 | 0 | 7.44 | 883.5 | 0 | 3.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 13 | 0.2 | 4.78 | 98.67 | 21.59 | 131.31 | 0 | 3.23 | 2.49 | 0.07 | 0.06 | 0 | 7.56 | 883.4 | 0 | 3.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 7 | 0.16 | 4.84 | 99.5 | 21.27 | 155.01 | 0 | 3.37 | 2.64 | 0.07 | 0.06 | 0 | 9.4 | 882.83 | 0 | 3.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 2 | 0.22 | 4.74 | 99.5 | 21.19 | 198.43 | 0 | 3.22 | 2.46 | 0.07 | 0.06 | 0 | 11.01 | 882.51 | 0 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 1 | 0.32 | 4.81 | 99.5 | 21.12 | 156.62 | 0 | 3.47 | 2.58 | 0.11 | 0.06 | 0 | 10.7 | 882.03 | 0 | 3.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 0 | 0.15 | 4.74 | 99.5 | 21.09 | 166.41 | 0 | 3.09 | 2.52 | 2.75 | 0.06 | 0 | 7.41 | 881.99 | 0 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.15 | 4.71 | 99.5 | 21.12 | 173.77 | 0 | 3.22 | 2.53 | 0.17 | 0.06 | 0 | 8.09 | 882.34 | 0 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 3 | 0.19 | 4.77 | 99.5 | 21.25 | 175.39 | 0 | 3.31 | 2.55 | 0.04 | 0.06 | 0 | 6.65 | 882.64 | 17.78 | 3.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 4 | 0.09 | 4.75 | 99.03 | 22.01 | 116.03 | 0 | 3.18 | 2.59 | 0.13 | 0.06 | 0 | 13.93 | 883.03 | 50.51 | 3.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 4 | 0.24 | 4.77 | 90.33 | 24.37 | 105.09 | 0 | 3.25 | 2.47 | 0.2 | 0.06 | 0 | 12.97 | 883.53 | 45.08 | 2.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 10.12 | 0.18 | 4.75 | 97.76 | 21.9 | 138.58 | 0.12 | 3.24 | 2.53 | 0.51 | 0.06 | 0.01 | 8.77 | 882.81 | 17.12 | 2.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.07 | 4.65 | 90.1 | 20.88 | 105.09 | 0 | 3.05 | 2.45 | 0.04 | 0.06 | 0 | 6.65 | 881.21 | 0 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 35 | 0.32 | 4.84 | 99.5 | 24.37 | 198.43 | 1.93 | 3.47 | 2.76 | 2.75 | 0.06 | 0.13 | 13.93 | 884.25 | 75.97 | 3.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 10.12 | 0.18 | 4.75 | 97.76 | 21.9 | 138.58 | 0.12 | 3.24 | 2.53 | 0.51 | 0.06 | 0.01 | 8.77 | 882.81 | 17.12 | 2.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 8 | 0.18 | 4.76 | 99.15 | 21.38 | 131.87 | 0 | 3.22 | 2.52 | 0.24 | 0.06 | 0 | 7.97 | 882.72 | 9.44 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.15 | 4.65 | 99.5 | 21.27 | 128.8 | 0 | 3.22 | 2.51 | 0.07 | 0.06 | 0 | 6.65 | 881.21 | 0 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9.5 | 0.06 | 0.06 | 3 | 1.08 | 22.5 | 0.42 | 0.1 | 0.07 | 0.76 | 0 | 0.03 | 1.91 | 0.89 | 22.23 | 0.56 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0