## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 4 |  |  |  | Date : 04/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 04/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.26 | 8.12 | 99.5 | 21.9 | 258.24 | NA | 3.22 | 2.41 | 0 | 0.06 | 0.06 | 16.78 | 887.56 | 9.99 | 0.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.26 | 8.01 | 99.5 | 22.48 | 237.64 | NA | 3.46 | 2.71 | 0 | 0.06 | 0.03 | 18.41 | 887.46 | 47.18 | 0.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.28 | 8.05 | 93.83 | 25.25 | 191.37 | NA | 3.56 | 2.6 | 0 | 0.06 | 0 | 10.47 | 887.08 | 105.06 | 0.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.36 | 7.94 | 81.37 | 27.82 | 192.56 | NA | 3.71 | 2.68 | 0 | 0.06 | 0 | 9.18 | 886.73 | 121.97 | 0.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.13 | 7.9 | 71.75 | 30.31 | 198.73 | NA | 3.24 | 2.53 | 0 | 0.06 | 0 | 10.52 | 886.19 | 154.99 | 0.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.15 | 8.08 | 81.71 | 28.33 | 207.29 | NA | 3.15 | 2.51 | 0 | 0.06 | 0 | 7.92 | 885.33 | 62.87 | 0.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.1 | 8.15 | 80.87 | 28.33 | 155.69 | NA | 3.08 | 2.43 | 0 | 0.06 | 0 | 7.86 | 884.38 | 68.15 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.23 | 8.22 | 81.65 | 27.94 | 237.45 | NA | 3.33 | 2.56 | 0 | 0.06 | 0 | 11.95 | 883.79 | 57.26 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.03 | 8.36 | 85.68 | 27.25 | 186.8 | NA | 3.02 | 2.53 | 0 | 0.06 | 0 | 8.9 | 883.46 | 40.92 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.2 | 8.47 | 90 | 25.58 | 229.27 | NA | 3.24 | 2.53 | 0 | 0.06 | 0 | 10.41 | 883.34 | 2.51 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.15 | 8.43 | 95.15 | 23.31 | 186.71 | NA | 3.24 | 2.55 | 0 | 0.06 | 0 | 10.64 | 883.57 | 0 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.36 | 8.47 | 98.19 | 23.3 | 201.31 | NA | 3.35 | 2.38 | 0 | 0.06 | 0 | 11.36 | 884.21 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.18 | 8.29 | 99.04 | 23.11 | 188.04 | NA | 3.37 | 2.55 | 0 | 0.06 | 0 | 12.36 | 885.26 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.21 | 8.33 | 98.66 | 22.08 | 192.71 | NA | 3.22 | 2.53 | 0 | 0.06 | 0.33 | 16.36 | 886.05 | 0 | 0.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.15 | 8.33 | 98.73 | 20.87 | 256.45 | NA | 3.33 | 2.61 | 0 | 0.06 | 0.06 | 15.08 | 886.51 | 0 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.05 | 8.22 | 99.5 | 20.95 | 250.22 | NA | 3.38 | 2.73 | 0 | 0.06 | 0.15 | 16.39 | 886.34 | 0 | 0.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0 | 8.08 | 99.5 | 20.68 | 240.21 | NA | 2.95 | 2.46 | 0 | 0.06 | 0 | 13.49 | 886.04 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.18 | 8.19 | 99.5 | 20.8 | 237.06 | NA | 3.35 | 2.58 | 0 | 0.06 | 0 | 19.23 | 885.84 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.05 | 8.15 | 99.48 | 20.87 | 203.25 | NA | 3.26 | 2.66 | 0 | 0.06 | 0 | 14.6 | 886.06 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.03 | 8.15 | 96.17 | 21.29 | 227.65 | NA | 3.26 | 2.63 | 0 | 0.06 | 0 | 12.11 | 885.95 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.28 | 8.22 | 95.44 | 21.19 | 189.87 | NA | 3.22 | 2.46 | 0 | 0.06 | 0 | 13.76 | 886.1 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.26 | 8.01 | 95.52 | 21.14 | 193.28 | NA | 3.31 | 2.48 | 0 | 0.06 | 0 | 11.23 | 885.99 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.13 | 8.01 | 89.93 | 22.23 | 178.07 | NA | 2.93 | 2.51 | 0 | 0.06 | 0 | 14.24 | 886.31 | 16.63 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.28 | 8.08 | 78.48 | 26.25 | 202.52 | NA | 3.4 | 2.6 | 0 | 0.06 | 0 | 8.65 | 887.01 | 63.94 | 0.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.14 | 8.2 | 77.13 | 26.88 | 212.6 | NA | 3.06 | 2.32 | 0 | 0.06 | 0 | 11.7 | 887.57 | 53.56 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.18 | 8.18 | 91.45 | 24.01 | 210.2 | NA | 3.27 | 2.54 | 0 | 0.06 | 0.03 | 12.54 | 885.77 | 32.2 | 0.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0 | 7.9 | 71.75 | 20.68 | 155.69 | NA | 2.93 | 2.32 | 0 | 0.06 | 0 | 7.86 | 883.34 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.36 | 8.47 | 99.5 | 30.31 | 258.24 | NA | 3.71 | 2.73 | 0 | 0.06 | 0.33 | 19.23 | 887.57 | 154.99 | 1.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.18 | 8.18 | 91.45 | 24.01 | 210.2 | NA | 3.27 | 2.54 | 0 | 0.06 | 0.03 | 12.54 | 885.77 | 32.2 | 0.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.18 | 8.15 | 95.44 | 23.11 | 202.52 | NA | 3.26 | 2.53 | 0 | 0.06 | 0 | 11.95 | 886.05 | 2.51 | 0.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.26 | 8.01 | 99.5 | 20.87 | 256.45 | NA | 3.22 | 2.53 | 0 | 0.06 | 0 | 7.92 | 887.57 | 0 | 0.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.1 | 0.16 | 8.84 | 3.06 | 26.95 | NA | 0.18 | 0.1 | 0 | 0 | 0.07 | 3.2 | 1.29 | 44.31 | 0.46 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0