## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 15 |  |  |  | Date : 15/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.12 | 193.59 | 0.02 | 72.22 | 0.51 | 0.1 | 0.01 | 0.01 | 23.14 | NA | 3.06 | 10.19 | 0.02 | 0 | 892.77 | NA | 2.58 | 0.06 | 0.01 | 14.28 | 11.64
07-08Hr | 0.08 | 193.95 | 0.02 | 64.26 | 0.97 | 0.31 | 0.01 | 0.01 | 23.92 | NA | 3.19 | 10.23 | 0.02 | 0 | 893.21 | NA | 2.33 | 0.06 | 0.01 | 15.05 | 63.13
08-09Hr | 0.12 | 220.55 | 0.02 | 58.02 | 1.61 | 0.15 | 0.01 | 0.01 | 24.25 | NA | 3.17 | 10.16 | 0.02 | 0 | 893.13 | NA | 2.5 | 0.06 | 0.01 | 14.53 | 173.95
09-10Hr | 0.12 | 199.21 | 0.02 | 57.46 | 1.18 | 0.13 | 0.01 | 0.01 | 25.44 | NA | 3.17 | 10.44 | 0.02 | 0 | 892.59 | NA | 2.53 | 0.06 | 0.01 | 14.1 | 201.55
10-11Hr | 0.19 | 184.88 | 0.02 | 55.4 | 0.75 | 0.05 | 0.01 | 0.01 | 25.96 | NA | 3.33 | 10.55 | 0.02 | 0 | 891.83 | NA | 2.61 | 0.06 | 0.01 | 14.4 | 109.33
11-12Hr | 0.16 | 205.54 | 0.02 | 54.48 | 0.38 | 0.26 | 0.01 | 0.01 | 26.02 | NA | 3.17 | 10.8 | 0.02 | 0 | 891 | NA | 2.46 | 0.06 | 0.01 | 18.59 | 101.51
12-13Hr | 0.2 | 224.49 | 0.02 | 54.81 | 0.48 | 0.18 | 0.01 | 0.01 | 25.46 | NA | 3.26 | 10.76 | 0.02 | 0 | 890.45 | NA | 2.61 | 0.06 | 0.01 | 23.47 | 81.97
13-14Hr | 0.11 | 242.24 | 0.02 | 51.01 | 0.54 | 0 | 0.01 | 0.01 | 27.47 | NA | 3.01 | 10.76 | 0.02 | 0 | 890.27 | NA | 2.43 | 0.06 | 0.01 | 11.1 | 93.87
14-15Hr | 0.12 | 225.81 | 0.02 | 69.79 | 0.48 | 0.33 | 0.01 | 0.01 | 22.58 | NA | 3.22 | 10.69 | 0.02 | 0 | 890.21 | NA | 2.46 | 0.06 | 0.01 | 10.85 | 8.49
15-16Hr | 0.19 | 231.39 | 0.02 | 79.74 | 0.59 | 0.23 | 0.01 | 0.01 | 20.36 | NA | 3.35 | 10.76 | 0.02 | 0 | 890.36 | NA | 2.61 | 0.06 | 0.01 | 7.88 | 7.06
16-17Hr | 0.12 | 158.76 | 0.02 | 84.94 | 0.27 | 0.18 | 0.01 | 0.01 | 19.02 | NA | 3.42 | 10.83 | 0.02 | 0 | 890.69 | NA | 2.66 | 0.06 | 0.01 | 7.07 | 0
17-18Hr | 0.14 | 212.14 | 0.02 | 87.7 | 0.27 | 0.21 | 0.01 | 0.01 | 18.5 | NA | 3.6 | 10.76 | 0.02 | 0 | 891.08 | NA | 2.59 | 0.06 | 0.01 | 12.78 | 0
18-19Hr | 0.07 | 197.45 | 0.02 | 88.86 | 0.11 | 0.13 | 0.01 | 0.01 | 18.19 | NA | 3.62 | 10.72 | 0.02 | 0 | 891.66 | NA | 2.9 | 0.06 | 0.01 | 13.56 | 0
19-20Hr | 0.18 | 222.56 | 0.02 | 93.1 | 0.05 | 0.2 | 0.01 | 0.01 | 17.25 | NA | 3.33 | 10.69 | 0.02 | 0 | 892.14 | NA | 2.51 | 0.06 | 0.01 | 13.65 | 0
20-21Hr | 0.12 | 218.56 | 0.02 | 95.99 | 0.16 | 0.31 | 0.01 | 0.01 | 17.04 | NA | 3.47 | 10.72 | 0.02 | 0 | 892.49 | NA | 2.58 | 0.06 | 0.01 | 17.19 | 0
21-22Hr | 0.03 | 202.11 | 0.02 | 97.39 | 0 | 0.31 | 0.01 | 0.01 | 16.4 | NA | 3.42 | 10.55 | 0.02 | 0 | 892.46 | NA | 2.7 | 0.06 | 0.01 | 18.55 | 0
22-23Hr | 0.08 | 212.03 | 0.02 | 96.62 | 0.05 | 0 | 0.01 | 0.01 | 16.25 | NA | 3.06 | 10.54 | 0.02 | 0 | 892.22 | NA | 2.61 | 0.06 | 0.01 | 18.84 | 0
23-00Hr | 0.06 | 215.98 | 0.02 | 97.42 | 0.16 | 0.05 | 0.01 | 0.01 | 15.8 | NA | 3.33 | 10.41 | 0.02 | 0 | 891.83 | NA | 2.6 | 0.06 | 0.01 | 18.43 | 0
00-01Hr | 0.1 | 218.18 | 0.02 | 98.12 | 0.22 | 0.1 | 0.01 | 0.01 | 15.83 | NA | 3.4 | 10.33 | 0.02 | 0 | 891.5 | NA | 2.75 | 0.06 | 0.01 | 18.06 | 0
01-02Hr | 0.12 | 215.65 | 0.02 | 96.73 | 0.27 | 0.62 | 0.01 | 0.01 | 15.71 | NA | 3.62 | 10.26 | 0.02 | 0 | 891.35 | NA | 2.51 | 0.06 | 0.01 | 16.83 | 0
02-03Hr | 0.19 | 231.36 | 0.02 | 97.26 | 0.43 | 0.15 | 0.01 | 0.01 | 15.35 | NA | 3.56 | 10.19 | 0.02 | 0 | 891.36 | NA | 2.72 | 0.06 | 0.01 | 16.62 | 0
03-04Hr | 0.09 | 216.7 | 0.02 | 98.14 | 0.38 | 0.26 | 0.01 | 0.01 | 15.59 | NA | 3.58 | 10.16 | 0.02 | 0 | 891.74 | NA | 2.68 | 0.06 | 0.01 | 15.51 | 0
04-05Hr | 0.13 | 212.65 | 0.02 | 95.09 | 0.67 | 0.1 | 0.01 | 0.01 | 16.34 | NA | 3.31 | 10.12 | 0.02 | 0 | 892.4 | NA | 2.61 | 0.06 | 0.01 | 14.9 | 5.45
05-06Hr | 0.12 | 230.66 | 0.02 | 84.63 | 0.75 | 0.23 | 0.01 | 0.01 | 18.78 | NA | 3.15 | 10.19 | 0.02 | 0 | 893.16 | NA | 2.45 | 0.06 | 0.01 | 12.15 | 58.45
06-07hr | 0.1 | 222.59 | 0.02 | 72.89 | 1.02 | 0.18 | 0.01 | 0.01 | 21.9 | NA | 3.49 | 10.08 | 0.02 | 0 | 893.8 | NA | 2.71 | 0.06 | 0.01 | 11.39 | 9.22
Avg | 0.12 | 212.36 | 0.02 | 80.08 | 0.49 | 0.19 | 0.01 | 0.01 | 20.1 | NA | 3.33 | 10.48 | 0.02 | 0 | 891.83 | NA | 2.59 | 0.06 | 0.01 | 14.79 | 37.02
Min | 0.03 | 158.76 | 0.02 | 51.01 | 0 | 0 | 0.01 | 0.01 | 15.35 | NA | 3.01 | 10.08 | 0.02 | 0 | 890.21 | NA | 2.33 | 0.06 | 0.01 | 7.07 | 0
Max | 0.2 | 242.24 | 0.02 | 98.14 | 1.61 | 0.62 | 0.01 | 0.01 | 27.47 | NA | 3.62 | 10.83 | 0.02 | 0 | 893.8 | NA | 2.9 | 0.06 | 0.01 | 23.47 | 201.55
Geom.Mean | 0.12 | 212.36 | 0.02 | 80.08 | 0.49 | 0.19 | 0.01 | 0.01 | 20.1 | NA | 3.33 | 10.48 | 0.02 | 0 | 891.83 | NA | 2.59 | 0.06 | 0.01 | 14.79 | 37.02
Median | 0.12 | 215.98 | 0.02 | 84.94 | 0.43 | 0.18 | 0.01 | 0.01 | 18.78 | NA | 3.33 | 10.54 | 0.02 | 0 | 891.83 | NA | 2.6 | 0.06 | 0.01 | 14.53 | 5.45
Mode | 0.12 | 158.76 | 0.02 | 51.01 | 0.27 | 0.1 | 0.01 | 0.01 | 15.83 | NA | 3.17 | 10.76 | 0.02 | 0 | 891.83 | NA | 2.61 | 0.06 | 0.01 | 7.88 | 0
Std.Deviation | 0.04 | 17.72 | 0 | 17.25 | 0.39 | 0.13 | 0 | 0 | 4.08 | NA | 0.18 | 0.26 | 0 | 0 | 1.01 | NA | 0.12 | 0 | 0 | 3.66 | 58.51
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0