## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 18 |  |  |  | Date : 18/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 18/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.1 | 193.61 | 0.02 | 79.07 | 0.99 | 0.33 | 0.01 | 0.01 | 27.27 | NA | 3.35 | 8.83 | 0.02 | 0 | 890.83 | NA | 2.53 | 0.06 | 0.01 | 13.17 | 64.77
07-08Hr | 0.23 | 166.7 | 0.02 | 77.8 | 0.69 | 0.15 | 0.01 | 0.01 | 27.29 | NA | 3.24 | 8.97 | 0.02 | 0 | 890.84 | NA | 2.63 | 0.06 | 0.01 | 20.2 | 49.75
08-09Hr | 0.2 | 178.76 | 0.02 | 71.11 | 1.37 | 0.28 | 0.01 | 0.01 | 28.66 | NA | 3.35 | 8.83 | 0.02 | 0 | 890.58 | NA | 2.51 | 0.06 | 0.01 | 13.44 | 133.84
09-10Hr | 0.07 | 160.92 | 0.02 | 60.69 | 1.23 | 0.13 | 0.01 | 0.01 | 31.01 | NA | 3.2 | 9.04 | 0.02 | 0 | 890.02 | NA | 2.53 | 0.06 | 0.01 | 12.97 | 161.19
10-11Hr | 0.1 | 165.16 | 0.02 | 77.55 | 0.91 | 0.33 | 0.01 | 0.01 | 27.22 | NA | 3.19 | 9.04 | 0.02 | 0 | 889.19 | NA | 2.36 | 0.06 | 0.01 | 13.32 | 48.45
11-12Hr | 0.12 | 163.06 | 0.02 | 77.9 | 1.15 | 0.1 | 0.01 | 0.01 | 27.68 | NA | 3.06 | 8.97 | 0.02 | 0 | 888.3 | NA | 2.51 | 0.06 | 0.01 | 12.64 | 97.98
12-13Hr | 0.05 | 198.11 | 0.02 | 76.84 | 1.18 | 0.05 | 0.01 | 0.01 | 27.86 | NA | 3.2 | 9.04 | 0.02 | 0 | 887.45 | NA | 2.53 | 0.06 | 0.01 | 14.81 | 65.41
13-14Hr | 0.07 | 201.7 | 0.02 | 72.11 | 0.73 | 0.03 | 0.01 | 0.01 | 29.16 | NA | 3.17 | 9.12 | 0.02 | 0 | 886.88 | NA | 2.7 | 0.06 | 0.01 | 13.51 | 93.75
14-15Hr | 0.09 | 129.99 | 0.02 | 79.02 | 1.1 | 0.28 | 0.01 | 0.01 | 26.68 | NA | 3.51 | 9.29 | 0.02 | 0 | 886.76 | NA | 2.61 | 0.06 | 0.02 | 16.78 | 17.45
15-16Hr | 0.1 | 179.18 | 0.02 | 90.49 | 0.64 | 0.39 | 0.01 | 0.01 | 24.41 | NA | 3.35 | 9.08 | 0.02 | 0 | 886.94 | NA | 2.39 | 0.06 | 0.01 | 14.22 | 6.33
16-17Hr | 0.14 | 181.94 | 0.02 | 94.67 | 0.43 | 0.36 | 0.01 | 0.01 | 23.33 | NA | 3.6 | 9.08 | 0.02 | 0 | 887.27 | NA | 2.59 | 0.06 | 0.01 | 13.2 | 0
17-18Hr | 0.16 | 187.39 | 0.02 | 97.36 | 0.16 | 0.13 | 0.01 | 0.01 | 23.06 | NA | 3.13 | 9.19 | 0.02 | 0 | 887.98 | NA | 2.68 | 0.06 | 0.01 | 15.56 | 0
18-19Hr | 0.07 | 182.57 | 0.02 | 99.04 | 0.16 | 0.1 | 0.01 | 0.01 | 22.7 | NA | 3.62 | 8.94 | 0.02 | 0 | 888.8 | NA | 2.85 | 0.06 | 0.01 | 19.07 | 0
19-20Hr | 0.12 | 221.98 | 0.02 | 94.88 | 2.17 | 0.1 | 0.01 | 0.01 | 20.48 | NA | 3.49 | 8.87 | 0.02 | 0.33 | 889.42 | NA | 2.71 | 0.06 | 0.01 | 17.86 | 0
20-21Hr | 0.11 | 241.13 | 0.02 | 93.4 | 2.14 | 0.08 | 0.01 | 0.01 | 20.38 | NA | 3.35 | 8.87 | 0.02 | 0 | 889.24 | NA | 2.7 | 0.06 | 0.01 | 13.79 | 0
21-22Hr | 0.12 | 220.97 | 0.02 | 93.16 | 1.66 | 0.18 | 0.01 | 0.01 | 21.01 | NA | 3.13 | 8.9 | 0.02 | 0 | 889.1 | NA | 2.51 | 0.06 | 0.01 | 11.81 | 0
22-23Hr | 0.16 | 188.97 | 0.02 | 90.66 | 0.8 | 0.03 | 0.01 | 0.01 | 21.41 | NA | 3.22 | 8.94 | 0.02 | 0 | 888.84 | NA | 2.66 | 0.06 | 0.01 | 13.7 | 0
23-00Hr | 0.07 | 202.43 | 0.02 | 89.1 | 1.02 | 0.26 | 0.01 | 0.01 | 21.51 | NA | 3.4 | 8.76 | 0.02 | 0 | 888.64 | NA | 2.53 | 0.06 | 0.01 | 15.59 | 0
00-01Hr | 0.02 | 188.35 | 0.02 | 95.79 | 0.94 | 0.08 | 0.01 | 0.01 | 21.31 | NA | 3.26 | 8.9 | 0.02 | 0 | 888.48 | NA | 2.66 | 0.06 | 0.01 | 13.74 | 0
01-02Hr | 0.07 | 186.79 | 0.02 | 96.44 | 0.59 | 0.13 | 0.01 | 0.01 | 21.23 | NA | 3.22 | 8.83 | 0.02 | 0.01 | 888.39 | NA | 2.55 | 0.06 | 0.01 | 17.1 | 0
02-03Hr | 0.06 | 183.71 | 0.02 | 95.03 | 0.51 | 0.1 | 0.01 | 0.01 | 20.92 | NA | 3.04 | 8.69 | 0.02 | 0.01 | 888.2 | NA | 2.43 | 0.06 | 0.01 | 17.02 | 0
03-04Hr | 0.1 | 201.52 | 0.02 | 96.83 | 1.18 | 0.31 | 0.01 | 0.01 | 20.71 | NA | 3.38 | 8.58 | 0.02 | 0 | 888.33 | NA | 2.43 | 0.06 | 0.01 | 15.51 | 0
04-05Hr | 0.17 | 194.34 | 0.02 | 99.16 | 0.83 | 0 | 0.01 | 0.01 | 20.67 | NA | 3.51 | 8.62 | 0.02 | 0 | 888.89 | NA | 2.93 | 0.06 | 0.01 | 18.02 | 4.07
05-06Hr | 0.29 | 179.64 | 0.02 | 90.66 | 0.56 | 0.18 | 0.01 | 0.01 | 24.13 | NA | 3.33 | 8.54 | 0.02 | 0 | 889.45 | NA | 2.58 | 0.06 | 0.01 | 12.65 | 63.04
06-07hr | 0.12 | 187.84 | 0.02 | 77.01 | 0.76 | 0.24 | 0.01 | 0.01 | 27.53 | NA | 3.37 | 8.62 | 0.02 | 0 | 889.9 | NA | 2.49 | 0.06 | 0.01 | 15.49 | 61.15
Avg | 0.12 | 187.47 | 0.02 | 86.63 | 0.96 | 0.17 | 0.01 | 0.01 | 24.3 | NA | 3.31 | 8.9 | 0.02 | 0.01 | 888.75 | NA | 2.58 | 0.06 | 0.01 | 15.01 | 34.69
Min | 0.02 | 129.99 | 0.02 | 60.69 | 0.16 | 0 | 0.01 | 0.01 | 20.38 | NA | 3.04 | 8.54 | 0.02 | 0 | 886.76 | NA | 2.36 | 0.06 | 0.01 | 11.81 | 0
Max | 0.29 | 241.13 | 0.02 | 99.16 | 2.17 | 0.39 | 0.01 | 0.01 | 31.01 | NA | 3.62 | 9.29 | 0.02 | 0.33 | 890.84 | NA | 2.93 | 0.06 | 0.02 | 20.2 | 161.19
Geom.Mean | 0.12 | 187.47 | 0.02 | 86.63 | 0.96 | 0.17 | 0.01 | 0.01 | 24.3 | NA | 3.31 | 8.9 | 0.02 | 0.01 | 888.75 | NA | 2.58 | 0.06 | 0.01 | 15.01 | 34.69
Median | 0.1 | 187.39 | 0.02 | 90.66 | 0.91 | 0.13 | 0.01 | 0.01 | 23.33 | NA | 3.33 | 8.9 | 0.02 | 0 | 888.8 | NA | 2.55 | 0.06 | 0.01 | 14.22 | 4.07
Mode | 0.07 | 129.99 | 0.02 | 90.66 | 1.18 | 0.1 | 0.01 | 0.01 | 27.53 | NA | 3.35 | 8.83 | 0.02 | 0 | 890.02 | NA | 2.53 | 0.06 | 0.01 | 11.81 | 0
Std.Deviation | 0.06 | 22.2 | 0 | 10.65 | 0.5 | 0.11 | 0 | 0 | 3.37 | NA | 0.16 | 0.19 | 0 | 0.07 | 1.17 | NA | 0.13 | 0 | 0 | 2.22 | 47.25
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0