## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 15 |  |  |  | Date : 15/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 27 | 0.09 | 5.92 | 77.53 | 26.18 | 174.12 | 0 | 3.08 | 2.54 | 0.93 | 0.06 | 0 | 6.09 | 883.91 | 104.06 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 30 | 0.15 | 5.95 | 76.85 | 26.51 | 165.09 | 0 | 3.23 | 2.56 | 1.14 | 0.06 | 0 | 6.42 | 884.41 | 121.78 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 37 | 0.11 | 6 | 83.16 | 25.66 | 191.87 | 0 | 3.13 | 2.6 | 1.94 | 0.06 | 0 | 11.92 | 884.62 | 72.5 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 45 | 0.17 | 6 | 84.04 | 25.44 | 180.8 | 3.67 | 3.18 | 2.53 | 1.28 | 0.06 | 0 | 6.26 | 884.3 | 86.84 | 2.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.23 | 5.89 | 82.39 | 26.29 | 190.71 | 3.08 | 3.16 | 2.38 | 1.22 | 0.06 | 0 | 5.47 | 883.92 | 41.57 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.14 | 5.99 | 84.69 | 25.97 | 110.94 | 1.4 | 3.09 | 2.47 | 4.36 | 0.06 | 0.01 | 6.61 | 883.74 | 126.17 | 2.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | No data : power Issue
13-14Hr
14-15Hr
15-16Hr | NA | 0.32 | 6 | 76.46 | 27.68 | 171.83 | NA | 3.22 | 2.48 | 0 | 0.06 | 0 | 7.11 | 881.69 | 39.5 | 10.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.27 | 6.02 | 88.9 | 24.82 | 176.25 | NA | 3.25 | 2.44 | 0 | 0.06 | 0 | 5.45 | 882.16 | 0 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 39 | 0.19 | 6.1 | 89.37 | 23.77 | 202.61 | 4 | 3.21 | 2.56 | 0 | 0.06 | 0 | 5.52 | 882.82 | 0 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 25.22 | 0.17 | 6.16 | 93.13 | 23.3 | 163.92 | 5.97 | 3.15 | 2.48 | 0 | 0.06 | 0 | 6.3 | 883.43 | 0 | 3.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 26 | 0.23 | 6.17 | 94.07 | 23 | 187.53 | 4 | 3.35 | 2.64 | 0 | 0.06 | 0 | 5.35 | 884.31 | 0 | 2.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 27.97 | 0.25 | 6.12 | 95.66 | 22.62 | 174.93 | 2.03 | 3.3 | 2.55 | 0 | 0.06 | 0 | 7.33 | 884.64 | 0 | 3.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 23.08 | 0.25 | 6.06 | 97.84 | 22.43 | 189.64 | 2 | 3.22 | 2.53 | 0 | 0.06 | 0 | 5.21 | 884.56 | 0 | 3.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 28.9 | 0.32 | 6.03 | 96.39 | 22.39 | 182.89 | 1.02 | 3.45 | 2.62 | 0 | 0.06 | 0 | 6.05 | 884.36 | 0 | 3.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 27 | 0.24 | 6.02 | 96.92 | 22.26 | 158.4 | 4 | 3.3 | 2.54 | 0 | 0.06 | 0 | 7.92 | 884.17 | 0 | 3.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 21 | 0.2 | 6.02 | 97.07 | 22.18 | 203.92 | 3 | 3.21 | 2.49 | 0 | 0.06 | 0 | 4.93 | 883.89 | 0 | 2.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 23.95 | 0.26 | 6.06 | 97.35 | 22.12 | 161.23 | 0.2 | 3.34 | 2.56 | 0 | 0.06 | 0 | 4.69 | 883.71 | 0 | 2.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 10 | 0.13 | 6.07 | 96.9 | 22.04 | 175.72 | 0 | 3.31 | 2.71 | 0 | 0.06 | 0 | 5.74 | 883.64 | 0 | 2.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 16 | 0.21 | 6.03 | 97.98 | 21.97 | 156.49 | 0 | 3.22 | 2.5 | 0 | 0.06 | 0 | 4.84 | 884.2 | 0 | 2.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 22 | 0.15 | 6.01 | 99.2 | 21.81 | 182.02 | 0 | 3.22 | 2.55 | 0 | 0.06 | 0 | 11.62 | 884.66 | 0.02 | 2.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 26 | 0.26 | 5.98 | 95.77 | 22.21 | 176.81 | 0 | 3.28 | 2.47 | 0 | 0.06 | 0 | 11.19 | 884.93 | 10.11 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 36 | 0.12 | 6.01 | 95.8 | 22.73 | 196.23 | 0.4 | 3.46 | 2.6 | 0 | 0.06 | 0 | 5.74 | 885.2 | 16.51 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 27.28 | 0.2 | 6.03 | 90.79 | 23.79 | 176.09 | 1.74 | 3.24 | 2.54 | 0.49 | 0.06 | 0 | 6.72 | 883.97 | 28.14 | 3.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 10 | 0.09 | 5.89 | 76.46 | 21.81 | 110.94 | 0 | 3.08 | 2.38 | 0 | 0.06 | 0 | 4.69 | 881.69 | 0 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 45 | 0.32 | 6.17 | 99.2 | 27.68 | 203.92 | 5.97 | 3.46 | 2.71 | 4.36 | 0.06 | 0.01 | 11.92 | 885.2 | 126.17 | 10.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 27.28 | 0.2 | 6.03 | 90.79 | 23.79 | 176.09 | 1.74 | 3.24 | 2.54 | 0.49 | 0.06 | 0 | 6.72 | 883.97 | 28.14 | 3.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 26.5 | 0.21 | 6.02 | 94.86 | 22.87 | 176.53 | 1.21 | 3.22 | 2.54 | 0 | 0.06 | 0 | 6.07 | 884.18 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 26 | 0.23 | 6 | 95.8 | 21.97 | 156.49 | 0 | 3.22 | 2.56 | 0 | 0.06 | 0 | 5.74 | 882.82 | 0 | 2.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 8.27 | 0.07 | 0.07 | 7.69 | 1.88 | 19.78 | 1.87 | 0.1 | 0.07 | 1.04 | 0 | 0 | 2.14 | 0.85 | 43.98 | 1.78 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 18 | 22 | 22 | 22 | 22 | 22 | 20 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 72 | 88 | 88 | 88 | 88 | 88 | 80 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88 | 88
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0