## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 22 |  |  |  | Date : 22/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 22/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.14 | 181.34 | 0.02 | 77.37 | 0.56 | 0.05 | 0.01 | 0.01 | 28.04 | NA | 3.02 | 8.94 | 0.02 | 0 | 891.65 | NA | 2.5 | 0.06 | 0.01 | 16.56 | 48.71
07-08Hr | 0.1 | 179.97 | 0.02 | 72.72 | 0.24 | 0.21 | 0.01 | 0.01 | 29.11 | NA | 3.42 | 8.9 | 0.02 | 0 | 891.94 | NA | 2.6 | 0.06 | 0.01 | 16.4 | 15.61
08-09Hr | 0.07 | 194.56 | 0.02 | 71.02 | 0.32 | 0.08 | 0.01 | 0.01 | 28.85 | NA | 3.08 | 9.01 | 0.02 | 0 | 891.7 | NA | 2.5 | 0.06 | 0.01 | 13.45 | 167.96
09-10Hr | 0.09 | 187.05 | 0.02 | 71.4 | 0.24 | 0.28 | 0.01 | 0.01 | 29.18 | NA | 3.33 | 8.94 | 0.02 | 0 | 890.97 | NA | 2.51 | 0.06 | 0.01 | 15.52 | 53.83
10-11Hr | 0.09 | 180.78 | 0.02 | 81.47 | 0.59 | 0.31 | 0.01 | 0.01 | 26.84 | NA | 3.28 | 8.97 | 0.02 | 0 | 890.07 | NA | 2.46 | 0.06 | 0.01 | 11.22 | 62.94
11-12Hr | 0.11 | 173.8 | 0.02 | 74.59 | 0.51 | 0.49 | 0.01 | 0.01 | 28.51 | NA | 3.71 | 9.11 | 0.02 | 0 | 889.22 | NA | 2.53 | 0.06 | 0.01 | 13.65 | 67.71
12-13Hr | 0.05 | 189.33 | 0.02 | 71.35 | 0.48 | 0.13 | 0.01 | 0.01 | 29.52 | NA | 3.28 | 9.22 | 0.02 | 0 | 888.49 | NA | 2.5 | 0.06 | 0.01 | 12.43 | 123.78
13-14Hr | 0.1 | 162.55 | 0.02 | 68.01 | 0.69 | 0.39 | 0.01 | 0.01 | 30.29 | NA | 3.26 | 9.19 | 0.02 | 0 | 888 | NA | 2.41 | 0.06 | 0.01 | 10.18 | 99.9
14-15Hr | 0.07 | 191.18 | 0.02 | 73.64 | 0.08 | 0.21 | 0.01 | 0.01 | 28.78 | NA | 3.04 | 9.29 | 0.02 | 0 | 887.88 | NA | 2.45 | 0.06 | 0.01 | 10.33 | 52.46
15-16Hr | 0.3 | 181.58 | 0.02 | 88.09 | 0.16 | 0.18 | 0.01 | 0.01 | 24.84 | NA | 3.24 | 9.22 | 0.02 | 0 | 887.96 | NA | 2.51 | 0.06 | 0.01 | 10.42 | 0
16-17Hr | 0.08 | 195.24 | 0.02 | 94.63 | 0.16 | 0.33 | 0.01 | 0.01 | 23.51 | NA | 3.35 | 9.19 | 0.02 | 0 | 888.36 | NA | 2.4 | 0.06 | 0.01 | 17.29 | 0
17-18Hr | 0.07 | 181.95 | 0.02 | 93.61 | 0 | 0.08 | 0.01 | 0.01 | 23.18 | NA | 2.99 | 9.19 | 0.02 | 0 | 888.78 | NA | 2.71 | 0.06 | 0.01 | 15.96 | 0
18-19Hr | 0.07 | 187.39 | 0.02 | 93.15 | 0.08 | 0.23 | 0.01 | 0.01 | 23.35 | NA | 3.33 | 9.15 | 0.02 | 0 | 889.27 | NA | 2.51 | 0.06 | 0.01 | 12.25 | 0
19-20Hr | 0.2 | 192.16 | 0.02 | 93.77 | 0 | 0.13 | 0.01 | 0.01 | 23.07 | NA | 3.49 | 9.12 | 0.02 | 0 | 889.75 | NA | 2.83 | 0.06 | 0.01 | 16.21 | 0
20-21Hr | 0.14 | 204.28 | 0.02 | 97.83 | 0 | 0.18 | 0.01 | 0.01 | 22.71 | NA | 3.31 | 8.97 | 0.02 | 0 | 889.94 | NA | 2.48 | 0.06 | 0.01 | 15.64 | 0
21-22Hr | 0.03 | 191.29 | 0.02 | 98.39 | 0 | 0.23 | 0.01 | 0.01 | 22.67 | NA | 3.29 | 9.15 | 0.02 | 0 | 889.9 | NA | 2.55 | 0.06 | 0.01 | 23 | 0
22-23Hr | 0.16 | 183.82 | 0.02 | 99.48 | 0.16 | 0.16 | 0.01 | 0.01 | 22.5 | NA | 3.31 | 9.12 | 0.02 | 0 | 889.77 | NA | 2.61 | 0.06 | 0.01 | 20.29 | 0
23-00Hr | 0.29 | 192.35 | 0.02 | 99.5 | 0.08 | 0.16 | 0.01 | 0.01 | 22.4 | NA | 3.51 | 9.08 | 0.02 | 0 | 889.46 | NA | 2.8 | 0.06 | 0.01 | 20.29 | 0
00-01Hr | 0.22 | 192.01 | 0.02 | 98.83 | 0.08 | 0 | 0.01 | 0.01 | 21.93 | NA | 3.08 | 9.04 | 0.02 | 0 | 889.24 | NA | 2.5 | 0.06 | 0.01 | 18.15 | 0
01-02Hr | 0.02 | 194.97 | 0.02 | 96.17 | 0.51 | 0.15 | 0.01 | 0.01 | 21.09 | NA | 3.42 | 8.94 | 0.02 | 0 | 889.04 | NA | 2.68 | 0.06 | 0.01 | 16.91 | 0
02-03Hr | 0.09 | 190.29 | 0.02 | 96.4 | 0.32 | 0.1 | 0.01 | 0.01 | 20.77 | NA | 2.97 | 8.9 | 0.02 | 0.36 | 889.28 | NA | 2.53 | 0.06 | 0.01 | 18.05 | 0
03-04Hr | 0.16 | 240.87 | 0.02 | 97.74 | 1.23 | 0.44 | 0.01 | 0.01 | 19.21 | NA | 3.71 | 8.94 | 0.02 | 0.91 | 889.84 | NA | 2.61 | 0.06 | 0.01 | 20.55 | 0
04-05Hr | 0.12 | 225.84 | 0.02 | 96.94 | 1.82 | 0.03 | 0.01 | 0.01 | 18.95 | NA | 3.11 | 8.87 | 0.02 | 0 | 890 | NA | 2.5 | 0.06 | 0.01 | 21.09 | 0.28
05-06Hr | 0.15 | 194.11 | 0.02 | 79.45 | 1.37 | 0.2 | 0.01 | 0.01 | 21.99 | NA | 3.35 | 8.83 | 0.02 | 0 | 890.45 | NA | 2.61 | 0.06 | 0.01 | 13.27 | 47.29
06-07hr | 0.03 | 184.99 | 0.02 | 87.1 | 1.07 | 0.08 | 0.01 | 0.01 | 22.1 | NA | 3.44 | 8.83 | 0.02 | 0 | 890.88 | NA | 2.59 | 0.06 | 0.01 | 10.42 | 40.86
Avg | 0.12 | 190.95 | 0.02 | 86.91 | 0.43 | 0.19 | 0.01 | 0.01 | 24.54 | NA | 3.29 | 9.04 | 0.02 | 0.05 | 889.67 | NA | 2.56 | 0.06 | 0.01 | 15.58 | 31.25
Min | 0.02 | 162.55 | 0.02 | 68.01 | 0 | 0 | 0.01 | 0.01 | 18.95 | NA | 2.97 | 8.83 | 0.02 | 0 | 887.88 | NA | 2.4 | 0.06 | 0.01 | 10.18 | 0
Max | 0.3 | 240.87 | 0.02 | 99.5 | 1.82 | 0.49 | 0.01 | 0.01 | 30.29 | NA | 3.71 | 9.29 | 0.02 | 0.91 | 891.94 | NA | 2.83 | 0.06 | 0.01 | 23 | 167.96
Geom.Mean | 0.12 | 190.95 | 0.02 | 86.91 | 0.43 | 0.19 | 0.01 | 0.01 | 24.54 | NA | 3.29 | 9.04 | 0.02 | 0.05 | 889.67 | NA | 2.56 | 0.06 | 0.01 | 15.58 | 31.25
Median | 0.1 | 190.29 | 0.02 | 93.15 | 0.24 | 0.18 | 0.01 | 0.01 | 23.18 | NA | 3.31 | 9.04 | 0.02 | 0 | 889.75 | NA | 2.51 | 0.06 | 0.01 | 15.96 | 0
Mode | 0.07 | 162.55 | 0.02 | 68.01 | 0.08 | 0.08 | 0.01 | 0.01 | 18.95 | NA | 3.42 | 8.94 | 0.02 | 0 | 891.65 | NA | 2.5 | 0.06 | 0.01 | 10.42 | 0
Std.Deviation | 0.07 | 15.35 | 0 | 11.35 | 0.48 | 0.12 | 0 | 0 | 3.52 | NA | 0.2 | 0.14 | 0 | 0.19 | 1.14 | NA | 0.11 | 0 | 0 | 3.75 | 45.56
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0