## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-05-01 | Station Name : |  | Sikulpuikawn |  |  | MAY
Report No |  | 20 |  |  |  | Date : 20/05/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 20/05/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 15 | 0.18 | 1.72 | 85.56 | 23.89 | 200.25 | 2 | 3.27 | 2.55 | 0 | 0.06 | 0 | 7.43 | 885.55 | 95.74 | 1.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 15 | 0.12 | 1.72 | 81.4 | 24.9 | 202.79 | 1 | 3.16 | 2.51 | 0 | 0.06 | 0 | 7.09 | 885.64 | 144.33 | 0.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 24 | 0.16 | 1.72 | 73.18 | 27.04 | 221.27 | 0 | 3.09 | 2.48 | 0 | 0.06 | 0 | 10.02 | 885.75 | 206.08 | 0.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 23.04 | 0.17 | 1.72 | 70.67 | 27.73 | 210.83 | 0 | 3.24 | 2.56 | 0 | 0.06 | 0 | 6.25 | 885.97 | 134.47 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 24 | 0.25 | 1.72 | 67.76 | 28.61 | 178.82 | 0 | 3.02 | 2.34 | 0.06 | 0.06 | 0 | 14.27 | 885.34 | 164.56 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 22.08 | 0.12 | 1.72 | 83.14 | 24.52 | 258.43 | 0 | 3.2 | 2.54 | 0.29 | 0.06 | 0.34 | 15.39 | 884.88 | 100.81 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 12.45 | 0.24 | 1.72 | 88.69 | 23.66 | 210.07 | 0 | 3.27 | 2.49 | 0.45 | 0.06 | 0.02 | 6.23 | 884.56 | 15.42 | 0.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 10 | 0.25 | 1.72 | 89.82 | 22.95 | 237.52 | 0 | 3.19 | 2.41 | 0.36 | 0.06 | 0.14 | 10.92 | 884.76 | 17.47 | 0.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 10.96 | 0.21 | 1.72 | 97.02 | 21.05 | 257.04 | 0 | 3.22 | 2.49 | 0.04 | 0.06 | 0.18 | 18.35 | 884.93 | 0 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 11 | 0.25 | 1.72 | 98.32 | 20.13 | 243.52 | 0 | 3.27 | 2.51 | 0 | 0.06 | 2.38 | 21.98 | 884.64 | 0 | 0.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 7 | 0.18 | 1.72 | 0 | 0 | 0 | 2 | 3.22 | 2.49 | 0 | 0.06 | 0 | 0 | 0 | 0 | 0.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 17 | 0.19 | 1.72 | 0 | 0 | 0 | 0 | 3.34 | 2.59 | 0 | 0.06 | 0 | 0 | 0 | 0 | 1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 3 | 0.21 | 1.72 | 0 | 0 | 0 | 0 | 3.14 | 2.39 | 0 | 0.06 | 0 | 0 | 0 | 0 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 6 | 0.13 | 1.72 | 0 | 0 | 0 | 1 | 3.12 | 2.42 | 0 | 0.06 | 0 | 0 | 0 | 0 | 5.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 8 | 0.28 | 1.72 | 0 | 0 | 0 | 0 | 3.28 | 2.44 | 0 | 0.06 | 0 | 0 | 0 | 0 | 4.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 9 | 0.23 | 1.72 | 0 | 0 | 0 | 0 | 3.46 | 2.58 | 0 | 0.06 | 0 | 0 | 0 | 0 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 12.83 | 0.19 | 1.72 | 0 | 0 | 0 | 0 | 3.23 | 2.54 | 0 | 0.06 | 0 | 0 | 0 | 0 | 4.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 16 | 0.14 | 1.72 | 0 | 0 | 0 | 0 | 3.12 | 2.5 | 0.09 | 0.06 | 0 | 0 | 0 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 9.28 | 0.24 | 1.72 | 0 | 0 | 0 | 0 | 3.27 | 2.53 | 1.84 | 0.06 | 0 | 0 | 0 | 0 | 2.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 6 | 0.18 | 1.72 | 0 | 0 | 0 | 0 | 3.37 | 2.67 | 0.17 | 0.06 | 0 | 0 | 0 | 0 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 5.04 | 0.25 | 1.72 | 0 | 0 | 0 | 0 | 3.3 | 2.49 | 0 | 0.06 | 0 | 0 | 0 | 0 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 4 | 0.23 | 1.72 | 0 | 0 | 0 | 0 | 3.41 | 2.59 | 0 | 0.06 | 0 | 0 | 0 | 0 | 1.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 7 | 0.24 | 1.71 | 0 | 0 | 0 | 0 | 3.31 | 2.46 | 0 | 0.06 | 0 | 0 | 0 | 0 | 0.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 12 | 0.02 | 1.72 | 0 | 0 | 0 | 0 | 3.12 | 2.64 | 0 | 0.06 | 0 | 0 | 0 | 0 | 0.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 12.07 | 0.19 | 1.72 | 83.56 | 24.45 | 222.05 | 0.25 | 3.23 | 2.51 | 0.14 | 0.06 | 0.31 | 11.79 | 885.2 | 87.89 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 3 | 0.02 | 1.71 | 67.76 | 20.13 | 178.82 | 0 | 3.02 | 2.34 | 0 | 0.06 | 0 | 6.23 | 884.56 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 24 | 0.28 | 1.72 | 98.32 | 28.61 | 258.43 | 2 | 3.46 | 2.67 | 1.84 | 0.06 | 2.38 | 21.98 | 885.97 | 206.08 | 5.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 12.07 | 0.19 | 1.72 | 83.56 | 24.45 | 222.05 | 0.25 | 3.23 | 2.51 | 0.14 | 0.06 | 0.31 | 11.79 | 885.2 | 87.89 | 1.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.21 | 0.06 | 0 | 9.98 | 2.62 | 24.97 | 0.6 | 0.1 | 0.08 | 0.38 | 0 | 0.7 | 5.22 | 0.48 | 71.48 | 1.49 | 0 | 0 | 0 | 0 | 0
Mode | 15 | 0.25 | 1.72 | 85.56 | 23.89 | 200.25 | 0 | 3.27 | 2.49 | 0 | 0.06 | 0 | 7.43 | 885.55 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 11 | 0.21 | 1.72 | 85.56 | 24.52 | 221.27 | 0 | 3.24 | 2.51 | 0 | 0.06 | 0.02 | 10.92 | 885.34 | 100.81 | 1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 10 | 10 | 10 | 24 | 24 | 24 | 24 | 24 | 10 | 10 | 10 | 10 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 41 | 41 | 41 | 100 | 100 | 100 | 100 | 100 | 41 | 41 | 41 | 41 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0