## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 10 |  |  |  | Date : 10/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 10/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 36.06 | 23.92 | 0.02 | 36.18 | 2.17 | 0.18 | 0.01 | 0.01 | 21.57 | 83.34 | 3.5 | 11.27 | 0.02 | 0 | 892.22 | 0 | 2.7 | 0.06 | 0.01 | 28.27 | 8.34
07-08Hr | 36.26 | 22.85 | 0.02 | 32.55 | 2.88 | 0.21 | 0.01 | 0.01 | 22.41 | 84.72 | 3.48 | 11.35 | 0.02 | 0.01 | 892.77 | 0 | 2.69 | 0.06 | 0.01 | 37.26 | 71.48
08-09Hr | 36.5 | 22.2 | 0.02 | 31.34 | 3.07 | 0.14 | 0.01 | 0.01 | 23.17 | 90.59 | 3.3 | 11.42 | 0.02 | 0.01 | 892.72 | 0 | 2.59 | 0.06 | 0.01 | 47.73 | 156.6
09-10Hr | 36.98 | 22.3 | 0.02 | 32.27 | 1.99 | 0.23 | 0.01 | 0.01 | 25.52 | 83.71 | 3.37 | 11.57 | 0.02 | 0.01 | 892.15 | 0 | 2.58 | 0.06 | 0.01 | 64.15 | 177.18
10-11Hr | 37.28 | 23.27 | 0.02 | 30.19 | 1.73 | 0.21 | 0.01 | 0.01 | 26.24 | 79.42 | 3.44 | 11.66 | 0.02 | 0.01 | 891.3 | 0 | 2.61 | 0.06 | 0.01 | 67.15 | 188.26
11-12Hr | 37.51 | 22.23 | 0.02 | 29.46 | 2.49 | 0.17 | 0.01 | 0.01 | 25.1 | 72.38 | 3.35 | 11.74 | 0.02 | 0 | 890.44 | 0 | 2.6 | 0.06 | 0.01 | 60.58 | 187.68
12-13Hr | 37.82 | 22.29 | 0.02 | 32.47 | 1.85 | 0.27 | 0.01 | 0.01 | 26.34 | 87.69 | 3.35 | 11.85 | 0.02 | 0 | 889.77 | 0 | 2.57 | 0.06 | 0.01 | 52.21 | 166.14
13-14Hr | 38.07 | 21.74 | 0.02 | 36.45 | 1.4 | 0.22 | 0.01 | 0.01 | 25.72 | 87.73 | 3.3 | 11.91 | 0.02 | 0.01 | 889.55 | 0 | 2.53 | 0.06 | 0.01 | 67.08 | 99.13
14-15Hr | 37.56 | 21.02 | 0.02 | 49.43 | 0.95 | 0.14 | 0.01 | 0.01 | 21.67 | 84.49 | 3.12 | 11.73 | 0.02 | 0 | 889.47 | 0 | 2.47 | 0.06 | 0.01 | 57.37 | 7.83
15-16Hr | 37.75 | 22.9 | 0.02 | 63.16 | 1.01 | 0.26 | 0.01 | 0.01 | 19.24 | 82.77 | 3.47 | 11.78 | 0.02 | 0 | 889.73 | 0 | 2.68 | 0.06 | 0.01 | 46.87 | 0.52
16-17Hr | 37.84 | 21.88 | 0.02 | 71.66 | 0.9 | 0.17 | 0.01 | 0.01 | 18.04 | 87.77 | 3.25 | 11.84 | 0.02 | 0 | 890.06 | 0 | 2.5 | 0.06 | 0.01 | 47.36 | 0
17-18Hr | 37.98 | 22.83 | 0.02 | 71.04 | 0.49 | 0.14 | 0.01 | 0.01 | 17.23 | 96.98 | 3.35 | 11.87 | 0.02 | 0 | 890.46 | 0.01 | 2.69 | 0.06 | 0.01 | 37.64 | 0
18-19Hr | 37.68 | 22.29 | 0.02 | 69.9 | 0.43 | 0.05 | 0.01 | 0.01 | 17 | 88.42 | 3.27 | 11.8 | 0.02 | 0 | 890.63 | 0.01 | 2.72 | 0.06 | 0.01 | 33.91 | 0
19-20Hr | 37.38 | 23.38 | 0.02 | 74.1 | 0.36 | 0.2 | 0.01 | 0.01 | 15.96 | 96.01 | 3.46 | 11.69 | 0.02 | 0 | 890.86 | 0.01 | 2.69 | 0.06 | 0.01 | 24.05 | 0
20-21Hr | 37.01 | 22.3 | 0.02 | 74.28 | 0.39 | 0.08 | 0.01 | 0.01 | 15.75 | 107.75 | 3.36 | 11.57 | 0.02 | 0 | 890.96 | 0 | 2.69 | 0.06 | 0.01 | 18.91 | 0
21-22Hr | 36.8 | 22.32 | 0.02 | 76.36 | 0.82 | 0.19 | 0.01 | 0.01 | 15.31 | 101.1 | 3.39 | 11.53 | 0.02 | 0 | 890.81 | 0 | 2.63 | 0.06 | 0.01 | 15.16 | 0
22-23Hr | 36.68 | 22.69 | 0.02 | 76.65 | 0.87 | 0.22 | 0.01 | 0.01 | 15.26 | 136.13 | 3.42 | 11.48 | 0.02 | 0 | 890.55 | 0 | 2.67 | 0.06 | 0.01 | 20.04 | 0
23-00Hr | 36.61 | 22.78 | 0.02 | 77.28 | 1.08 | 0.14 | 0.01 | 0.01 | 15.12 | 139.13 | 3.38 | 11.43 | 0.02 | 0 | 890.24 | 0 | 2.64 | 0.06 | 0.01 | 20.33 | 0
00-01Hr | 36.45 | 22.43 | 0.02 | 80.31 | 1.35 | 0.16 | 0.01 | 0.01 | 15.24 | 145.73 | 3.24 | 11.42 | 0.02 | 0 | 889.99 | 0.01 | 2.57 | 0.06 | 0.01 | 28.37 | 0
01-02Hr | 35.96 | 22.43 | 0.02 | 80.88 | 1.21 | 0.19 | 0.01 | 0.01 | 14.88 | 127.56 | 3.34 | 11.26 | 0.02 | 0 | 889.75 | 0 | 2.61 | 0.06 | 0.01 | 16.56 | 0
02-03Hr | 35.85 | 22.64 | 0.02 | 79.24 | 1.2 | 0.14 | 0.01 | 0.01 | 14.77 | 115.23 | 3.34 | 11.21 | 0.02 | 0 | 889.69 | 0 | 2.59 | 0.06 | 0.01 | 8.83 | 0
03-04Hr | 35.96 | 23.06 | 0.02 | 77.03 | 1.84 | 0.23 | 0.01 | 0.01 | 15.22 | 103.9 | 3.48 | 11.26 | 0.02 | 0 | 889.73 | 0.01 | 2.64 | 0.06 | 0.01 | 10.81 | 0
04-05Hr | 35.55 | 23.11 | 0.02 | 73.04 | 2.4 | 0.14 | 0.01 | 0.01 | 15.08 | 109.16 | 3.48 | 11.11 | 0.02 | 0 | 890.15 | 0 | 2.71 | 0.06 | 0.01 | 11.24 | 0.17
05-06Hr | 35.59 | 23.64 | 0.02 | 61.61 | 2.98 | 0.22 | 0.01 | 0.01 | 16.75 | 98.12 | 3.51 | 11.15 | 0.02 | 0 | 890.54 | 0 | 2.67 | 0.06 | 0.01 | 14.96 | 27.18
06-07hr | 35.7 | 22.19 | 0.02 | 55.76 | 2.15 | 0.16 | 0.01 | 0.01 | 19.78 | 86.07 | 3.41 | 11.15 | 0.02 | 0 | 891.1 | 0 | 2.69 | 0.06 | 0.01 | 21.43 | 8.16
Avg | 36.83 | 22.59 | 0.02 | 58.91 | 1.52 | 0.18 | 0.01 | 0.01 | 19.13 | 99.04 | 3.37 | 11.52 | 0.02 | 0 | 890.63 | 0 | 2.63 | 0.06 | 0.01 | 34.33 | 43.95
Min | 35.55 | 21.02 | 0.02 | 29.46 | 0.36 | 0.05 | 0.01 | 0.01 | 14.77 | 72.38 | 3.12 | 11.11 | 0.02 | 0 | 889.47 | 0 | 2.47 | 0.06 | 0.01 | 8.83 | 0
Max | 38.07 | 23.92 | 0.02 | 80.88 | 3.07 | 0.27 | 0.01 | 0.01 | 26.34 | 145.73 | 3.51 | 11.91 | 0.02 | 0.01 | 892.77 | 0.01 | 2.72 | 0.06 | 0.01 | 67.15 | 188.26
Geom.Mean | 36.83 | 22.59 | 0.02 | 58.91 | 1.52 | 0.18 | 0.01 | 0.01 | 19.13 | 99.04 | 3.37 | 11.52 | 0.02 | 0 | 890.63 | 0 | 2.63 | 0.06 | 0.01 | 34.33 | 43.95
Median | 36.8 | 22.43 | 0.02 | 69.9 | 1.35 | 0.18 | 0.01 | 0.01 | 17.23 | 90.59 | 3.37 | 11.53 | 0.02 | 0 | 890.46 | 0 | 2.64 | 0.06 | 0.01 | 28.37 | 0.17
Mode | 35.96 | 22.43 | 0.02 | 29.46 | 0.95 | 0.14 | 0.01 | 0.01 | 14.88 | 136.13 | 3.48 | 11.57 | 0.02 | 0 | 889.73 | 0 | 2.69 | 0.06 | 0.01 | 8.83 | 0
Std.Deviation | 0.82 | 0.62 | 0 | 19.83 | 0.83 | 0.05 | 0 | 0 | 4.22 | 19.85 | 0.1 | 0.26 | 0 | 0 | 0.97 | 0 | 0.07 | 0 | 0 | 19.24 | 71.23
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0