## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 5 |  |  |  | Date : 05/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 05/09/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.15 | 8.22 | 78.08 | 26.82 | 196.97 | NA | 3.13 | 2.36 | 0 | 0.06 | 0 | 11.7 | 887.61 | 62.43 | 0.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.26 | 8.05 | 78.07 | 28.08 | 216.64 | NA | 3.26 | 2.43 | 0 | 0.06 | 0 | 7.65 | 887.82 | 109.18 | 0.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.34 | 8.19 | 78.5 | 28.1 | 207.63 | NA | 3.69 | 2.71 | 0 | 0.06 | 0 | 7.76 | 887.81 | 196.28 | 1.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.37 | 8.18 | 75.75 | 28.72 | 127.25 | NA | 3.46 | 2.44 | 0 | 0.06 | 0 | 7.85 | 887.74 | 70.32 | 1.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.5 | 8.26 | 79.65 | 27.67 | 192.31 | NA | 3.47 | 2.6 | 0 | 0.06 | 0 | 15.31 | 887.21 | 65.67 | 0.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 2.22 | 8.32 | 81.94 | 27.4 | 177.22 | NA | 5.24 | 2.67 | 0 | 0.06 | 0 | 10.17 | 886.33 | 127.13 | 0.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.43 | 8.24 | 80.66 | 28.16 | 204.53 | NA | 3.42 | 2.36 | 0 | 0.06 | 0 | 9.83 | 885.42 | 64.61 | 0.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.1 | 8.29 | 81.08 | 27.95 | 195.24 | NA | 3.11 | 2.55 | 0 | 0.06 | 0 | 7.68 | 884.37 | 114.68 | 0.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.21 | 8.35 | 85.83 | 25.65 | 177.64 | NA | 3.29 | 2.51 | 0 | 0.06 | 0 | 6.8 | 884.26 | 11.44 | 0.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | 0.17 | 8.41 | 90.74 | 24.22 | 205.86 | NA | 3.11 | 2.55 | 0 | 0.06 | 0 | 9.88 | 884.32 | 4.78 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | NA | 0.12 | 8.41 | 92.71 | 23.48 | 189.52 | NA | 3.1 | 2.52 | 0 | 0.06 | 0 | 9.99 | 884.7 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | NA | 0.25 | 8.35 | 94.75 | 22.96 | 191.9 | NA | 3.2 | 2.52 | 0 | 0.06 | 0 | 9.91 | 885.13 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | NA | 0.12 | 8.35 | 95.56 | 22.83 | 167.74 | NA | 3.19 | 2.67 | 0 | 0.06 | 0 | 14.7 | 885.96 | 0 | 0.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | NA | 0.17 | 8.32 | 95.25 | 22.99 | 209.44 | NA | 3.32 | 2.67 | 0 | 0.06 | 0 | 8.15 | 886.89 | 0 | 0.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | NA | 0.18 | 8.26 | 95.95 | 22.91 | 200.98 | NA | 3.42 | 2.57 | 0 | 0.06 | 0 | 9.45 | 887.21 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | NA | 0.23 | 8.26 | 96.84 | 22.96 | 224.61 | NA | 3.29 | 2.47 | 0 | 0.06 | 0.29 | 13.73 | 887.31 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | NA | 0.18 | 8.21 | 99.06 | 22.58 | 261.74 | NA | 3.22 | 2.61 | 0 | 0.06 | 0.04 | 12.94 | 887.19 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | NA | 0.05 | 8.23 | 99.5 | 22.42 | 254.25 | NA | 3.14 | 2.8 | 0 | 0.06 | 0.13 | 15.53 | 886.66 | 0 | 0.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | NA | 0.23 | 8.22 | 99.5 | 22.25 | 243.95 | NA | 3.28 | 2.56 | 0 | 0.06 | 0 | 14.97 | 886.19 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | NA | 0.18 | 8.22 | 99.5 | 22.15 | 249.91 | NA | 3.44 | 2.75 | 0 | 0.06 | 0 | 17.24 | 885.96 | 0 | 0.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | NA | 0.1 | 8.29 | 99.5 | 21.83 | 245.52 | NA | 3.15 | 2.5 | 0 | 0.06 | 0 | 12.99 | 886.05 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | NA | 0.21 | 8.15 | 99.5 | 21.83 | 254.95 | NA | 3.4 | 2.65 | 0 | 0.06 | 0 | 13.56 | 886.09 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | NA | 0.18 | 8.22 | 99.5 | 21.62 | 243.41 | NA | 3.47 | 2.61 | 0 | 0.06 | 0 | 12.41 | 886.51 | 1.42 | 0.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | NA | 0.13 | 8.25 | 98.36 | 24.21 | 179.13 | NA | 3.31 | 2.73 | 0 | 0.06 | 0 | 10.68 | 887.52 | 54.56 | 0.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | NA | 0.36 | 8.19 | 85.63 | 26.78 | 201.44 | NA | 3.46 | 2.71 | 0 | 0.06 | 0 | 12.58 | 888.23 | 77.19 | 0.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | NA | 0.3 | 8.26 | 90.46 | 24.66 | 208.79 | NA | 3.38 | 2.58 | 0 | 0.06 | 0.02 | 11.34 | 886.42 | 38.39 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.05 | 8.05 | 75.75 | 21.62 | 127.25 | NA | 3.1 | 2.36 | 0 | 0.06 | 0 | 6.8 | 884.26 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 2.22 | 8.41 | 99.5 | 28.72 | 261.74 | NA | 5.24 | 2.8 | 0 | 0.06 | 0.29 | 17.24 | 888.23 | 196.28 | 1.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.3 | 8.26 | 90.46 | 24.66 | 208.79 | NA | 3.38 | 2.58 | 0 | 0.06 | 0.02 | 11.34 | 886.42 | 38.39 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.18 | 8.25 | 94.75 | 23.48 | 204.53 | NA | 3.29 | 2.57 | 0 | 0.06 | 0 | 10.68 | 886.51 | 1.42 | 0.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.18 | 8.22 | 99.5 | 21.83 | 261.74 | NA | 3.47 | 2.67 | 0 | 0.06 | 0 | 6.8 | 887.21 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.42 | 0.08 | 8.79 | 2.53 | 32.51 | NA | 0.41 | 0.12 | 0 | 0 | 0.06 | 2.94 | 1.19 | 53.75 | 0.31 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0