## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 13 |  |  |  | Date : 13/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 13/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | No Data : Computer Isuue
07-08Hr
08-09Hr | 34 | 0.15 | 4.63 | 67.52 | 30.79 | 157.67 | 0 | 3.29 | 2.65 | 8.1 | 0.06 | 0 | 5.61 | 884.95 | 123.62 | 24.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 23 | 0.21 | 4.61 | 72.65 | 30.2 | 195.86 | 3.87 | 3.23 | 2.52 | 4.62 | 0.06 | 0 | 4.77 | 884.48 | 148.49 | 4.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 32 | 0.14 | 4.65 | 77.64 | 29.53 | 189.91 | 6.9 | 3.2 | 2.53 | 4.47 | 0.06 | 0 | 5.65 | 883.75 | 110.74 | 2.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 31 | 0.16 | 4.64 | 79.32 | 29.56 | 196.94 | 4.1 | 3.2 | 2.54 | 5.19 | 0.06 | 0 | 7.9 | 882.9 | 166.84 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 30 | 0.21 | 4.73 | 78.87 | 29.62 | 205.31 | 2.07 | 3.15 | 2.45 | 5.95 | 0.06 | 0 | 6.05 | 881.99 | 101 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 36 | 0.25 | 4.79 | 80.59 | 29.31 | 195.48 | 2 | 3.17 | 2.38 | 6.6 | 0.06 | 0 | 5.03 | 881.24 | 58.69 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 44 | 0.14 | 4.83 | 77.61 | 29.86 | 194.16 | 5.87 | 3.14 | 2.54 | 7.79 | 0.06 | 0 | 8.17 | 880.45 | 70.49 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 37 | 0.22 | 4.86 | 83.27 | 28.64 | 182.69 | 4.07 | 3.28 | 2.53 | 8.25 | 0.06 | 0.1 | 6.78 | 880.52 | 45.15 | 1.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 36 | 0.19 | 4.87 | 97.17 | 25.66 | 198.26 | 1.1 | 3.15 | 2.48 | 7.18 | 0.06 | 0 | 6.1 | 880.53 | 3 | 1.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 21 | 0.16 | 4.86 | 97.99 | 25.1 | 200.63 | 3.9 | 3.11 | 2.51 | 7.39 | 0.06 | 0 | 9.84 | 881.26 | 0 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 49 | 0.24 | 4.88 | 98.23 | 24.82 | 181.91 | 5.93 | 3.26 | 2.53 | 6.62 | 0.06 | 0 | 6.03 | 882.2 | 0 | 1.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 49 | 0.12 | 4.89 | 96.54 | 23.74 | 191 | 6 | 3.1 | 2.45 | 5.91 | 0.06 | 0 | 5.61 | 882.98 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 14 | 0.19 | 4.86 | 97.38 | 22.7 | 171.5 | 3.1 | 3.32 | 2.58 | 4.83 | 0.06 | 0.08 | 5.24 | 883.65 | 0 | 2.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 8 | 0.2 | 4.79 | 97.8 | 22.61 | 197.83 | 3 | 3.3 | 2.56 | 4.28 | 0.06 | 0 | 4.65 | 883.69 | 0 | 4.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 4 | 0.21 | 4.79 | 99.2 | 22.63 | 213.51 | 2.03 | 3.32 | 2.66 | 3.31 | 0.06 | 0 | 5.35 | 883.79 | 0 | 3.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 10 | 0.18 | 4.81 | 99.46 | 22.33 | 223.76 | 0.07 | 3.14 | 2.46 | 2.72 | 0.06 | 0 | 5.25 | 882.84 | 0 | 2.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 11 | 0.18 | 4.82 | 97.58 | 22.16 | 232.81 | 0 | 3.19 | 2.5 | 2.51 | 0.06 | 0 | 5.28 | 882.01 | 0 | 2.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 8 | 0.08 | 4.78 | 98.22 | 22.11 | 238.46 | 0 | 3.06 | 2.5 | 2.33 | 0.06 | 0 | 8.09 | 881.83 | 0 | 2.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 3 | 0.17 | 4.69 | 98.74 | 22.21 | 189.76 | 0 | 3.21 | 2.51 | 2.13 | 0.06 | 0 | 10.64 | 881.95 | 0 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 38 | 0.25 | 4.66 | 98.71 | 22.05 | 215.99 | 0.97 | 3.36 | 2.5 | 1.93 | 0.06 | 0 | 6.99 | 882.19 | 2.41 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 16 | 0.25 | 4.65 | 96.11 | 23.16 | 224.79 | 0.03 | 3.35 | 2.53 | 2.01 | 0.06 | 0 | 5.65 | 882.92 | 24.58 | 1.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 19 | 0.2 | 4.61 | 87.79 | 25.6 | 215.43 | 0 | 3.35 | 2.62 | 2.27 | 0.06 | 0 | 5.12 | 883.44 | 48.45 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 32 | 0.2 | 4.59 | 86.27 | 26.25 | 226.48 | 0 | 3.2 | 2.41 | 2.37 | 0.06 | 0 | 4.73 | 883.73 | 69.96 | 1.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 25.43 | 0.19 | 4.75 | 89.77 | 25.68 | 201.75 | 2.39 | 3.22 | 2.52 | 4.73 | 0.06 | 0.01 | 6.28 | 882.58 | 42.32 | 3.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 3 | 0.08 | 4.59 | 67.52 | 22.05 | 157.67 | 0 | 3.06 | 2.38 | 1.93 | 0.06 | 0 | 4.65 | 880.45 | 0 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 49 | 0.25 | 4.89 | 99.46 | 30.79 | 238.46 | 6.9 | 3.36 | 2.66 | 8.25 | 0.06 | 0.1 | 10.64 | 884.95 | 166.84 | 24.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 25.43 | 0.19 | 4.75 | 89.77 | 25.68 | 201.75 | 2.39 | 3.22 | 2.52 | 4.73 | 0.06 | 0.01 | 6.28 | 882.58 | 42.32 | 3.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 30 | 0.19 | 4.79 | 96.54 | 25.1 | 197.83 | 2.03 | 3.2 | 2.52 | 4.62 | 0.06 | 0 | 5.65 | 882.84 | 3 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 8 | 0.21 | 4.79 | 67.52 | 26.25 | 157.67 | 0 | 3.2 | 2.53 | 1.93 | 0.06 | 0 | 5.65 | 880.52 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 14.28 | 0.04 | 0.1 | 10.3 | 3.25 | 19.86 | 2.32 | 0.09 | 0.07 | 2.21 | 0 | 0.03 | 1.62 | 1.27 | 54.25 | 4.68 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23 | 23
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92 | 92
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0