## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 16 |  |  |  | Date : 16/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 16/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.14 | 177.53 | 0.02 | 72.66 | 0.99 | 0.2 | 0.01 | 0.01 | 27.5 | NA | 3.47 | 8.8 | 0.02 | 0 | 889.05 | NA | 2.53 | 0.06 | 0.01 | 15.44 | 71.17
07-08Hr | 0.12 | 182.41 | 0.02 | 66.05 | 1.1 | 0.13 | 0.01 | 0.01 | 30.03 | NA | 3.06 | 8.8 | 0.02 | 0 | 889.55 | NA | 2.41 | 0.06 | 0.01 | 12.36 | 54.23
08-09Hr | 0.12 | 195.89 | 0.02 | 65.43 | 5.01 | 0.13 | 0.01 | 0.01 | 30.45 | NA | 3.33 | 8.69 | 0.02 | 0 | 889.56 | NA | 2.65 | 0.06 | 0.01 | 13.09 | 142.18
09-10Hr | 0.07 | 209.43 | 0.02 | 82.72 | 1.58 | 0.31 | 0.01 | 0.01 | 25.94 | NA | 3.4 | 8.72 | 0.02 | 0 | 888.9 | NA | 2.55 | 0.06 | 0.01 | 14.44 | 59.55
10-11Hr | 0.11 | 172.87 | 0.02 | 83.84 | 1.1 | 0.23 | 0.01 | 0.01 | 26.14 | NA | 3.76 | 8.87 | 0.02 | 0 | 888.08 | NA | 2.78 | 0.06 | 0.01 | 14.44 | 56.9
11-12Hr | 0.1 | 192.87 | 0.02 | 82.89 | 0.94 | 0.1 | 0.01 | 0.01 | 25.98 | NA | 3.38 | 9.01 | 0.02 | 0 | 887.29 | NA | 2.65 | 0.06 | 0.01 | 22.66 | 26.92
12-13Hr | 0.13 | 216.86 | 0.02 | 84.91 | 0.62 | 0.23 | 0.01 | 0.01 | 25.75 | NA | 3.33 | 9.08 | 0.02 | 0 | 886.63 | NA | 2.48 | 0.06 | 0.01 | 12.62 | 21.05
13-14Hr | 0.11 | 189.05 | 0.02 | 85.12 | 1.1 | 0.13 | 0.01 | 0.01 | 25.74 | NA | 3.13 | 9.04 | 0.02 | 0.01 | 886.27 | NA | 2.46 | 0.06 | 0.01 | 12.47 | 85.31
14-15Hr | 0.11 | 190.25 | 0.02 | 76 | 0.83 | 0.13 | 0.01 | 0.01 | 27.93 | NA | 3.2 | 9.12 | 0.02 | 0 | 886.22 | NA | 2.55 | 0.06 | 0.01 | 13.81 | 87.18
15-16Hr | 0.21 | 177.05 | 0.02 | 88.46 | 0.86 | 0.21 | 0.01 | 0.01 | 24.44 | NA | 3.28 | 9.08 | 0.02 | 0 | 886.48 | NA | 2.6 | 0.06 | 0.01 | 9.6 | 19.79
16-17Hr | 0.13 | 185.66 | 0.02 | 97.61 | 0.75 | 0.26 | 0.01 | 0.01 | 22.71 | NA | 3.22 | 9.22 | 0.02 | 0 | 887.09 | NA | 2.45 | 0.06 | 0.01 | 16.62 | 0
17-18Hr | 0.11 | 187.03 | 0.02 | 99.21 | 0.43 | 0.1 | 0.01 | 0.01 | 22.47 | NA | 3.51 | 9.08 | 0.02 | 0 | 887.99 | NA | 2.83 | 0.06 | 0.01 | 15.88 | 0
18-19Hr | 0.21 | 183.53 | 0.02 | 99.5 | 0.51 | 0.18 | 0.01 | 0.01 | 22.51 | NA | 3.58 | 9.05 | 0.02 | 0 | 888.78 | NA | 2.77 | 0.06 | 0.01 | 17.14 | 0
19-20Hr | 0.2 | 202.04 | 0.02 | 99.5 | 0.24 | 0.1 | 0.01 | 0.01 | 22.24 | NA | 3.2 | 9.01 | 0.02 | 0 | 889.21 | NA | 2.51 | 0.06 | 0.01 | 19.91 | 0
20-21Hr | 0.1 | 191.11 | 0.02 | 99.5 | 0.24 | 0.21 | 0.01 | 0.01 | 22.08 | NA | 3.13 | 8.9 | 0.02 | 0 | 889.38 | NA | 2.45 | 0.06 | 0.01 | 20.84 | 0
21-22Hr | 0.11 | 186.25 | 0.02 | 99.5 | 0.48 | 0.18 | 0.01 | 0.01 | 22.2 | NA | 3.02 | 8.9 | 0.02 | 0 | 889.45 | NA | 2.43 | 0.06 | 0.01 | 17.88 | 0
22-23Hr | 0.09 | 190.88 | 0.02 | 99.5 | 0.75 | 0.38 | 0.01 | 0.01 | 21.89 | NA | 3.44 | 8.97 | 0.02 | 0 | 889.28 | NA | 2.51 | 0.06 | 0.01 | 18.67 | 0
23-00Hr | 0.1 | 198.84 | 0.02 | 99.5 | 0.32 | 0.28 | 0.01 | 0.01 | 21.74 | NA | 3.53 | 8.9 | 0.02 | 0 | 889.01 | NA | 2.73 | 0.06 | 0.01 | 19.71 | 0
00-01Hr | 0.07 | 186.48 | 0.02 | 99.5 | 0.51 | 0.26 | 0.01 | 0.01 | 21.65 | NA | 3.17 | 8.9 | 0.02 | 0 | 888.94 | NA | 2.36 | 0.06 | 0.01 | 18.16 | 0
01-02Hr | 0.08 | 199.71 | 0.02 | 99.5 | 0.96 | 0.13 | 0.01 | 0.01 | 21.57 | NA | 3.22 | 8.69 | 0.02 | 0 | 888.86 | NA | 2.55 | 0.06 | 0.01 | 20.69 | 0
02-03Hr | 0.11 | 189.06 | 0.02 | 99.5 | 0.69 | 0.03 | 0.01 | 0.01 | 21.42 | NA | 3.22 | 8.87 | 0.02 | 0 | 888.86 | NA | 2.64 | 0.06 | 0.01 | 20.09 | 0
03-04Hr | 0.12 | 196.14 | 0.02 | 99.5 | 0.76 | 0.15 | 0.01 | 0.01 | 21.36 | NA | 3.29 | 8.79 | 0.02 | 0 | 889.1 | NA | 2.72 | 0.06 | 0.01 | 22.89 | 0
04-05Hr | 0.11 | 177.71 | 0.02 | 99.5 | 0.76 | 0.32 | 0.01 | 0.01 | 21.27 | NA | 3.19 | 8.87 | 0.02 | 0 | 889.71 | NA | 2.6 | 0.06 | 0.01 | 18.12 | 0.73
05-06Hr | 0.05 | 178.87 | 0.02 | 90.62 | 0.7 | 0.29 | 0.01 | 0.01 | 24.67 | NA | 3.32 | 8.62 | 0.02 | 0 | 890.35 | NA | 2.43 | 0.06 | 0.01 | 17.41 | 62.91
06-07hr | 0 | 179.5 | 0.02 | 77.02 | 0.64 | 0 | 0.01 | 0.01 | 28.3 | NA | 3.06 | 8.58 | 0.02 | 0 | 890.7 | NA | 2.41 | 0.06 | 0.01 | 14.68 | 46.91
Avg | 0.11 | 189.48 | 0.02 | 89.88 | 0.91 | 0.19 | 0.01 | 0.01 | 24.32 | NA | 3.3 | 8.9 | 0.02 | 0 | 888.59 | NA | 2.56 | 0.06 | 0.01 | 16.78 | 29.39
Min | 0 | 172.87 | 0.02 | 65.43 | 0.24 | 0 | 0.01 | 0.01 | 21.27 | NA | 3.02 | 8.58 | 0.02 | 0 | 886.22 | NA | 2.36 | 0.06 | 0.01 | 9.6 | 0
Max | 0.21 | 216.86 | 0.02 | 99.5 | 5.01 | 0.38 | 0.01 | 0.01 | 30.45 | NA | 3.76 | 9.22 | 0.02 | 0.01 | 890.7 | NA | 2.83 | 0.06 | 0.01 | 22.89 | 142.18
Geom.Mean | 0.11 | 189.48 | 0.02 | 89.88 | 0.91 | 0.19 | 0.01 | 0.01 | 24.32 | NA | 3.3 | 8.9 | 0.02 | 0 | 888.59 | NA | 2.56 | 0.06 | 0.01 | 16.78 | 29.39
Median | 0.11 | 189.05 | 0.02 | 97.61 | 0.75 | 0.18 | 0.01 | 0.01 | 22.71 | NA | 3.28 | 8.9 | 0.02 | 0 | 888.94 | NA | 2.55 | 0.06 | 0.01 | 17.14 | 0.73
Mode | 0.11 | 172.87 | 0.02 | 99.5 | 1.1 | 0.13 | 0.01 | 0.01 | 21.74 | NA | 3.22 | 8.9 | 0.02 | 0 | 888.86 | NA | 2.55 | 0.06 | 0.01 | 14.44 | 0
Std.Deviation | 0.05 | 10.51 | 0 | 11.5 | 0.91 | 0.09 | 0 | 0 | 2.88 | NA | 0.18 | 0.17 | 0 | 0 | 1.25 | NA | 0.13 | 0 | 0 | 3.47 | 38.73
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0