## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 11 |  |  |  | Date : 11/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.09 | 200.58 | 0.02 | 79.46 | 1.18 | 0.13 | 0.01 | 0.01 | 25.65 | NA | 3.35 | 8.65 | 0.02 | 0 | 888.81 | NA | 2.73 | 0.06 | 0.01 | 19.54 | 57.16
07-08Hr | 0.1 | 194.87 | 0.02 | 78.24 | 0.7 | 0.13 | 0.01 | 0.01 | 26.01 | NA | 3.06 | 8.76 | 0.02 | 0 | 889.55 | NA | 2.5 | 0.06 | 0.01 | 11.5 | 54.41
08-09Hr | 0.21 | 160.98 | 0.02 | 79.35 | 0.94 | 0.21 | 0.01 | 0.01 | 25.24 | NA | 3.31 | 8.72 | 0.02 | 0 | 889.4 | NA | 2.55 | 0.06 | 0.01 | 10.8 | 75.85
09-10Hr | 0.09 | 184.68 | 0.02 | 77.84 | 0.94 | 0.31 | 0.01 | 0.01 | 26.32 | NA | 3.47 | 8.9 | 0.02 | 0 | 888.75 | NA | 2.46 | 0.06 | 0.02 | 13.46 | 93.87
10-11Hr | 0.11 | 184.02 | 0.02 | 74.74 | 0.54 | 0.28 | 0.01 | 0.01 | 26.87 | NA | 3.4 | 8.94 | 0.02 | 0 | 887.93 | NA | 2.61 | 0.07 | 0.01 | 11.43 | 98.76
11-12Hr | 0.04 | 191.46 | 0.02 | 76.94 | 1.18 | 0.08 | 0.01 | 0.01 | 25.49 | NA | 3.04 | 9.01 | 0.02 | 0 | 887.22 | NA | 2.55 | 0.06 | 0.01 | 11.77 | 52.07
12-13Hr | 0.13 | 209.01 | 0.02 | 82.61 | 1.66 | 0.03 | 0.01 | 0.01 | 24.33 | NA | 3.02 | 9.19 | 0.02 | 0 | 886.47 | NA | 2.43 | 0.06 | 0.01 | 10.59 | 60.68
13-14Hr | 0.06 | 188.95 | 0.02 | 81.51 | 1.41 | 0.18 | 0.01 | 0.01 | 25.01 | NA | 3.16 | 9.15 | 0.02 | 0 | 886.22 | NA | 2.37 | 0.06 | 0.01 | 8.45 | 55.98
14-15Hr | 0.09 | 159.51 | 0.02 | 91.78 | 1.07 | 0.07 | 0.01 | 0.01 | 23.03 | NA | 3.2 | 8.99 | 0.02 | 0 | 886.51 | NA | 2.67 | 0.06 | 0.01 | 10.68 | 3.4
15-16Hr | 0.08 | 178.15 | 0.02 | 94.2 | 0.7 | 0.23 | 0.01 | 0.01 | 22.03 | NA | 3.26 | 8.97 | 0.02 | 0 | 886.45 | NA | 2.6 | 0.06 | 0.01 | 11.92 | 0
16-17Hr | 0.13 | 190.38 | 0.02 | 94.18 | 0.62 | 0.13 | 0.01 | 0.01 | 21.67 | NA | 3.22 | 8.83 | 0.02 | 0 | 886.58 | NA | 2.46 | 0.06 | 0.01 | 13.19 | 0
17-18Hr | 0.08 | 190.48 | 0.02 | 93.69 | 1.02 | 0.26 | 0.01 | 0.01 | 21.59 | NA | 2.97 | 8.94 | 0.02 | 0 | 887.34 | NA | 2.33 | 0.06 | 0.01 | 13 | 0
18-19Hr | 0.07 | 202.72 | 0.02 | 94.11 | 1.1 | 0.23 | 0.01 | 0.01 | 21.5 | NA | 3.24 | 8.97 | 0.02 | 0 | 887.91 | NA | 2.46 | 0.06 | 0.01 | 20.34 | 0
19-20Hr | 0.11 | 144.76 | 0.02 | 95.82 | 1.5 | 0.1 | 0.01 | 0.01 | 21.24 | NA | 3.4 | 8.94 | 0.02 | 0 | 888.34 | NA | 2.73 | 0.07 | 0.01 | 8.13 | 0
20-21Hr | 0.11 | 197.2 | 0.02 | 96.85 | 1.9 | 0.26 | 0.01 | 0.01 | 21.11 | NA | 3.69 | 8.94 | 0.02 | 0 | 888.34 | NA | 2.7 | 0.06 | 0.01 | 13.48 | 0
21-22Hr | 0.1 | 186.5 | 0.02 | 96.76 | 1.82 | 0.26 | 0.01 | 0.01 | 21.08 | NA | 3.4 | 8.83 | 0.02 | 0 | 888.53 | NA | 2.58 | 0.06 | 0.01 | 14.06 | 0
22-23Hr | 0.14 | 192.48 | 0.02 | 96.58 | 1.26 | 0.21 | 0.01 | 0.01 | 21.1 | NA | 3.4 | 8.72 | 0.02 | 0 | 888.41 | NA | 2.59 | 0.06 | 0.01 | 12.81 | 0
23-00Hr | 0.08 | 161.74 | 0.02 | 97.93 | 1.5 | 0.21 | 0.01 | 0.01 | 20.85 | NA | 3.33 | 8.83 | 0.02 | 0 | 887.89 | NA | 2.55 | 0.06 | 0.01 | 17.08 | 0
00-01Hr | 0.13 | 190.65 | 0.02 | 98.37 | 1.63 | 0.28 | 0.01 | 0.01 | 20.63 | NA | 3.28 | 8.76 | 0.02 | 0 | 887.4 | NA | 2.46 | 0.06 | 0.01 | 16.3 | 0
01-02Hr | 0.16 | 186.69 | 0.02 | 98.5 | 1.82 | 0 | 0.01 | 0.01 | 20.6 | NA | 3.13 | 8.69 | 0.02 | 0 | 887.12 | NA | 2.73 | 0.06 | 0.01 | 16.66 | 0
02-03Hr | 0.18 | 177.24 | 0.02 | 98.33 | 1.98 | 0.15 | 0.01 | 0.01 | 20.47 | NA | 3.15 | 8.72 | 0.02 | 0 | 887.03 | NA | 2.46 | 0.06 | 0.01 | 17.59 | 0
03-04Hr | 0.15 | 191.12 | 0.02 | 97.4 | 2.3 | 0.23 | 0.01 | 0.01 | 20.48 | NA | 3.35 | 8.65 | 0.02 | 0 | 887.67 | NA | 2.7 | 0.06 | 0.01 | 12.25 | 0
04-05Hr | 0.01 | 181.44 | 0.02 | 96.96 | 2.3 | 0 | 0.01 | 0.01 | 20.48 | NA | 3.04 | 8.76 | 0.02 | 0 | 888.13 | NA | 2.56 | 0.06 | 0.01 | 17.78 | 0.75
05-06Hr | 0.23 | 184.11 | 0.02 | 92.68 | 2.63 | 0.31 | 0.01 | 0.01 | 21.58 | NA | 3.51 | 8.65 | 0.02 | 0 | 888.71 | NA | 2.63 | 0.06 | 0.01 | 16.31 | 41.35
06-07hr | 0.16 | 203.63 | 0.02 | 86.81 | 1.74 | 0.05 | 0.01 | 0.01 | 23.42 | NA | 3.26 | 8.58 | 0.02 | 0 | 889.49 | NA | 2.66 | 0.06 | 0.01 | 10.38 | 21.44
Avg | 0.11 | 185.33 | 0.02 | 90.07 | 1.42 | 0.17 | 0.01 | 0.01 | 22.71 | NA | 3.27 | 8.84 | 0.02 | 0 | 887.85 | NA | 2.56 | 0.06 | 0.01 | 13.58 | 24.63
Min | 0.01 | 144.76 | 0.02 | 74.74 | 0.54 | 0 | 0.01 | 0.01 | 20.47 | NA | 2.97 | 8.58 | 0.02 | 0 | 886.22 | NA | 2.33 | 0.06 | 0.01 | 8.13 | 0
Max | 0.23 | 209.01 | 0.02 | 98.5 | 2.63 | 0.31 | 0.01 | 0.01 | 26.87 | NA | 3.69 | 9.19 | 0.02 | 0 | 889.55 | NA | 2.73 | 0.07 | 0.02 | 20.34 | 98.76
Geom.Mean | 0.11 | 185.33 | 0.02 | 90.07 | 1.42 | 0.17 | 0.01 | 0.01 | 22.71 | NA | 3.27 | 8.84 | 0.02 | 0 | 887.85 | NA | 2.56 | 0.06 | 0.01 | 13.58 | 24.63
Median | 0.11 | 188.95 | 0.02 | 94.11 | 1.41 | 0.21 | 0.01 | 0.01 | 21.59 | NA | 3.26 | 8.83 | 0.02 | 0 | 887.91 | NA | 2.56 | 0.06 | 0.01 | 13 | 0
Mode | 0.09 | 144.76 | 0.02 | 74.74 | 0.7 | 0.13 | 0.01 | 0.01 | 20.48 | NA | 3.4 | 8.94 | 0.02 | 0 | 888.34 | NA | 2.46 | 0.06 | 0.01 | 8.45 | 0
Std.Deviation | 0.05 | 15.11 | 0 | 8.35 | 0.56 | 0.1 | 0 | 0 | 2.19 | NA | 0.17 | 0.16 | 0 | 0 | 1 | NA | 0.12 | 0 | 0 | 3.3 | 33.6
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0