## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 11 |  |  |  | Date : 11/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 13.93 | 0.15 | 4.35 | 79.02 | 27.15 | 201.54 | 0 | 3.37 | 2.69 | 1.55 | 0.06 | 0 | 5.01 | 883.99 | 130.52 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 25 | 0.17 | 4.35 | 75.62 | 28.59 | 197.91 | 0 | 3.28 | 2.63 | 2.18 | 0.06 | 0 | 6.83 | 884.04 | 120.85 | 1.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 21.07 | 0.12 | 4.48 | 73.93 | 29.51 | 170.98 | 0 | 3.12 | 2.53 | 3.85 | 0.06 | 0 | 14.57 | 883.88 | 154.24 | 5.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 30.83 | 0.15 | 4.39 | 82.35 | 27.27 | 112.92 | 3.93 | 3.22 | 2.6 | 5.22 | 0.06 | 0 | 38.45 | 883.61 | 125.09 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 16 | 0.2 | 4.5 | 80.26 | 28.06 | 118.04 | 7.93 | 3.24 | 2.51 | 3.13 | 0.06 | 0 | 38.02 | 883 | 129.69 | 2.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 13.05 | 0.19 | 4.53 | 79.59 | 28.68 | 113.7 | 4.14 | 3.14 | 2.51 | 3.54 | 0.06 | 0 | 36.56 | 882.11 | 115.1 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 23.81 | 0.21 | 4.56 | 83.06 | 24.92 | 122.07 | 0.14 | 3.1 | 2.36 | 4.75 | 0.06 | 0.37 | 31.73 | 881.68 | 25.14 | 4.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 22.03 | 0.17 | 4.6 | 97.53 | 21.12 | 99.34 | 4.78 | 3.23 | 2.56 | 5.25 | 0.06 | 0 | 34.82 | 881.15 | 3.04 | 4.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 10.21 | 0.24 | 4.57 | 95.4 | 21.75 | 100.08 | 4.03 | 3.21 | 2.46 | 3.74 | 0.06 | 0 | 22.89 | 880.94 | 0 | 2.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 11.97 | 0.23 | 4.65 | 81.91 | 23.44 | 145.93 | 0.14 | 3.2 | 2.44 | 4.51 | 0.06 | 0 | 37.34 | 880.98 | 0 | 3.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 14.95 | 0.16 | 4.58 | 80.75 | 23.91 | 149.48 | 0.03 | 3.25 | 2.54 | 2.22 | 0.06 | 0 | 31.85 | 881.3 | 0 | 3.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 23 | 0.22 | 4.59 | 85.36 | 23.04 | 160.17 | 0.98 | 3.31 | 2.54 | 1.93 | 0.06 | 0 | 37.28 | 882.27 | 0 | 3.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 11.21 | 0.24 | 4.58 | 87.98 | 22.74 | 146.23 | 1 | 3.24 | 2.42 | 1.44 | 0.06 | 0 | 35.5 | 882.86 | 0 | 3.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 11 | 0.27 | 4.58 | 93.5 | 22.19 | 151.17 | 0.02 | 3.34 | 2.56 | 1.04 | 0.06 | 0 | 33.41 | 883.69 | 0 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 10.02 | 0.2 | 4.55 | 97.57 | 21.76 | 174.4 | 0 | 3.21 | 2.5 | 0.74 | 0.06 | 0 | 32.64 | 884.23 | 0 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 8.03 | 0.15 | 4.56 | 95.87 | 21.92 | 168.46 | 0 | 3.13 | 2.53 | 1.83 | 0.06 | 0 | 32.13 | 884.11 | 0 | 2.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 5 | 0.15 | 4.54 | 93.15 | 22.29 | 175.23 | 0 | 3.12 | 2.47 | 0.9 | 0.06 | 0 | 27.92 | 884 | 0 | 2.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 2 | 0.3 | 4.48 | 93.37 | 21.94 | 172.71 | 0 | 3.21 | 2.43 | 0.58 | 0.06 | 0 | 27.61 | 883.54 | 0 | 2.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 6 | 0.18 | 4.51 | 89.66 | 22.15 | 191.36 | 0 | 3.26 | 2.54 | 0.76 | 0.06 | 0 | 26.99 | 883.21 | 0 | 2.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 4 | 0.19 | 4.54 | 92.03 | 21.74 | 177.49 | 0 | 3.27 | 2.57 | 0.81 | 0.06 | 0 | 29.38 | 882.81 | 0 | 1.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 6 | 0.12 | 4.52 | 95.14 | 21.54 | 187.52 | 0 | 3.05 | 2.45 | 0.88 | 0.06 | 0 | 29.11 | 882.74 | 0 | 2.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 14 | 0.24 | 4.52 | 94.66 | 21.73 | 180.97 | 0 | 3.31 | 2.56 | 0.77 | 0.06 | 0 | 28.98 | 882.97 | 4.36 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 14 | 0.13 | 4.53 | 87.3 | 24.36 | 175.93 | 0 | 3.16 | 2.47 | 0.97 | 0.06 | 0 | 33.88 | 883.16 | 53.56 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 12 | 0.14 | 4.56 | 77.25 | 27.32 | 173.61 | 0 | 3.14 | 2.47 | 3.49 | 0.06 | 0 | 36.97 | 883.86 | 98.56 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 20 | 0.19 | 4.55 | 70.56 | 29.32 | 160.07 | 0 | 3.19 | 2.45 | 1.28 | 0.06 | 0 | 33.9 | 884.31 | 129.37 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 13.96 | 0.19 | 4.53 | 86.51 | 24.34 | 157.09 | 1.08 | 3.21 | 2.51 | 2.29 | 0.06 | 0.01 | 29.75 | 882.98 | 43.58 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 2 | 0.12 | 4.35 | 70.56 | 21.12 | 99.34 | 0 | 3.05 | 2.36 | 0.58 | 0.06 | 0 | 5.01 | 880.94 | 0 | 1.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 30.83 | 0.3 | 4.65 | 97.57 | 29.51 | 201.54 | 7.93 | 3.37 | 2.69 | 5.25 | 0.06 | 0.37 | 38.45 | 884.31 | 154.24 | 6.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 13.96 | 0.19 | 4.53 | 86.51 | 24.34 | 157.09 | 1.08 | 3.21 | 2.51 | 2.29 | 0.06 | 0.01 | 29.75 | 882.98 | 43.58 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 13.05 | 0.19 | 4.54 | 87.3 | 23.04 | 168.46 | 0 | 3.21 | 2.51 | 1.83 | 0.06 | 0 | 32.13 | 883.16 | 0 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 6 | 0.15 | 4.56 | 70.56 | 21.76 | 145.93 | 0 | 3.21 | 2.56 | 0.74 | 0.06 | 0 | 5.01 | 880.98 | 0 | 1.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 7.31 | 0.05 | 0.07 | 8.11 | 2.91 | 30.33 | 2.11 | 0.08 | 0.07 | 1.56 | 0 | 0.07 | 8.94 | 1.08 | 59.03 | 1.28 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0