## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-09-01 | Station Name : |  | Sikulpuikawn |  |  | SEPTEMBER
Report No |  | 17 |  |  |  | Date : 17/09/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/09/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0 | 167.02 | 0.02 | 82.38 | 0.88 | 0.28 | 0.01 | 0.01 | 24.43 | NA | 3.51 | 7.9 | 0.02 | 0 | 888.81 | NA | 2.61 | 0.06 | 0.01 | 9.36 | 65.69
07-08Hr | 0 | 179.68 | 0.02 | 71.12 | 0.62 | 0.36 | 0.01 | 0.01 | 28.23 | NA | 3.4 | 7.94 | 0.02 | 0 | 889.11 | NA | 2.41 | 0.06 | 0.01 | 8.5 | 132
08-09Hr | 0 | 183.59 | 0.02 | 72.66 | 2.62 | 0 | 0.01 | 0.01 | 27.63 | NA | 3.26 | 8.08 | 0.02 | 0 | 889.2 | NA | 2.8 | 0.06 | 0.01 | 8.67 | 85.47
09-10Hr | 0 | 187.15 | 0.02 | 71.79 | 3.64 | 0.31 | 0.01 | 0.01 | 28.39 | NA | 3.42 | 8.24 | 0.02 | 0 | 888.79 | NA | 2.44 | 0.06 | 0.01 | 8.72 | 109.8
10-11Hr | 0 | 208.16 | 0.02 | 70.19 | 0.4 | 0.25 | 0.01 | 0.01 | 28.85 | NA | 3.4 | 8.29 | 0.02 | 0 | 887.73 | NA | 2.52 | 0.06 | 0.01 | 7.39 | 106.82
11-12Hr | 0 | 182.31 | 0.02 | 64.74 | 0.47 | 0.14 | 0.01 | 0.01 | 30.6 | NA | 3.31 | 8.32 | 0.02 | 0 | 886.93 | NA | 2.57 | 0.06 | 0.01 | 8.25 | 166.03
12-13Hr | 0 | 215.65 | 0.02 | 65.53 | 0.34 | 0.33 | 0.01 | 0.01 | 30.17 | NA | 3.6 | 8.58 | 0.02 | 0 | 886.16 | NA | 2.64 | 0.06 | 0.01 | 8.49 | 97.73
13-14Hr | 0 | 212.6 | 0.02 | 63.23 | 0.98 | 0.23 | 0.01 | 0.01 | 31.26 | NA | 3.42 | 8.61 | 0.02 | 0 | 885.35 | NA | 2.57 | 0.06 | 0.01 | 10.05 | 124.96
14-15Hr | 0 | 167.15 | 0.02 | 75.97 | 0.56 | 0.17 | 0.01 | 0.01 | 27.41 | NA | 3.29 | 8.64 | 0.02 | 0 | 884.71 | NA | 2.64 | 0.06 | 0.01 | 6.25 | 33.36
15-16Hr | 0 | 188.34 | 0.02 | 84.15 | 0.37 | 0.22 | 0.01 | 0.01 | 25.35 | NA | 3.22 | 8.74 | 0.02 | 0 | 884.78 | NA | 2.41 | 0.06 | 0.01 | 7.78 | 15.12
16-17Hr | 0 | 155.18 | 0.02 | 90.21 | 0.15 | 0.29 | 0.01 | 0.01 | 23.93 | NA | 3.35 | 8.67 | 0.02 | 0 | 885.3 | NA | 2.55 | 0.06 | 0.01 | 9.03 | 0
17-18Hr | 0 | 185.54 | 0.02 | 94.18 | 0.13 | 0.19 | 0.01 | 0.01 | 23.11 | NA | 3.06 | 8.64 | 0.02 | 0 | 885.96 | NA | 2.41 | 0.06 | 0.01 | 11.09 | 0
18-19Hr | 0 | 167.65 | 0.02 | 97.71 | 0.1 | 0.21 | 0.01 | 0.01 | 22.7 | NA | 3.06 | 8.67 | 0.02 | 0 | 886.7 | NA | 2.51 | 0.06 | 0.01 | 10.96 | 0
19-20Hr | 0 | 188.66 | 0.02 | 98.86 | 0.1 | 0.08 | 0.01 | 0.01 | 22.41 | NA | 3.11 | 8.72 | 0.02 | 0 | 887.33 | NA | 2.63 | 0.06 | 0.01 | 13.13 | 0
20-21Hr | 0 | 210.85 | 0.02 | 99.38 | 0.1 | 0.08 | 0.01 | 0.01 | 22.3 | NA | 3.19 | 8.67 | 0.02 | 0 | 887.61 | NA | 2.62 | 0.06 | 0.01 | 18.4 | 0
21-22Hr | 0 | 194.86 | 0.02 | 99.5 | 0.1 | 0.14 | 0.01 | 0.01 | 22.04 | NA | 3.19 | 8.64 | 0.02 | 0 | 887.53 | NA | 2.53 | 0.06 | 0.01 | 15.46 | 0
22-23Hr | 0 | 188.1 | 0.02 | 99.5 | 0.17 | 0.06 | 0.01 | 0.01 | 21.91 | NA | 3.03 | 8.63 | 0.02 | 0 | 887.29 | NA | 2.51 | 0.06 | 0.01 | 17.08 | 0
23-00Hr | 0 | 222.84 | 0.02 | 99.5 | 0.4 | 0.18 | 0.01 | 0.01 | 21.25 | NA | 3.4 | 8.69 | 0.02 | 0.15 | 886.98 | NA | 2.63 | 0.06 | 0.01 | 11.84 | 0
00-01Hr | 0 | 268.4 | 0.02 | 99.5 | 0.21 | 0.15 | 0.01 | 0.01 | 21.37 | NA | 3.53 | 8.62 | 0.02 | 0.01 | 886.59 | NA | 2.76 | 0.06 | 0.01 | 13.97 | 0
01-02Hr | 0 | 268.44 | 0.02 | 99.5 | 0.59 | 0.26 | 0.01 | 0.01 | 20.7 | NA | 3.38 | 8.65 | 0.02 | 0 | 886.29 | NA | 2.56 | 0.06 | 0.01 | 11.98 | 0
02-03Hr | 0 | 263.07 | 0.02 | 99.5 | 1.02 | 0.21 | 0.01 | 0.01 | 20.4 | NA | 3.53 | 8.65 | 0.02 | 0 | 886.3 | NA | 2.71 | 0.06 | 0.01 | 14.19 | 0
03-04Hr | 0 | 229.08 | 0.02 | 97.87 | 1.26 | 0.28 | 0.01 | 0.01 | 20.19 | NA | 3.49 | 8.72 | 0.02 | 0 | 886.29 | NA | 2.55 | 0.06 | 0.01 | 10.15 | 0
04-05Hr | 0 | 153.57 | 0.02 | 95.61 | 1.34 | 0.26 | 0.01 | 0.01 | 20.99 | NA | 3.33 | 8.54 | 0.02 | 0 | 886.62 | NA | 2.5 | 0.06 | 0.01 | 15.07 | 9.53
05-06Hr | 0 | 211.7 | 0.02 | 85 | 0.59 | 0.03 | 0.01 | 0.01 | 24.86 | NA | 3.22 | 8.62 | 0.02 | 0 | 887.29 | NA | 2.7 | 0.06 | 0.01 | 12.24 | 62.02
06-07hr | 0 | 189.52 | 0.02 | 78.78 | 0.35 | 0.18 | 0.01 | 0.01 | 26.81 | NA | 3.49 | 8.51 | 0.02 | 0 | 887.94 | NA | 2.65 | 0.06 | 0.01 | 5.95 | 55.78
Avg | 0 | 199.56 | 0.02 | 86.25 | 0.7 | 0.2 | 0.01 | 0.01 | 24.69 | NA | 3.33 | 8.52 | 0.02 | 0.01 | 886.94 | NA | 2.58 | 0.06 | 0.01 | 10.96 | 42.57
Min | 0 | 153.57 | 0.02 | 63.23 | 0.1 | 0 | 0.01 | 0.01 | 20.19 | NA | 3.03 | 7.9 | 0.02 | 0 | 884.71 | NA | 2.41 | 0.06 | 0.01 | 5.95 | 0
Max | 0 | 268.44 | 0.02 | 99.5 | 3.64 | 0.36 | 0.01 | 0.01 | 31.26 | NA | 3.6 | 8.74 | 0.02 | 0.15 | 889.2 | NA | 2.8 | 0.06 | 0.01 | 18.4 | 166.03
Geom.Mean | 0 | 199.56 | 0.02 | 86.25 | 0.7 | 0.2 | 0.01 | 0.01 | 24.69 | NA | 3.33 | 8.52 | 0.02 | 0.01 | 886.94 | NA | 2.58 | 0.06 | 0.01 | 10.96 | 42.57
Median | 0 | 188.66 | 0.02 | 90.21 | 0.4 | 0.21 | 0.01 | 0.01 | 23.93 | NA | 3.35 | 8.63 | 0.02 | 0 | 886.93 | NA | 2.57 | 0.06 | 0.01 | 10.15 | 9.53
Mode | 0 | 263.07 | 0.02 | 99.5 | 0.1 | 0.28 | 0.01 | 0.01 | 26.81 | NA | 3.4 | 8.64 | 0.02 | 0 | 886.29 | NA | 2.41 | 0.06 | 0.01 | 5.95 | 0
Std.Deviation | 0 | 32.09 | 0 | 13.39 | 0.83 | 0.09 | 0 | 0 | 3.52 | NA | 0.16 | 0.24 | 0 | 0.03 | 1.25 | NA | 0.1 | 0 | 0 | 3.32 | 53.36
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0