## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-06-01 | Station Name : |  | Sikulpuikawn |  |  | JUNE
Report No |  | 28 |  |  |  | Date : 28/06/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 28/06/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 17 | 0.36 | 5.19 | 81.79 | 25.79 | 128.25 | 1 | 3.32 | 2.45 | 1.41 | 0.06 | 0 | 6.61 | 882.12 | 113.65 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 18.97 | 0.16 | 5.16 | 73.07 | 28.43 | 183.07 | 0.07 | 3.25 | 2.53 | 1.38 | 0.06 | 0 | 16.9 | 882.23 | 171.93 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 28 | 0.26 | 5.15 | 74.54 | 27.67 | 155.49 | 0.95 | 3.34 | 2.52 | 1.43 | 0.06 | 0 | 6.64 | 882.14 | 154.29 | 2.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 27 | 0.16 | 5.17 | 71.95 | 28.74 | 172.88 | 0.05 | 3.32 | 2.66 | 1.74 | 0.06 | 0 | 6.5 | 881.87 | 120.39 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 34 | 0.19 | 5.17 | 70.4 | 29.06 | 166.01 | 0 | 3.26 | 2.58 | 2.52 | 0.06 | 0 | 6.04 | 881.5 | 144.5 | 1.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 27 | 0.17 | 5.19 | 68.54 | 29.45 | 186.2 | 0.95 | 3.19 | 2.51 | 3.53 | 0.06 | 0 | 6.11 | 880.82 | 155.88 | 2.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 26 | 0.23 | 5.35 | 68.58 | 29.66 | 196.8 | 0.06 | 3.27 | 2.53 | 8.88 | 0.06 | 0 | 3.85 | 879.91 | 117.67 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.22 | 5.39 | 67.99 | 30.01 | 187.42 | 0 | 3.26 | 2.71 | 6.16 | 0.06 | 0 | 8.27 | 879.44 | 100.42 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 22 | 0.2 | 5.37 | 76.84 | 27.44 | 160.63 | 5 | 3.13 | 2.41 | 7.94 | 0.06 | 0 | 11.41 | 878.99 | 64.25 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 21 | 0.11 | 5.4 | 76.26 | 27.12 | 196.55 | 3.1 | 3.02 | 2.44 | 7.37 | 0.06 | 0 | 11.08 | 878.55 | 63.98 | 2.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 15 | 0.24 | 5.5 | 85.06 | 24.38 | 149.04 | 2.05 | 3.22 | 2.47 | 8.19 | 0.06 | 0 | 9.02 | 878.13 | 5.89 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 18 | 0.24 | 5.54 | 92.07 | 23.01 | 136.17 | 3.9 | 3.24 | 2.43 | 9.49 | 0.06 | 0 | 8.24 | 878.19 | 0 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 14 | 0.21 | 5.45 | 90.72 | 22.96 | 148.74 | 4 | 3.08 | 2.37 | 4.97 | 0.06 | 0 | 8.46 | 879.61 | 0 | 2.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 15 | 0.12 | 5.39 | 90.59 | 22.71 | 162.06 | 2.1 | 3.22 | 2.59 | 4.59 | 0.06 | 0 | 6.86 | 880.55 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 9.1 | 0.2 | 5.36 | 91.53 | 22.41 | 176.03 | 0.16 | 3.23 | 2.52 | 3.78 | 0.06 | 0 | 6.53 | 880.58 | 0 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 8.02 | 0.25 | 5.31 | 89.98 | 22.32 | 181.68 | 0 | 3.34 | 2.57 | 3.22 | 0.06 | 0 | 6.49 | 880.48 | 0 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 10 | 0.18 | 5.28 | 92.91 | 21.84 | 161.62 | 0 | 3.3 | 2.6 | 2.46 | 0.06 | 0 | 7.24 | 880.05 | 0 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 8.03 | 0.22 | 5.28 | 93.64 | 21.66 | 210.12 | 0 | 3.22 | 2.51 | 1.92 | 0.06 | 0 | 8.25 | 879.37 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 4.07 | 0.15 | 5.24 | 94.68 | 21.48 | 156.91 | 0.03 | 3.15 | 2.48 | 2.55 | 0.06 | 0 | 7.65 | 878.82 | 0 | 3.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 1.05 | 0.15 | 5.19 | 94.52 | 21.43 | 188.04 | 0 | 3.19 | 2.51 | 1.61 | 0.06 | 0 | 5.52 | 878.39 | 0 | 2.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 2 | 0.15 | 5.15 | 92.3 | 21.75 | 186.63 | 0 | 3.12 | 2.44 | 1.18 | 0.06 | 0 | 5.27 | 878.53 | 0 | 2.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 2 | 0.11 | 5.14 | 93.95 | 21.58 | 193.81 | 0 | 3.19 | 2.58 | 1 | 0.06 | 0 | 4.85 | 878.7 | 0 | 1.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 3.97 | 0.28 | 5.13 | 94.69 | 21.69 | 197.89 | 0 | 3.29 | 2.47 | 1.08 | 0.06 | 0 | 12.42 | 878.91 | 6.84 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 4 | 0.21 | 5.15 | 91.71 | 22.63 | 168.09 | 0 | 3.26 | 2.54 | 1.22 | 0.06 | 0 | 26.52 | 878.94 | 37.92 | 1.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 6.88 | 0.23 | 5.16 | 88.09 | 23.63 | 200.69 | 0 | 3.32 | 2.49 | 1.48 | 0.06 | 0 | 10.18 | 879.06 | 66.62 | 2.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 14.25 | 0.2 | 5.27 | 84.26 | 24.75 | 174.03 | 0.94 | 3.23 | 2.52 | 3.64 | 0.06 | 0 | 8.68 | 879.84 | 52.97 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 1.05 | 0.11 | 5.13 | 67.99 | 21.43 | 128.25 | 0 | 3.02 | 2.37 | 1 | 0.06 | 0 | 3.85 | 878.13 | 0 | 1.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 34 | 0.36 | 5.54 | 94.69 | 30.01 | 210.12 | 5 | 3.34 | 2.71 | 9.49 | 0.06 | 0 | 26.52 | 882.23 | 171.93 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 14.25 | 0.2 | 5.27 | 84.26 | 24.75 | 174.03 | 0.94 | 3.23 | 2.52 | 3.64 | 0.06 | 0 | 8.68 | 879.84 | 52.97 | 2.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 14.5 | 0.2 | 5.24 | 89.98 | 23.01 | 176.03 | 0.05 | 3.24 | 2.51 | 2.52 | 0.06 | 0 | 7.24 | 879.44 | 6.84 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 2 | 0.15 | 5.19 | 67.99 | 21.66 | 128.25 | 0 | 3.32 | 2.51 | 1.41 | 0.06 | 0 | 3.85 | 878.55 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 9.69 | 0.06 | 0.12 | 9.98 | 3.16 | 21.25 | 1.52 | 0.08 | 0.08 | 2.77 | 0 | 0 | 4.65 | 1.33 | 62.56 | 0.44 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 24 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 96 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0