## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-10-01 | Station Name : |  | Sikulpuikawn |  |  | OCTOBER
Report No |  | 17 |  |  |  | Date : 17/10/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/10/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.07 | 183.11 | 0.02 | 75.72 | 0.86 | 0.28 | 0.01 | 0.01 | 28.31 | NA | 3.51 | 8.77 | 0.02 | 0 | 890.97 | NA | 2.59 | 0.06 | 0.01 | 13.66 | 60.43
07-08Hr | 0.02 | 146.33 | 0.02 | 78.27 | 0.51 | 0.23 | 0.01 | 0.01 | 27.58 | NA | 3.33 | 8.75 | 0.02 | 0 | 891.18 | NA | 2.56 | 0.06 | 0.01 | 12.52 | 56.64
08-09Hr | 0.06 | 185.38 | 0.02 | 69.6 | 0.86 | 0.06 | 0.01 | 0.01 | 29.99 | NA | 2.99 | 8.9 | 0.02 | 0 | 891.13 | NA | 2.58 | 0.06 | 0.01 | 13.73 | 146.04
09-10Hr | 0.14 | 180.51 | 0.02 | 68.24 | 0.43 | 0.21 | 0.01 | 0.01 | 29.96 | NA | 3.42 | 8.89 | 0.02 | 0 | 890.56 | NA | 2.61 | 0.06 | 0.01 | 12.15 | 109.36
10-11Hr | 0.11 | 169.13 | 0.02 | 81.3 | 0.97 | 0.14 | 0.01 | 0.01 | 26.79 | NA | 3.49 | 9.04 | 0.02 | 0 | 889.65 | NA | 2.74 | 0.06 | 0.01 | 11.75 | 56.58
11-12Hr | 0.16 | 187.16 | 0.02 | 76.87 | 1.12 | 0.23 | 0.01 | 0.01 | 28.01 | NA | 3.38 | 8.95 | 0.02 | 0 | 888.64 | NA | 2.64 | 0.06 | 0.01 | 11.32 | 171.63
12-13Hr | 0.15 | 178.82 | 0.02 | 69.93 | 1.03 | 0.12 | 0.01 | 0.01 | 29.64 | NA | 3.49 | 8.92 | 0.02 | 0 | 887.95 | NA | 2.83 | 0.06 | 0.01 | 12.61 | 118.31
13-14Hr | 0.11 | 197.19 | 0.02 | 65.22 | 0.84 | 0.23 | 0.01 | 0.01 | 30.68 | NA | 3.37 | 9.04 | 0.02 | 0 | 887.45 | NA | 2.59 | 0.06 | 0.01 | 14.17 | 109.16
14-15Hr | 0.11 | 188.78 | 0.02 | 70.54 | 0.99 | 0.27 | 0.01 | 0.01 | 29.39 | NA | 2.92 | 9.04 | 0.02 | 0 | 887.36 | NA | 2.33 | 0.06 | 0.01 | 12.56 | 77.47
15-16Hr | 0.15 | 193.59 | 0.02 | 84.93 | 0.45 | 0.21 | 0.01 | 0.01 | 25.36 | NA | 3.11 | 9.15 | 0.02 | 0 | 887.48 | NA | 2.35 | 0.06 | 0.01 | 10.18 | 15.2
16-17Hr | 0.09 | 192.62 | 0.02 | 94.22 | 0.1 | 0.09 | 0.01 | 0.01 | 23.16 | NA | 3.26 | 9.18 | 0.02 | 0 | 888.05 | NA | 2.67 | 0.06 | 0.01 | 15.21 | 0
17-18Hr | 0.11 | 189.62 | 0.02 | 97.25 | 0.17 | 0.06 | 0.01 | 0.01 | 22.56 | NA | 3.11 | 9.09 | 0.02 | 0 | 888.91 | NA | 2.61 | 0.06 | 0.01 | 16.74 | 0
18-19Hr | 0.12 | 188.5 | 0.02 | 98.28 | 0.43 | 0.14 | 0.01 | 0.01 | 22.24 | NA | 2.93 | 9.07 | 0.02 | 0 | 889.57 | NA | 2.32 | 0.06 | 0.01 | 17.43 | 0
19-20Hr | 0.16 | 220.62 | 0.02 | 99.04 | 0.49 | 0.17 | 0.01 | 0.01 | 21.98 | NA | 3.31 | 9.15 | 0.02 | 0 | 889.99 | NA | 2.58 | 0.06 | 0.01 | 18.39 | 0
20-21Hr | 0.09 | 188.79 | 0.02 | 99.49 | 0.13 | 0.29 | 0.01 | 0.01 | 21.99 | NA | 3.1 | 9.04 | 0.02 | 0 | 890.5 | NA | 2.39 | 0.06 | 0.01 | 19.83 | 0
21-22Hr | 0.12 | 190.39 | 0.02 | 99.5 | 0.26 | 0.08 | 0.01 | 0.01 | 21.87 | NA | 3.26 | 8.98 | 0.02 | 0 | 890.49 | NA | 2.73 | 0.06 | 0.01 | 20.9 | 0
22-23Hr | 0.13 | 182.34 | 0.02 | 99.5 | 0.47 | 0.14 | 0.01 | 0.01 | 21.64 | NA | 3.11 | 9.01 | 0.02 | 0 | 890.3 | NA | 2.45 | 0.06 | 0.01 | 19.65 | 0
23-00Hr | 0.03 | 193.94 | 0.02 | 99.5 | 0.24 | 0.41 | 0.01 | 0.01 | 21.85 | NA | 3.24 | 8.97 | 0.02 | 0 | 889.92 | NA | 2.34 | 0.06 | 0.01 | 19.84 | 0
00-01Hr | 0.14 | 188.99 | 0.02 | 99.5 | 0.88 | 0.18 | 0.01 | 0.01 | 21.97 | NA | 3.1 | 8.87 | 0.02 | 0 | 889.59 | NA | 2.48 | 0.06 | 0.01 | 20.48 | 0
01-02Hr | 0.06 | 187.56 | 0.02 | 99.45 | 0.69 | 0.13 | 0.01 | 0.01 | 21.67 | NA | 3.53 | 8.94 | 0.02 | 0 | 889.3 | NA | 2.68 | 0.06 | 0.01 | 22.09 | 0
02-03Hr | 0.09 | 190.68 | 0.02 | 99.36 | 1.07 | 0.31 | 0.01 | 0.01 | 21.52 | NA | 3.4 | 8.97 | 0.02 | 0 | 889.18 | NA | 2.6 | 0.06 | 0.01 | 18 | 0
03-04Hr | 0.07 | 187.91 | 0.02 | 99.44 | 0.8 | 0.03 | 0.01 | 0.01 | 21.36 | NA | 3.13 | 8.9 | 0.02 | 0 | 889.39 | NA | 2.56 | 0.06 | 0.01 | 21.79 | 0
04-05Hr | 0.09 | 190.41 | 0.02 | 99.49 | 0.51 | 0.23 | 0.01 | 0.01 | 21.29 | NA | 3.28 | 9.01 | 0.02 | 0 | 889.81 | NA | 2.6 | 0.06 | 0.01 | 22.65 | 9.87
05-06Hr | 0.12 | 161.28 | 0.02 | 87.14 | 0.56 | 0.15 | 0.01 | 0.01 | 25.19 | NA | 3.31 | 8.87 | 0.02 | 0 | 890.47 | NA | 2.51 | 0.06 | 0.01 | 30.22 | 57.18
06-07hr | 0.08 | 118.38 | 0.02 | 80.33 | 1.29 | 0 | 0.01 | 0.01 | 26.83 | NA | 3.24 | 8.87 | 0.02 | 0 | 890.76 | NA | 2.68 | 0.06 | 0.01 | 25.22 | 97.68
Avg | 0.1 | 183.28 | 0.02 | 87.68 | 0.65 | 0.18 | 0.01 | 0.01 | 24.91 | NA | 3.25 | 8.97 | 0.02 | 0 | 889.54 | NA | 2.56 | 0.06 | 0.01 | 17.32 | 43.42
Min | 0.02 | 118.38 | 0.02 | 65.22 | 0.1 | 0 | 0.01 | 0.01 | 21.29 | NA | 2.92 | 8.75 | 0.02 | 0 | 887.36 | NA | 2.32 | 0.06 | 0.01 | 10.18 | 0
Max | 0.16 | 220.62 | 0.02 | 99.5 | 1.29 | 0.41 | 0.01 | 0.01 | 30.68 | NA | 3.53 | 9.18 | 0.02 | 0 | 891.18 | NA | 2.83 | 0.06 | 0.01 | 30.22 | 171.63
Geom.Mean | 0.1 | 183.28 | 0.02 | 87.68 | 0.65 | 0.18 | 0.01 | 0.01 | 24.91 | NA | 3.25 | 8.97 | 0.02 | 0 | 889.54 | NA | 2.56 | 0.06 | 0.01 | 17.32 | 43.42
Median | 0.11 | 188.5 | 0.02 | 94.22 | 0.56 | 0.17 | 0.01 | 0.01 | 23.16 | NA | 3.26 | 8.97 | 0.02 | 0 | 889.65 | NA | 2.59 | 0.06 | 0.01 | 17.43 | 9.87
Mode | 0.11 | 146.33 | 0.02 | 99.5 | 0.86 | 0.23 | 0.01 | 0.01 | 26.83 | NA | 3.11 | 9.04 | 0.02 | 0 | 891.13 | NA | 2.61 | 0.06 | 0.01 | 10.18 | 0
Std.Deviation | 0.04 | 18.89 | 0 | 12.74 | 0.34 | 0.1 | 0 | 0 | 3.42 | NA | 0.18 | 0.11 | 0 | 0 | 1.17 | NA | 0.14 | 0 | 0 | 4.98 | 54.28
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0