## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-08-01 | Station Name : |  | Sikulpuikawn |  |  | AUGUST
Report No |  | 23 |  |  |  | Date : 23/08/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 23/08/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | NA | 0.23 | 7.44 | 91.9 | 21.9 | 170.7 | NA | 3.62 | 2.83 | 0 | 0.06 | 0 | 15.56 | 883.68 | 37.38 | 3.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | NA | 0.31 | 7.65 | 88.66 | 23.01 | 178 | NA | 3.49 | 2.58 | 0 | 0.06 | 0 | 12.48 | 884.14 | 87.82 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | NA | 0.18 | 7.68 | 82.58 | 24.97 | 180.91 | NA | 3.69 | 2.88 | 0 | 0.06 | 0 | 10.6 | 884.33 | 133.23 | 2.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | NA | 0.1 | 7.68 | 81.88 | 25.38 | 170.72 | NA | 3.13 | 2.5 | 0 | 0.06 | 0 | 13.95 | 884.23 | 47.47 | 2.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | NA | 0.23 | 7.76 | 76.88 | 26.75 | 197.14 | NA | 3.65 | 2.7 | 0 | 0.06 | 0 | 18.95 | 883.57 | 146.07 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | NA | 0.31 | 7.94 | 71.73 | 28.15 | 197.64 | NA | 3.49 | 2.63 | 0 | 0.06 | 0 | 11.56 | 882.9 | 141.94 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | NA | 0.03 | 8.08 | 68.84 | 28.94 | 99.21 | NA | 3.04 | 2.48 | 0 | 0.06 | 0 | 24.01 | 882.29 | 124.9 | 2.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | NA | 0.03 | 8.22 | 63.49 | 30.31 | 79.1 | NA | 3.04 | 2.5 | 0 | 0.06 | 0 | 15.14 | 881.8 | 107.53 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | NA | 0.2 | 8.43 | 73.24 | 27.79 | 117.93 | NA | 3.33 | 2.75 | 0 | 0.06 | 0 | 19.46 | 881.37 | 128.68 | 2.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16-17Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
17-18Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
18-19Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19-20Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
20-21Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
21-22Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
22-23Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
23-00Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
00-01Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
01-02Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
02-03Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
03-04Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
04-05Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
05-06Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | NA | 0.18 | 7.88 | 77.69 | 26.36 | 154.59 | NA | 3.39 | 2.65 | 0 | 0.06 | 0 | 15.75 | 883.15 | 106.11 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | NA | 0.03 | 7.44 | 63.49 | 21.9 | 79.1 | NA | 3.04 | 2.48 | 0 | 0.06 | 0 | 10.6 | 881.37 | 37.38 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | NA | 0.31 | 8.43 | 91.9 | 30.31 | 197.64 | NA | 3.69 | 2.88 | 0 | 0.06 | 0 | 24.01 | 884.33 | 146.07 | 3.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | NA | 0.18 | 7.88 | 77.69 | 26.36 | 154.59 | NA | 3.39 | 2.65 | 0 | 0.06 | 0 | 15.75 | 883.15 | 106.11 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | NA | 0.2 | 7.76 | 76.88 | 26.75 | 170.72 | NA | 3.49 | 2.63 | 0 | 0.06 | 0 | 15.14 | 883.57 | 124.9 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | NA | 0.23 | 7.68 | 68.84 | 28.94 | 99.21 | NA | 3.49 | 2.5 | 0 | 0.06 | 0 | 10.6 | 881.8 | 128.68 | 2.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | NA | 0.11 | 0.32 | 9.35 | 2.78 | 44.07 | NA | 0.26 | 0.15 | 0 | 0 | 0 | 4.34 | 1.11 | 40.28 | 0.33 | 0 | 0 | 0 | 0 | 0
Valid Data Points | NA | 9 | 9 | 9 | 9 | 9 | NA | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9
Total Data Points | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | NA | 36 | 36 | 36 | 36 | 36 | NA | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
Uncertainty | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0