## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 6 |  |  |  | Date : 06/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 06/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.12 | 237.86 | 0.02 | 99.5 | 2.49 | 0.21 | 0.01 | 0.01 | 19.04 | NA | 3.6 | 9.4 | 0.02 | 0.09 | 887.55 | NA | 2.7 | 0.06 | 0.01 | 21.58 | 0
07-08Hr | 0.22 | 232.08 | 0.02 | 99.5 | 1.69 | 0.1 | 0.01 | 0.01 | 19.24 | NA | 3.24 | 9.37 | 0.02 | 0.23 | 888.13 | NA | 2.63 | 0.06 | 0.01 | 21.82 | 2.77
08-09Hr | 0.13 | 241.5 | 0.02 | 99.5 | 1.21 | 0.39 | 0.01 | 0.01 | 19.65 | NA | 3.62 | 9.29 | 0.02 | 0.04 | 888.19 | NA | 2.55 | 0.06 | 0.01 | 22.11 | 16.2
09-10Hr | 0.14 | 228.84 | 0.02 | 99.5 | 0.88 | 0.15 | 0.01 | 0.01 | 20.07 | NA | 3.33 | 9.33 | 0.02 | 0 | 887.73 | NA | 2.66 | 0.06 | 0.01 | 22.55 | 13.17
10-11Hr | 0.16 | 211.24 | 0.02 | 99.5 | 0.48 | 0.15 | 0.01 | 0.01 | 20.05 | NA | 3.51 | 9.44 | 0.02 | 0 | 887.16 | NA | 2.71 | 0.06 | 0.01 | 20.09 | 11.15
11-12Hr | 0.21 | 185.53 | 0.02 | 99.5 | 0.32 | 0.13 | 0.01 | 0.01 | 20.81 | NA | 3.26 | 9.37 | 0.02 | 0 | 886.52 | NA | 2.54 | 0.06 | 0.01 | 11.69 | 9.18
12-13Hr | 0 | 217.53 | 0.02 | 99.5 | 0.64 | 0.18 | 0.01 | 0.01 | 21.18 | NA | 3.38 | 9.47 | 0.02 | 0 | 886.26 | NA | 2.73 | 0.06 | 0.01 | 13.34 | 16.07
13-14Hr | 0.07 | 195.05 | 0.02 | 99.39 | 0.96 | 0.13 | 0.01 | 0.01 | 21.73 | NA | 3.15 | 9.51 | 0.02 | 0 | 885.98 | NA | 2.58 | 0.06 | 0.01 | 13.35 | 23.68
14-15Hr | 0.15 | 182.89 | 0.02 | 96.93 | 0.96 | 0.18 | 0.01 | 0.01 | 21.98 | NA | 3.26 | 9.69 | 0.02 | 0 | 885.88 | NA | 2.58 | 0.06 | 0.01 | 10.28 | 20.61
15-16Hr | 0.05 | 171.36 | 0.02 | 97.62 | 0.96 | 0.03 | 0.01 | 0.01 | 20.51 | NA | 3.17 | 9.83 | 0.02 | 0 | 886.1 | NA | 2.56 | 0.06 | 0.01 | 26.74 | 0.07
16-17Hr | 0.1 | 92.16 | 0.02 | 97.98 | 1.13 | 0.28 | 0.01 | 0.01 | 19.99 | NA | 3.24 | 9.9 | 0.02 | 0 | 886.36 | NA | 2.48 | 0.06 | 0.01 | 52.66 | 0
17-18Hr | 0.11 | 53.97 | 0.02 | 96.08 | 1.37 | 0.1 | 0.01 | 0.01 | 20.16 | NA | 3.17 | 9.79 | 0.02 | 0 | 886.92 | NA | 2.55 | 0.06 | 0.01 | 54.97 | 0
18-19Hr | 0.12 | 91.77 | 0.02 | 97.8 | 1.37 | 0.26 | 0.01 | 0.01 | 19.77 | NA | 3.31 | 9.76 | 0.02 | 0 | 887.56 | NA | 2.46 | 0.06 | 0.01 | 56.4 | 0
19-20Hr | 0.07 | 50.08 | 0.02 | 98.45 | 2.28 | 0.33 | 0.01 | 0.01 | 19.59 | NA | 3.35 | 9.65 | 0.02 | 0 | 887.89 | NA | 2.55 | 0.06 | 0.01 | 62.48 | 0
20-21Hr | 0.22 | 60.63 | 0.02 | 98.86 | 2.47 | 0.05 | 0.01 | 0.01 | 19.47 | NA | 3.31 | 9.54 | 0.02 | 0 | 888.3 | NA | 2.78 | 0.06 | 0.01 | 59.17 | 0
21-22Hr | 0.12 | 53.87 | 0.02 | 99.37 | 1.69 | 0.03 | 0.01 | 0.01 | 18.98 | NA | 3.24 | 9.54 | 0.02 | 0 | 888.39 | NA | 2.73 | 0.06 | 0.01 | 51.64 | 0
22-23Hr | 0.15 | 58.65 | 0.02 | 99.5 | 1.93 | 0.1 | 0.01 | 0.01 | 19.24 | NA | 3.38 | 9.37 | 0.02 | 0 | 888.06 | NA | 2.6 | 0.06 | 0.01 | 61.17 | 0
23-00Hr | 0.11 | 64.03 | 0.02 | 99.5 | 2.33 | 0.03 | 0.01 | 0.01 | 19.48 | NA | 3.26 | 9.44 | 0.02 | 0 | 887.97 | NA | 2.78 | 0.06 | 0.01 | 67.87 | 0
00-01Hr | 0.1 | 43.7 | 0.02 | 99.5 | 2.33 | 0.31 | 0.01 | 0.01 | 19.34 | NA | 3.31 | 9.58 | 0.02 | 0 | 887.91 | NA | 2.46 | 0.06 | 0.01 | 49.75 | 0
01-02Hr | 0.17 | 91.46 | 0.02 | 99.5 | 1.45 | 0.38 | 0.01 | 0.01 | 19.41 | NA | 3.4 | 9.37 | 0.02 | 0 | 887.86 | NA | 2.56 | 0.06 | 0.01 | 57.41 | 0
02-03Hr | 0.08 | 55.81 | 0.02 | 99.5 | 0.96 | 0.08 | 0.01 | 0.01 | 19.19 | NA | 3.49 | 9.33 | 0.02 | 0 | 887.77 | NA | 2.75 | 0.06 | 0.01 | 62.16 | 0
03-04Hr | 0.13 | 65.43 | 0.02 | 99.5 | 1.37 | 0.18 | 0.01 | 0.01 | 18.77 | NA | 3.47 | 9.44 | 0.02 | 0 | 888 | NA | 2.75 | 0.06 | 0.01 | 62.8 | 0
04-05Hr | 0.14 | 57.69 | 0.02 | 99.5 | 1.29 | 0.23 | 0.01 | 0.01 | 18.64 | NA | 3.37 | 9.47 | 0.02 | 0 | 888.5 | NA | 2.55 | 0.06 | 0.01 | 69.04 | 0.64
05-06Hr | 0.1 | 47.72 | 0.02 | 99.5 | 1.29 | 0.13 | 0.01 | 0.01 | 19.55 | NA | 3.02 | 9.51 | 0.02 | 0 | 889.08 | NA | 2.46 | 0.06 | 0.01 | 68.17 | 38.39
06-07hr | 0.15 | 153.9 | 0.02 | 96.97 | 1.07 | 0.07 | 0.01 | 0.01 | 20.86 | NA | 3.36 | 9.34 | 0.02 | 0 | 889.46 | NA | 2.95 | 0.06 | 0.01 | 52.53 | 39.06
Avg | 0.12 | 125.79 | 0.02 | 98.88 | 1.4 | 0.17 | 0.01 | 0.01 | 19.87 | NA | 3.33 | 9.51 | 0.02 | 0.01 | 887.58 | NA | 2.63 | 0.06 | 0.01 | 42.87 | 7.64
Min | 0 | 43.7 | 0.02 | 96.08 | 0.32 | 0.03 | 0.01 | 0.01 | 18.64 | NA | 3.02 | 9.29 | 0.02 | 0 | 885.88 | NA | 2.46 | 0.06 | 0.01 | 10.28 | 0
Max | 0.22 | 241.5 | 0.02 | 99.5 | 2.49 | 0.39 | 0.01 | 0.01 | 21.98 | NA | 3.62 | 9.9 | 0.02 | 0.23 | 889.46 | NA | 2.95 | 0.06 | 0.01 | 69.04 | 39.06
Geom.Mean | 0.12 | 125.79 | 0.02 | 98.88 | 1.4 | 0.17 | 0.01 | 0.01 | 19.87 | NA | 3.33 | 9.51 | 0.02 | 0.01 | 887.58 | NA | 2.63 | 0.06 | 0.01 | 42.87 | 7.64
Median | 0.12 | 91.77 | 0.02 | 99.5 | 1.29 | 0.15 | 0.01 | 0.01 | 19.59 | NA | 3.31 | 9.47 | 0.02 | 0 | 887.86 | NA | 2.58 | 0.06 | 0.01 | 52.53 | 0
Mode | 0.12 | 153.9 | 0.02 | 99.5 | 0.96 | 0.1 | 0.01 | 0.01 | 19.24 | NA | 3.24 | 9.37 | 0.02 | 0 | 887.16 | NA | 2.55 | 0.06 | 0.01 | 10.28 | 0
Std.Deviation | 0.05 | 75.33 | 0 | 1.03 | 0.62 | 0.11 | 0 | 0 | 0.88 | NA | 0.14 | 0.17 | 0 | 0.05 | 0.96 | NA | 0.12 | 0 | 0 | 21.27 | 11.97
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100 | NA | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0