## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  | Sikulpuikawn |  |  | NOVEMBER
Report No |  | 1 |  |  |  | Date : 01/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/11/2025
Date | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 0.1 | 196.1 | 0.02 | 77.44 | 0.08 | 0.18 | 0.01 | 0.01 | 26.44 | NA | 3.35 | 9.51 | 0.02 | 0 | 890.16 | NA | 2.66 | 0.06 | 0.01 | 12.39 | 46.8
07-08Hr | 0.1 | 193.78 | 0.02 | 76.57 | 0.16 | 0.2 | 0.01 | 0.01 | 27.39 | NA | 3.67 | 9.58 | 0.02 | 0 | 890.45 | NA | 2.81 | 0.06 | 0.01 | 14.4 | 56.3
08-09Hr | 0.07 | 178.49 | 0.02 | 74.07 | 0.08 | 0.26 | 0.01 | 0.01 | 27.92 | NA | 3.26 | 9.65 | 0.02 | 0 | 890.32 | NA | 2.51 | 0.06 | 0.01 | 15.19 | 113.07
09-10Hr | 0.17 | 109.54 | 0.02 | 76.89 | 0.08 | 0 | 0.01 | 0.01 | 26.85 | NA | 3.33 | 9.65 | 0.02 | 0 | 889.57 | NA | 2.78 | 0.06 | 0.01 | 28.07 | 59.68
10-11Hr | 0.25 | 83.06 | 0.02 | 79.88 | 0.48 | 0.31 | 0.01 | 0.01 | 26.31 | NA | 3.33 | 9.79 | 0.02 | 0 | 888.72 | NA | 2.48 | 0.07 | 0.02 | 40.25 | 40.9
11-12Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
12-13Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
13-14Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
14-15Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
15-16Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
16-17Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
17-18Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
18-19Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
19-20Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
20-21Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
21-22Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
22-23Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
23-00Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
00-01Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
01-02Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
02-03Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
03-04Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
04-05Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
05-06Hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
06-07hr | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Avg | 0.14 | 152.19 | 0.02 | 76.97 | 0.18 | 0.19 | 0.01 | 0.01 | 26.98 | NA | 3.39 | 9.64 | 0.02 | 0 | 889.84 | NA | 2.65 | 0.06 | 0.01 | 22.06 | 63.35
Min | 0.07 | 83.06 | 0.02 | 74.07 | 0.08 | 0 | 0.01 | 0.01 | 26.31 | NA | 3.26 | 9.51 | 0.02 | 0 | 888.72 | NA | 2.48 | 0.06 | 0.01 | 12.39 | 40.9
Max | 0.25 | 196.1 | 0.02 | 79.88 | 0.48 | 0.31 | 0.01 | 0.01 | 27.92 | NA | 3.67 | 9.79 | 0.02 | 0 | 890.45 | NA | 2.81 | 0.07 | 0.02 | 40.25 | 113.07
Geom.Mean | 0.14 | 152.19 | 0.02 | 76.97 | 0.18 | 0.19 | 0.01 | 0.01 | 26.98 | NA | 3.39 | 9.64 | 0.02 | 0 | 889.84 | NA | 2.65 | 0.06 | 0.01 | 22.06 | 63.35
Median | 0.1 | 178.49 | 0.02 | 76.89 | 0.08 | 0.2 | 0.01 | 0.01 | 26.85 | NA | 3.33 | 9.65 | 0.02 | 0 | 890.16 | NA | 2.66 | 0.06 | 0.01 | 15.19 | 56.3
Mode | 0.1 | 193.78 | 0.02 | 74.07 | 0.08 | 0.18 | 0.01 | 0.01 | 26.31 | NA | 3.33 | 9.65 | 0.02 | 0 | 890.32 | NA | 2.66 | 0.06 | 0.01 | 40.25 | 40.9
Std.Deviation | 0.07 | 52.32 | 0 | 2.08 | 0.17 | 0.12 | 0 | 0 | 0.67 | NA | 0.16 | 0.1 | 0 | 0 | 0.71 | NA | 0.15 | 0 | 0 | 11.9 | 28.78
Valid Data Points | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | NA | 5 | 5 | 5 | 5 | 5 | NA | 5 | 5 | 5 | 5 | 5
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25 | NA | 25 | 25 | 25 | 25 | 25
Data Availability % | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | NA | 20 | 20 | 20 | 20 | 20 | NA | 20 | 20 | 20 | 20 | 20
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0 | NA | 0 | 0 | 0 | 0 | 0