## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-07-01 | Station Name : |  | Sikulpuikawn |  |  | JULY
Report No |  | 7 |  |  |  | Date : 07/07/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 07/07/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl Wind_Direction (Degree) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Rain (mm) | SPK_MV_Aizawl Wind_Speed (m/s) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl Solar Radiation (W/m2) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl O_xylene (ppb)
06-07Hr | 0 | 0.16 | 5.73 | 99.5 | 21.99 | 122.8 | 0 | 3.27 | 2.58 | 0.26 | 0.06 | 0 | 52.42 | 880.22 | 28.76 | 2.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 5 | 0.15 | 5.81 | 99.5 | 21.43 | 116.66 | 0 | 3.15 | 2.51 | 0.49 | 0.06 | 0.01 | 61.91 | 880.51 | 23.04 | 2.9 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 2 | 0.13 | 5.79 | 99.5 | 21.27 | 116.52 | 0 | 3.23 | 2.6 | 0.54 | 0.06 | 0 | 55.8 | 880.53 | 41.38 | 3.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 0 | 0.24 | 5.78 | 92.94 | 23.68 | 132.92 | 0 | 3.34 | 2.56 | 0.58 | 0.06 | 0 | 43.68 | 880.27 | 178.58 | 3.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 20 | 0.15 | 5.84 | 82.21 | 25.77 | 117.33 | 0 | 3.17 | 2.49 | 1.37 | 0.06 | 0 | 33.03 | 879.86 | 140.51 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 40 | 0.17 | 5.92 | 80.27 | 26.6 | 131.79 | 0 | 3.19 | 2.56 | 0.56 | 0.06 | 0 | 44.11 | 879.61 | 97.98 | 2.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 32 | 0.13 | 5.96 | 80.02 | 26.9 | 138.65 | 0 | 3.15 | 2.52 | 0.39 | 0.06 | 0 | 38.1 | 879.24 | 71.36 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 32 | 0.14 | 5.96 | 79.73 | 26.21 | 129.2 | 0 | 3.2 | 2.58 | 0.86 | 0.06 | 0 | 40.58 | 878.78 | 59.47 | 2.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 22 | 0.13 | 5.99 | 86.05 | 25.2 | 132.01 | 0.92 | 3.07 | 2.43 | 1.18 | 0.06 | 0 | 37.37 | 878.63 | 26.26 | 2.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 35 | 0.21 | 5.96 | 89.8 | 23.84 | 127.53 | 1 | 3.22 | 2.45 | 1.72 | 0.06 | 0 | 39.75 | 878.6 | 9.86 | 2.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 23 | 0.18 | 5.96 | 88.59 | 23.48 | 123.26 | 1.92 | 3.21 | 2.52 | 1.3 | 0.06 | 0 | 41.53 | 879.06 | 0.13 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 28 | 0.17 | 5.96 | 92.95 | 22.72 | 122.58 | 2 | 3.24 | 2.58 | 1.16 | 0.06 | 0 | 41.91 | 879.54 | 0 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 15 | 0.15 | 5.95 | 94.25 | 22.34 | 123.19 | 0.17 | 3.23 | 2.55 | 1.06 | 0.06 | 0 | 43.98 | 880.2 | 0 | 2.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 12 | 0.12 | 5.91 | 94.65 | 22.08 | 121.28 | 0 | 3.08 | 2.48 | 0.47 | 0.06 | 0 | 44.02 | 880.66 | 0 | 2.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 16 | 0.08 | 5.87 | 98.08 | 21.48 | 131.02 | 0 | 3.04 | 2.47 | 0.42 | 0.06 | 0 | 41.46 | 881.08 | 0 | 2.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 8 | 0.3 | 5.86 | 99.33 | 21.11 | 139.58 | 0 | 3.31 | 2.46 | 0.4 | 0.06 | 0 | 42.62 | 881.17 | 0 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 8 | 0.15 | 5.79 | 99.5 | 20.81 | 112.44 | 0 | 3.19 | 2.59 | 0.39 | 0.06 | 0 | 43.26 | 880.71 | 0 | 4.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 4 | 0.21 | 5.77 | 99.5 | 20.46 | 113.46 | 0 | 3.23 | 2.52 | 0.27 | 0.06 | 0 | 65.09 | 880.24 | 0 | 4.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 2 | 0.17 | 5.75 | 99.5 | 20.29 | 111.27 | 0 | 3.21 | 2.54 | 0.11 | 0.06 | 0 | 65.51 | 879.98 | 0 | 4.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 1.98 | 0.12 | 5.77 | 99.5 | 20.14 | 104.46 | 0 | 3.2 | 2.59 | 0.12 | 0.06 | 0 | 59.07 | 879.72 | 0 | 4.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 0 | 0.23 | 5.73 | 99.5 | 20.18 | 119.14 | 0 | 3.18 | 2.44 | 0.88 | 0.06 | 0.03 | 52.65 | 879.46 | 0 | 5.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 0 | 0.12 | 5.75 | 99.5 | 20.3 | 119.62 | 0 | 3.18 | 2.56 | 2.49 | 0.06 | 0.02 | 47.58 | 879.76 | 0 | 4.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 1 | 0.16 | 5.72 | 99.5 | 20.35 | 116.03 | 0 | 3.16 | 2.54 | 0.1 | 0.06 | 0.01 | 52.48 | 880 | 0.05 | 4.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 2 | 0.11 | 5.72 | 99.5 | 20.29 | 119.05 | 0 | 3.23 | 2.62 | 0.05 | 0.06 | 0.04 | 57.99 | 880.64 | 0 | 6.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
06-07hr | 0 | 0.21 | 5.72 | 99.5 | 20.25 | 95.7 | 0 | 3.42 | 2.55 | 0 | 0.05 | 0 | 28.19 | 880.95 | 0.15 | 6.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 12.36 | 0.16 | 5.84 | 94.11 | 22.37 | 121.5 | 0.24 | 3.2 | 2.53 | 0.69 | 0.06 | 0 | 46.96 | 879.98 | 27.1 | 3.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 0 | 0.08 | 5.72 | 79.73 | 20.14 | 95.7 | 0 | 3.04 | 2.43 | 0 | 0.05 | 0 | 28.19 | 878.6 | 0 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 40 | 0.3 | 5.99 | 99.5 | 26.9 | 139.58 | 2 | 3.42 | 2.62 | 2.49 | 0.06 | 0.04 | 65.51 | 881.17 | 178.58 | 6.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 12.36 | 0.16 | 5.84 | 94.11 | 22.37 | 121.5 | 0.24 | 3.2 | 2.53 | 0.69 | 0.06 | 0 | 46.96 | 879.98 | 27.1 | 3.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 8 | 0.15 | 5.81 | 99.33 | 21.48 | 121.28 | 0 | 3.2 | 2.54 | 0.49 | 0.06 | 0 | 43.98 | 880 | 0.05 | 3.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Mode | 0 | 0.15 | 5.96 | 99.5 | 20.29 | 129.2 | 0 | 3.23 | 2.58 | 0.39 | 0.06 | 0 | 28.19 | 878.63 | 0 | 3.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 13.01 | 0.05 | 0.1 | 7.21 | 2.24 | 10.17 | 0.58 | 0.08 | 0.05 | 0.6 | 0 | 0.01 | 9.79 | 0.74 | 48.03 | 1.33 | 0 | 0 | 0 | 0 | 0
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0