## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  | Sikulpuikawn |  |  | DECEMBER
Report No |  | 2 |  |  |  | Date : 02/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 02/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
06-07Hr | 33.99 | 22.92 | 0.02 | 72.46 | 1.54 | 0.24 | 0.01 | 0.01 | 20.88 | 76.39 | 3.48 | 10.62 | 0.02 | 0 | 889.91 | 0.01 | 2.64 | 0.06 | 0.01 | 27.68 | 13.55
07-08Hr | 33.86 | 22.11 | 0.02 | 69.66 | 1.35 | 0.16 | 0.01 | 0.01 | 21.94 | 76.77 | 3.35 | 10.6 | 0.02 | 0 | 890.51 | 0 | 2.67 | 0.06 | 0.01 | 42.74 | 55.57
08-09Hr | 34.06 | 23.85 | 0.02 | 69.83 | 4.32 | 0.19 | 0.01 | 0.01 | 22.63 | 92.93 | 3.56 | 10.66 | 0.02 | 0 | 890.59 | 0 | 2.69 | 0.06 | 0.01 | 54.77 | 108.79
09-10Hr | 34.46 | 22.11 | 0.02 | 58.85 | 8.87 | 0.09 | 0.01 | 0.01 | 25.35 | 102.1 | 3.26 | 10.8 | 0.02 | 0 | 890.13 | 0 | 2.71 | 0.06 | 0.01 | 62.82 | 172.65
10-11Hr | 35.02 | 22.18 | 0.02 | 58.06 | 3.93 | 0.13 | 0.01 | 0.01 | 25.01 | 85.59 | 3.33 | 10.96 | 0.02 | 0 | 889.44 | 0 | 2.66 | 0.06 | 0.01 | 71.04 | 187.26
11-12Hr | 35.83 | 22.73 | 0.02 | 54.18 | 1.75 | 0.09 | 0.01 | 0.01 | 25.42 | 78.82 | 3.41 | 11.21 | 0.02 | 0 | 888.65 | 0 | 2.73 | 0.06 | 0.01 | 66.11 | 153.85
12-13Hr | 36.13 | 22.8 | 0.02 | 63.58 | 3.54 | 0.16 | 0.01 | 0.01 | 23.21 | 92.97 | 3.46 | 11.28 | 0.02 | 0 | 888.26 | 0 | 2.74 | 0.06 | 0.01 | 66.79 | 73.02
13-14Hr | 36.31 | 22.41 | 0.02 | 71.81 | 4.3 | 0.2 | 0.01 | 0.01 | 21.41 | 113.81 | 3.44 | 11.37 | 0.02 | 0 | 888.01 | 0 | 2.65 | 0.06 | 0.01 | 51.37 | 34.51
14-15Hr | 36.26 | 22.3 | 0.02 | 77.3 | 2.44 | 0.13 | 0.01 | 0.01 | 19.91 | 88.35 | 3.32 | 11.32 | 0.02 | 0 | 888.06 | 0 | 2.67 | 0.06 | 0.01 | 60.87 | 13.19
15-16Hr | 36.22 | 22.99 | 0.02 | 84.12 | 1 | 0.19 | 0.01 | 0.01 | 18.33 | 90.26 | 3.45 | 11.35 | 0.02 | 0.01 | 888.29 | 0 | 2.73 | 0.06 | 0.01 | 60.11 | 0.01
16-17Hr | 36.31 | 22.81 | 0.02 | 89.56 | 0.97 | 0.15 | 0.01 | 0.01 | 17.11 | 77.77 | 3.43 | 11.37 | 0.02 | 0 | 888.61 | 0.01 | 2.68 | 0.06 | 0.01 | 48.8 | 0
17-18Hr | 36.22 | 22.27 | 0.02 | 90.79 | 0.96 | 0.15 | 0.01 | 0.01 | 16.71 | 49.79 | 3.38 | 11.32 | 0.02 | 0 | 889.06 | 0 | 2.64 | 0.06 | 0.01 | 41.59 | 0
18-19Hr | 35.98 | 22.9 | 0.02 | 93.85 | 1.08 | 0.11 | 0.01 | 0.01 | 16.27 | 58.85 | 3.4 | 11.25 | 0.02 | 0 | 889.53 | 0.01 | 2.71 | 0.06 | 0.01 | 36.35 | 0
19-20Hr | 36.08 | 23.87 | 0.02 | 94.7 | 1.23 | 0.21 | 0.01 | 0.01 | 16.04 | 93.74 | 3.6 | 11.27 | 0.02 | 0 | 889.94 | 0 | 2.72 | 0.06 | 0.01 | 22.91 | 0
20-21Hr | 35.69 | 23.27 | 0.02 | 97.38 | 1.42 | 0.17 | 0.01 | 0.01 | 15.73 | 57.51 | 3.54 | 11.17 | 0.02 | 0 | 890.26 | 0 | 2.72 | 0.06 | 0.01 | 30.21 | 0
21-22Hr | 35.5 | 22.23 | 0.02 | 99.17 | 1.81 | 0.21 | 0.01 | 0.01 | 15.49 | 150.66 | 3.34 | 11.09 | 0.02 | 0 | 890.1 | 0 | 2.58 | 0.06 | 0.01 | 15.85 | 0
22-23Hr | 34.74 | 22.81 | 0.02 | 99.5 | 1.53 | 0.14 | 0.01 | 0.01 | 15.43 | 157.93 | 3.43 | 10.87 | 0.02 | 0 | 889.72 | 0 | 2.69 | 0.06 | 0.01 | 10.25 | 0
23-00Hr | 34.97 | 21.79 | 0.02 | 99.5 | 1.65 | 0.12 | 0.01 | 0.01 | 15.35 | 184.39 | 3.27 | 10.92 | 0.02 | 0 | 889.35 | 0 | 2.62 | 0.06 | 0.01 | 9.27 | 0
00-01Hr | 34.81 | 23.38 | 0.02 | 99.5 | 1.38 | 0.18 | 0.01 | 0.01 | 14.59 | 139.7 | 3.51 | 10.89 | 0.02 | 0 | 888.96 | 0 | 2.72 | 0.06 | 0.01 | 10.81 | 0
01-02Hr | 34.67 | 22.81 | 0.02 | 99.5 | 1.41 | 0.17 | 0.01 | 0.01 | 14.44 | 179.99 | 3.42 | 10.84 | 0.02 | 0 | 888.61 | 0 | 2.66 | 0.06 | 0.01 | 10.44 | 0
02-03Hr | 34.62 | 22.48 | 0.02 | 98.85 | 2.19 | 0.11 | 0.01 | 0.01 | 14.47 | 182.28 | 3.32 | 10.85 | 0.02 | 0 | 888.31 | 0 | 2.66 | 0.06 | 0.01 | 12.84 | 0
03-04Hr | 34.64 | 22.81 | 0.02 | 92.7 | 3.11 | 0.13 | 0.01 | 0.01 | 15.23 | 82.39 | 3.35 | 10.84 | 0.02 | 0 | 888.44 | 0 | 2.66 | 0.06 | 0.01 | 23.3 | 0
04-05Hr | 34.62 | 23.04 | 0.02 | 92.15 | 2.83 | 0.15 | 0.01 | 0.01 | 15.23 | 50.43 | 3.52 | 10.81 | 0.02 | 0 | 888.99 | 0.01 | 2.82 | 0.06 | 0.01 | 30.1 | 0.89
05-06Hr | 34.11 | 22.04 | 0.02 | 79.01 | 1.58 | 0.09 | 0.01 | 0.01 | 18.18 | 61.45 | 3.34 | 10.68 | 0.02 | 0 | 889.68 | 0 | 2.66 | 0.06 | 0.01 | 36.88 | 34.13
06-07hr | 34.02 | 22.42 | 0.02 | 60.65 | 0.76 | 0.14 | 0.01 | 0.01 | 22.85 | 64.44 | 3.28 | 10.65 | 0.02 | 0 | 890.44 | 0 | 2.6 | 0.06 | 0.01 | 42.23 | 15.98
Avg | 35.16 | 22.69 | 0.02 | 82.67 | 2.28 | 0.15 | 0.01 | 0.01 | 18.69 | 99.57 | 3.41 | 11 | 0.02 | 0 | 889.27 | 0 | 2.68 | 0.06 | 0.01 | 37.85 | 34.54
Min | 33.86 | 21.79 | 0.02 | 54.18 | 0.76 | 0.09 | 0.01 | 0.01 | 14.44 | 49.79 | 3.26 | 10.6 | 0.02 | 0 | 888.01 | 0 | 2.58 | 0.06 | 0.01 | 9.27 | 0
Max | 36.31 | 23.87 | 0.02 | 99.5 | 8.87 | 0.24 | 0.01 | 0.01 | 25.42 | 184.39 | 3.6 | 11.37 | 0.02 | 0.01 | 890.59 | 0.01 | 2.82 | 0.06 | 0.01 | 71.04 | 187.26
Geom.Mean | 35.16 | 22.69 | 0.02 | 82.67 | 2.28 | 0.15 | 0.01 | 0.01 | 18.69 | 99.57 | 3.41 | 11 | 0.02 | 0 | 889.27 | 0 | 2.68 | 0.06 | 0.01 | 37.85 | 34.54
Median | 34.97 | 22.8 | 0.02 | 89.56 | 1.58 | 0.15 | 0.01 | 0.01 | 17.11 | 88.35 | 3.41 | 10.92 | 0.02 | 0 | 889.35 | 0 | 2.67 | 0.06 | 0.01 | 36.88 | 0.01
Mode | 36.31 | 22.81 | 0.02 | 99.5 | 0.97 | 0.13 | 0.01 | 0.01 | 15.23 | 139.7 | 3.35 | 11.37 | 0.02 | 0 | 888.61 | 0 | 2.66 | 0.06 | 0.01 | 9.27 | 0
Std.Deviation | 0.87 | 0.53 | 0 | 15.67 | 1.74 | 0.04 | 0 | 0 | 3.79 | 41.9 | 0.09 | 0.27 | 0 | 0 | 0.83 | 0 | 0.05 | 0 | 0 | 20.27 | 58.43
Valid Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Total Data Points | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0