## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 9 |  |  |  | Date : 09/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 09/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 115 | 0.02 | 1.53 | 47.91 | 22.05 | 212.17 | 9.22 | 0.46 | 0.71 | 3 | 0.06 | 0 | 13.36 | 890.76 | 123.27 | 7.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 128 | 0.01 | 1.52 | 40.21 | 24.76 | 211.96 | 15.49 | 0.3 | 0.74 | 4.03 | 0.06 | 0 | 14.12 | 891.51 | 76 | 7.42 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
08-09Hr | 119 | 0.04 | 1.59 | 30.37 | 27.34 | 201.24 | 12.29 | 0.48 | 0.79 | 6.43 | 0.06 | 0 | 13.69 | 892.04 | 151.81 | 5.65 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
09-10Hr | 97 | 0.01 | 1.58 | 28.27 | 27.12 | 228.47 | 9.22 | 0.4 | 0.76 | 2.48 | 0.06 | 0 | 13.73 | 892.1 | 255.74 | 7.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 80 | 0.02 | 1.63 | 25.09 | 27.99 | 214.96 | 9.93 | 0.28 | 0.71 | 2.72 | 0.06 | 0 | 11.21 | 891.54 | 267.38 | 8.32 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
11-12Hr | 66 | 0 | 1.62 | 23.2 | 28.45 | 204.22 | 9.08 | 0.39 | 0.8 | 3.91 | 0.06 | 0 | 10 | 890.75 | 272.06 | 8.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 58 | 0.01 | 1.71 | 21.01 | 28.95 | 208.23 | 4.4 | 0.3 | 0.69 | 3.41 | 0.06 | 0 | 8.32 | 889.87 | 238.29 | 7.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 52 | 0.01 | 1.69 | 24.73 | 27.16 | 227.13 | 4 | 0.28 | 0.72 | 3.29 | 0.06 | 0 | 10.35 | 889.48 | 130.37 | 6.96 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
14-15Hr | 54 | 0.01 | 1.7 | 29.22 | 27.1 | 214.31 | 4.93 | 0.3 | 0.79 | 4.3 | 0.06 | 0 | 11.26 | 889.46 | 102.97 | 3.88 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
15-16Hr | 77 | 0.04 | 1.7 | 34.11 | 25.41 | 200.07 | 5 | 0.53 | 0.81 | 4.86 | 0.06 | 0 | 7.31 | 889.63 | 56.74 | 4.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 79 | 0 | 1.72 | 41.52 | 22.02 | 200.65 | 3.15 | 0.32 | 0.7 | 4.78 | 0.06 | 0 | 10.56 | 890.04 | 1.02 | 4.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 75 | 0 | 1.69 | 47.29 | 20.27 | 244.74 | 3.93 | 0.41 | 0.85 | 3.25 | 0.06 | 0 | 8.07 | 890.66 | 0 | 3.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 74 | 0 | 1.67 | 49.99 | 19.64 | 203.04 | 4.93 | 0.28 | 0.84 | 2.88 | 0.06 | 0 | 9.52 | 891.6 | 0 | 3.2 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
19-20Hr | 95 | 0.01 | 1.58 | 51.7 | 19.23 | 204.66 | 10.56 | 0.43 | 0.79 | 2.67 | 0.06 | 0 | 12.08 | 892.39 | 0 | 2.61 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
20-21Hr | 88 | 0 | 1.56 | 50.71 | 18.74 | 207.48 | 8.22 | 0.37 | 0.83 | 2.59 | 0.06 | 0 | 10.96 | 892.79 | 0 | 2.29 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
21-22Hr | 99 | 0.02 | 1.52 | 49.02 | 18.3 | 205.61 | 10.78 | 0.41 | 0.76 | 2.46 | 0.06 | 0 | 15.21 | 892.8 | 0 | 2.08 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
22-23Hr | 89 | 0 | 1.58 | 45.84 | 18.48 | 204.5 | 9.15 | 0.34 | 0.83 | 2.36 | 0.06 | 0 | 14 | 892.57 | 0 | 2.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 89 | 0.01 | 1.46 | 45.3 | 17.73 | 203.02 | 11.78 | 0.45 | 0.85 | 2.32 | 0.06 | 0 | 14.31 | 892.25 | 0 | 2.15 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
00-01Hr | 60 | 0 | 1.55 | 44.28 | 17.52 | 201.94 | 7.37 | 0.15 | 0.69 | 6.92 | 0.06 | 0 | 14.98 | 891.83 | 0 | 2.8 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
01-02Hr | 80 | 0 | 1.59 | 41.07 | 17.19 | 195.98 | 8.85 | 0.31 | 0.73 | 2.42 | 0.06 | 0 | 14.02 | 891.49 | 0 | 2.59 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
02-03Hr | 57 | 0.02 | 1.45 | 34.07 | 17.63 | 207.87 | 7.15 | 0.38 | 0.81 | 1.77 | 0.06 | 0 | 14.74 | 891.56 | 0 | 2.3 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
03-04Hr | 48 | 0.01 | 1.45 | 33.54 | 17.78 | 218.91 | 4.22 | 0.37 | 0.87 | 3.08 | 0.06 | 0 | 14.31 | 891.91 | 0 | 2.9 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
04-05Hr | 55 | 0.01 | 1.5 | 35.11 | 17.56 | 202.19 | 3.07 | 0.34 | 0.76 | 3.34 | 0.06 | 0 | 18.36 | 892.21 | 2.26 | 3.02 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
05-06Hr | 66 | 0.03 | 1.57 | 32.41 | 21.19 | 204.14 | 6.71 | 0.4 | 0.74 | 7.18 | 0.06 | 0 | 12.82 | 892.74 | 68.2 | 2.48 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Avg | 79.17 | 0.01 | 1.59 | 37.75 | 22.07 | 209.48 | 7.64 | 0.36 | 0.77 | 3.6 | 0.06 | 0 | 12.39 | 891.42 | 72.75 | 4.41 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Min | 48 | 0 | 1.45 | 21.01 | 17.19 | 195.98 | 3.07 | 0.15 | 0.69 | 1.77 | 0.06 | 0 | 7.31 | 889.46 | 0 | 2.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 128 | 0.04 | 1.72 | 51.7 | 28.95 | 244.74 | 15.49 | 0.53 | 0.87 | 7.18 | 0.06 | 0 | 18.36 | 892.8 | 272.06 | 8.32 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Geom.Mean | 79.17 | 0.01 | 1.59 | 37.75 | 22.07 | 209.48 | 7.64 | 0.36 | 0.77 | 3.6 | 0.06 | 0 | 12.39 | 891.42 | 72.75 | 4.41 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Median | 21.52 | 0.01 | 0.08 | 9.46 | 4.2 | 10.82 | 3.22 | 0.08 | 0.05 | 1.45 | 0 | 0 | 2.61 | 1.06 | 95.78 | 2.19 | 0 | 0 | 0 | 0 | 0
Mode | 80 | 0.01 | 1.58 | 47.91 | 22.05 | 212.17 | 9.22 | 0.3 | 0.79 | 3 | 0.06 | 0 | 14.31 | 890.76 | 0 | 7.5 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Std.Deviation | 79 | 0.01 | 1.58 | 40.21 | 21.19 | 205.61 | 8.22 | 0.37 | 0.79 | 3.25 | 0.06 | 0 | 13.36 | 891.6 | 2.26 | 3.67 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0