## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 11 |  |  |  | Date : 11/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 44 | 0 | 1.63 | 76.52 | 21.88 | 229.69 | 6 | 0.9 | 1.15 | 0.45 | 0.06 | 0 | 9.76 | 885.89 | 94.44 | 1.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 51 | 0.02 | 1.56 | 70.26 | 23.26 | 245.54 | 4 | 0.73 | 0.97 | 0.74 | 0.06 | 0 | 9.53 | 886.06 | 174.35 | 2.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 54 | 0.05 | 1.57 | 64.8 | 24.42 | 199.25 | 4 | 0.95 | 1.01 | 1.84 | 0.06 | 0 | 6.75 | 886.25 | 199.65 | 12.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 40 | 0.11 | 1.66 | 58.77 | 25.92 | 244.36 | 11 | 1.07 | 0.99 | 1.69 | 0.06 | 0 | 12.51 | 886.01 | 209.2 | 4.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 38 | 0.01 | 1.67 | 55.51 | 28 | 227.62 | 8 | 1.02 | 1.21 | 1.82 | 0.06 | 0 | 7.04 | 885.45 | 177.29 | 1.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 44 | 0.09 | 1.71 | 49.58 | 29.36 | 213.38 | 5 | 0.88 | 0.93 | 2.27 | 0.06 | 0 | 8.42 | 884.67 | 200.38 | 1.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 42 | 0.01 | 1.71 | 50.73 | 28.49 | 225.68 | 4 | 0.85 | 1.09 | 1.67 | 0.06 | 0 | 7.58 | 883.95 | 114.84 | 1.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 34 | 0.08 | 1.72 | 51.57 | 28.61 | 202.56 | 3 | 0.92 | 0.87 | 1.5 | 0.06 | 0 | 12.27 | 883.18 | 138.57 | 1.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 33 | 0.03 | 1.68 | 53.61 | 27.23 | 220.6 | 2 | 0.84 | 1.01 | 1.89 | 0.06 | 0 | 7.45 | 882.7 | 57.01 | 1.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 38 | 0 | 1.72 | 57.27 | 26.12 | 213.29 | 0 | 0.89 | 1.03 | 2.88 | 0.06 | 0 | 8.08 | 882.77 | 27.69 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 47 | 0.03 | 1.72 | 65.57 | 24.43 | 220.28 | 0 | 0.9 | 1.17 | 3.27 | 0.06 | 0 | 7.6 | 883.16 | 1.53 | 0.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 56.47 | 0.1 | 1.71 | 75.18 | 22.53 | 180.99 | 3.79 | 1.1 | 1.01 | 2.5 | 0.06 | 0 | 8.77 | 883.82 | 0 | 1.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 45 | 0 | 1.71 | 77.63 | 22.09 | 203.12 | 3 | 0.81 | 1 | 1.72 | 0.06 | 0 | 14.05 | 884.73 | 0 | 0.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 38 | 0.01 | 1.68 | 79.89 | 21.78 | 216.52 | 4 | 0.99 | 1.16 | 1.39 | 0.06 | 0 | 9.55 | 885.47 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 39 | 0.03 | 1.71 | 81.99 | 21.52 | 203.2 | 3 | 0.85 | 1.11 | 1.12 | 0.06 | 0 | 14.77 | 885.88 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 40 | 0.05 | 1.71 | 85.14 | 20.93 | 211.12 | 0 | 1.04 | 1 | 0.99 | 0.06 | 0 | 11.93 | 885.56 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 33 | 0.03 | 1.72 | 87.19 | 20.61 | 207.17 | 0 | 0.95 | 1.02 | 0.93 | 0.06 | 0 | 11.85 | 885.25 | 0 | 0.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 38 | 0.06 | 1.71 | 89.41 | 20.32 | 199.86 | 0 | 1.03 | 1.16 | 0.71 | 0.06 | 0 | 13.7 | 885.11 | 0 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 45 | 0.03 | 1.66 | 90.85 | 20.35 | 204.62 | 2 | 0.79 | 0.97 | 0.73 | 0.06 | 0 | 14.03 | 884.96 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 45 | 0.04 | 1.7 | 92.53 | 19.95 | 205.44 | 3 | 0.82 | 1.01 | 0.83 | 0.06 | 0 | 13.65 | 884.75 | 0 | 1.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 42 | 0.03 | 1.66 | 94.01 | 19.81 | 209.55 | 2 | 0.86 | 1.03 | 0.94 | 0.06 | 0 | 18.65 | 884.8 | 0 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 46 | 0.04 | 1.55 | 94.26 | 19.64 | 210.8 | 6 | 0.83 | 1 | 1.48 | 0.06 | 0 | 15.58 | 884.95 | 0 | 0.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 38 | 0.03 | 1.71 | 92.49 | 19.65 | 206.83 | 6 | 1.07 | 1.08 | 1.45 | 0.06 | 0 | 15.58 | 885.25 | 14.53 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 38 | 0.02 | 1.65 | 78.12 | 22.65 | 212.46 | 4 | 0.96 | 1.06 | 0.15 | 0.06 | 0 | 11.78 | 885.96 | 94.7 | 1.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 42.02 | 0.04 | 1.68 | 73.87 | 23.31 | 213.08 | 3.49 | 0.92 | 1.04 | 1.46 | 0.06 | 0 | 11.29 | 884.86 | 62.67 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 33 | 0 | 1.55 | 49.58 | 19.64 | 180.99 | 0 | 0.73 | 0.87 | 0.15 | 0.06 | 0 | 6.75 | 882.7 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 56.47 | 0.11 | 1.72 | 94.26 | 29.36 | 245.54 | 11 | 1.1 | 1.21 | 3.27 | 0.06 | 0 | 18.65 | 886.25 | 209.2 | 12.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 42.02 | 0.04 | 1.68 | 73.87 | 23.31 | 213.08 | 3.49 | 0.92 | 1.04 | 1.46 | 0.06 | 0 | 11.29 | 884.86 | 62.67 | 1.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 5.95 | 0.03 | 0.05 | 15.18 | 3.14 | 14.04 | 2.64 | 0.1 | 0.08 | 0.74 | 0 | 0 | 3.21 | 1.05 | 77.95 | 2.41 | 0 | 0 | 0 | 0 | 0
Mode | 38 | 0.03 | 1.71 | 76.52 | 21.88 | 229.69 | 4 | 0.9 | 1.01 | 0.45 | 0.06 | 0 | 15.58 | 885.25 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 42 | 0.03 | 1.71 | 77.63 | 22.53 | 211.12 | 3.79 | 0.9 | 1.02 | 1.48 | 0.06 | 0 | 11.85 | 885.11 | 14.53 | 1.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0