## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-11-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | NOVEMBER
Report No |  | 2025-11-01 | [8 empty] | Date : 30/11/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 30/11/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
Day 1 | NA | NA | 0.02 | 76.65 | 0.14 | 0.18 | 0.01 | 0.01 | 27.06 | 159.87 | 3.4 | 9.62 | 0.02 | 0 | 889.97 | 0.12 | 2.67 | 0.06 | 0.01 | 20.04 | 65.84
Day 2 | NA | NA | 0.02 | 78.5 | 0.66 | NA | 0.01 | 0.01 | 24.95 | 187.15 | NA | 9.82 | 0.02 | 0 | 886.36 | NA | NA | 0.06 | 0.01 | 13.09 | 48.37
Day 3 | NA | NA | 0.02 | 90.85 | 1.38 | 0.16 | 0.01 | 0.01 | 22.99 | 200.45 | 3.34 | 9.84 | 0.02 | 0 | 885.64 | 0.14 | 2.61 | 0.06 | 0.01 | 15.15 | 27.56
Day 4 | NA | NA | 0.02 | 89.83 | 0.65 | 0.14 | 0.01 | 0.01 | 23.13 | 189.14 | 3.34 | 9.96 | 0.02 | 0 | 885 | 0.08 | 2.66 | 0.06 | 0.01 | 14.88 | 25.71
Day 5 | NA | NA | 0.02 | 94.15 | 1.71 | 0.18 | 0.01 | 0.01 | 21.15 | 212.54 | 3.31 | 9.88 | 0.02 | 0.02 | 884.7 | 0.12 | 2.6 | 0.06 | 0.01 | 13.5 | 13.47
Day 6 | NA | NA | 0.02 | 98.96 | 1.91 | 0.15 | 0.01 | 0.01 | 19.79 | 175.19 | 3.33 | 9.56 | 0.02 | 0.06 | 886.83 | 0.11 | 2.63 | 0.06 | 0.01 | 30.8 | 4.7
Day 7 | NA | NA | 0.02 | 89.26 | 1.13 | 0.18 | 0.01 | 0.01 | 22.09 | 131.32 | 3.38 | 9.73 | 0.02 | 0 | 888.27 | 0.11 | 2.65 | 0.06 | 0.01 | 33.2 | 29.37
Day 8 | NA | NA | 0.02 | 89.78 | 0.59 | 0.15 | 0.01 | 0.01 | 22.71 | 205.26 | 3.27 | 10 | 0.02 | 0 | 888.45 | 0.12 | 2.58 | 0.06 | 0.01 | 15.14 | 35.84
Day 9 | NA | NA | 0.02 | 87.9 | 0.54 | 0.15 | 0.01 | 0.01 | 23.29 | 208.3 | 3.31 | 10.24 | 0.02 | 0 | 887.6 | 0.12 | 2.6 | 0.06 | 0.01 | 15.11 | 46.16
Day 10 | NA | NA | 0.02 | 83.57 | 0.58 | 0.16 | 0.01 | 0.01 | 21.84 | 193.43 | 3.34 | 10.32 | 0.02 | 0 | 888.13 | 0.11 | 2.65 | 0.06 | 0.01 | 15.7 | 43.13
Day 11 | NA | NA | 0.02 | 83.94 | 1 | 0.16 | 0.01 | 0.01 | 20.69 | 199.32 | 3.35 | 9.9 | 0.02 | 0 | 888.44 | 0.11 | 2.62 | 0.06 | 0.01 | 19 | 58.91
Day 12 | NA | NA | 0.02 | 72.18 | 1.07 | 0.19 | 0.01 | 0.01 | 21.9 | 184.59 | 3.31 | 10.32 | 0.02 | 0 | 889.38 | 0.31 | 2.55 | 0.06 | 0.01 | 16.36 | 71.87
Day 13 | NA | NA | 0.02 | 80.1 | 0.58 | 0.23 | 0.01 | 0.01 | 20.59 | 206.38 | 3.43 | 10.53 | 0.02 | 0 | 890.76 | 0.12 | 2.62 | 0.06 | 0.01 | 15.48 | 48.47
Day 14 | NA | NA | 0.02 | 77.81 | 0.85 | 0.2 | 0.01 | 0.01 | 20.47 | 211.08 | 3.41 | 10.63 | 0.02 | 0 | 890.63 | 0.12 | 2.62 | 0.06 | 0.01 | 15.09 | 49.44
Day 15 | NA | NA | 0.02 | 80.37 | 0.49 | 0.18 | 0.01 | 0.01 | 20.22 | 209.57 | 3.33 | 10.5 | 0.02 | 0 | 891.42 | 0.12 | 2.6 | 0.06 | 0.01 | 16.17 | 37.23
Day 16 | NA | NA | 0.02 | 78.03 | 0.66 | 0.2 | 0.01 | 0.01 | 20.66 | 217.32 | 3.35 | 10.57 | 0.02 | 0 | 892.26 | 0.12 | 2.59 | 0.06 | 0.01 | 12.54 | 45.5
Day 17 | NA | NA | 0.02 | 67.56 | 0.77 | 0.17 | 0.01 | 0.01 | 21.62 | 206.38 | 3.26 | 10.68 | 0.02 | 0 | 892.35 | 0.12 | 2.57 | 0.06 | 0.01 | 11.47 | 47.69
Day 18 | NA | NA | 0.02 | 65.29 | 1.32 | 0.17 | 0.01 | 0.01 | 21.67 | 207.93 | 3.29 | 10.86 | 0.02 | 0 | 890.94 | 0.1 | 2.6 | 0.06 | 0.01 | 11.13 | 47.14
Day 19 | NA | NA | 0.02 | 67.58 | 0.89 | 0.19 | 0.01 | 0.01 | 22.43 | 206.86 | 3.3 | 10.85 | 0.02 | 0 | 891.35 | 0.12 | 2.57 | 0.06 | 0.01 | 12.68 | 45.03
Day 20 | NA | NA | 0.02 | 77.01 | 0.72 | 0.23 | 0.01 | 0.01 | 22.04 | 203.83 | 3.36 | 10.93 | 0.02 | 0 | 891.98 | 0.1 | 2.59 | 0.06 | 0.01 | 14.6 | 47.85
Day 21 | NA | NA | 0.02 | 74.24 | 1.87 | 0.19 | 0.01 | 0.01 | 20.26 | 204.67 | 3.32 | 10.86 | 0.02 | 0 | 892.35 | 0.11 | 2.61 | 0.06 | 0.01 | 13.64 | 43.02
Day 22 | NA | NA | 0.02 | 76.54 | 2.07 | 0.18 | 0.01 | 0.01 | 18.9 | 204.78 | 3.29 | 10.81 | 0.02 | 0 | 890.88 | 0.11 | 2.56 | 0.06 | 0.01 | 12.32 | 39.44
Day 23 | NA | NA | 0.02 | 79.18 | 2.09 | 0.19 | 0.01 | 0.01 | 18.36 | 219.44 | 3.32 | 10.7 | 0.02 | 0 | 891.11 | 0.11 | 2.59 | 0.06 | 0.01 | 13.49 | 42.25
Day 24 | NA | NA | 0.02 | 70.41 | 1.75 | 0.2 | 0.01 | 0.01 | 19.05 | 208.82 | 3.3 | 10.83 | 0.02 | 0 | 890.91 | 0.12 | 2.58 | 0.06 | 0.01 | 13.18 | 48.84
Day 25 | NA | NA | 0.02 | 63.04 | 1.35 | 0.17 | 0.01 | 0.01 | 19.57 | 213.9 | 3.26 | 10.96 | 0.02 | 0 | 890.22 | 0.13 | 2.58 | 0.06 | 0.01 | 11.29 | 49.37
Day 26 | 35.65 | 22.46 | 0.02 | 75.76 | 1.02 | 0.17 | 0.01 | 0.01 | 17.93 | 215.48 | 3.32 | 11.11 | 0.02 | 0 | 891.54 | 0.11 | 2.59 | 0.06 | 0.01 | 12.01 | 17.21
Day 27 | 35.21 | 22.19 | 0.02 | 61.4 | 3.27 | 0.18 | 0.01 | 0.01 | 19.64 | 215.54 | 3.33 | 11.01 | 0.02 | 0 | 891.68 | 0.11 | 2.6 | 0.06 | 0.01 | 12.13 | 46.51
Day 28 | 35.52 | 22.12 | 0.02 | 59.61 | 2.16 | 0.18 | 0.01 | 0.01 | 19.75 | 220.17 | 3.32 | 11.11 | 0.02 | 0 | 890.74 | 0.46 | 2.59 | 0.06 | 0.01 | 12.27 | 45.65
Day-29 | 34.32 | 22.41 | 0.02 | 80.81 | 1.74 | 0.18 | 0.01 | 0.01 | 17.53 | 198.32 | 3.34 | 10.73 | 0.02 | 0 | 890.14 | 1.93 | 2.6 | 0.06 | 0.01 | 20 | 19.39
Day-30 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Day-1 | 32.85 | 26.98 | 0.02 | 65.81 | 4.22 | 0.94 | 0.01 | 0.01 | 22.48 | 204.26 | 3.96 | 10.3 | 0.02 | 0 | 890.44 | 4.92 | 2.31 | 0.06 | 0.01 | 11.06 | 112.93
Average | 34.71 | 23.23 | 0.02 | 77.87 | 1.31 | 0.21 | 0.01 | 0.01 | 21.16 | 200.71 | 3.35 | 10.44 | 0.02 | 0 | 889.68 | 0.36 | 2.59 | 0.06 | 0.01 | 15.42 | 43.46
Min | 32.85 | 22.12 | 0.02 | 59.61 | 0.14 | 0.14 | 0.01 | 0.01 | 17.53 | 131.32 | 3.26 | 9.56 | 0.02 | 0 | 884.7 | 0.08 | 2.31 | 0.06 | 0.01 | 11.06 | 4.7
Max | 35.65 | 26.98 | 0.02 | 98.96 | 4.22 | 0.94 | 0.01 | 0.01 | 27.06 | 220.17 | 3.96 | 11.11 | 0.02 | 0.06 | 892.35 | 4.92 | 2.67 | 0.06 | 0.01 | 33.2 | 112.93
Geom.Mean | 34.71 | 23.23 | 0.02 | 77.87 | 1.31 | 0.21 | 0.01 | 0.01 | 21.16 | 200.71 | 3.35 | 10.44 | 0.02 | 0 | 889.68 | 0.36 | 2.59 | 0.06 | 0.01 | 15.42 | 43.46
Median | 35.21 | 22.41 | 0.02 | 77.92 | 1.04 | 0.18 | 0.01 | 0.01 | 20.92 | 205.82 | 3.33 | 10.55 | 0.02 | 0 | 890.54 | 0.12 | 2.6 | 0.06 | 0.01 | 14.12 | 45.58
Mode | 32.85 | 22.41 | 0.02 | 59.61 | 0.66 | 0.18 | 0.01 | 0.01 | 17.93 | 206.38 | 3.34 | 10.32 | 0.02 | 0 | 892.35 | 0.12 | 2.6 | 0.06 | 0.01 | 11.13 | 4.7
Std.Deviation | 1.16 | 2.1 | 0 | 10.06 | 0.88 | 0.14 | 0 | 0 | 2.06 | 18.63 | 0.12 | 0.48 | 0 | 0.01 | 2.23 | 0.94 | 0.06 | 0 | 0 | 5.12 | 19.61
Valid Data Points | 5 | 5 | 30 | 30 | 30 | 29 | 30 | 30 | 30 | 30 | 29 | 30 | 30 | 30 | 30 | 29 | 29 | 30 | 30 | 30 | 30
Total Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Data Availability % | 16.13 | 16.13 | 96.77 | 96.77 | 96.77 | 93.55 | 96.77 | 96.77 | 96.77 | 96.77 | 93.55 | 96.77 | 96.77 | 96.77 | 96.77 | 93.55 | 93.55 | 96.77 | 96.77 | 96.77 | 96.77
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0