## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 14 |  |  |  | Date : 14/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 73 | 0 | 1.59 | 53.84 | 29.37 | 228.92 | 3 | 0.84 | 1.1 | 0.35 | 0.06 | 0 | 7.92 | 890.08 | 143.32 | 1.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 76 | 0.07 | 1.67 | 52.37 | 30.86 | 222.6 | 5 | 1.02 | 0.96 | 1.5 | 0.06 | 0 | 10.89 | 890.54 | 192.81 | 1.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 80 | 0 | 1.69 | 51.55 | 30.27 | 158.19 | 5 | 0.43 | 0.85 | 1.23 | 0.06 | 0 | 11.08 | 890.53 | 142.98 | 2.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 81 | 0.02 | 1.72 | 51.09 | 29.77 | 217.71 | 5 | 0.85 | 0.98 | 1.82 | 0.06 | 0 | 7.58 | 890.04 | 210.07 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 77 | 0 | 1.72 | 47.71 | 31.18 | 195.6 | 5 | 0.61 | 0.96 | 1.67 | 0.06 | 0 | 7.58 | 889.4 | 218.92 | 5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 83 | 0 | 1.72 | 45.89 | 31.55 | 187.66 | 6 | 0.83 | 1.09 | 6.24 | 0.06 | 0 | 4.67 | 888.39 | 227.72 | 4.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 84 | 0 | 1.72 | 44.7 | 31.84 | 177.78 | 8 | 1.03 | 1.23 | 3.88 | 0.06 | 0 | 6.78 | 887.35 | 167.55 | 4.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 80 | 0 | 1.72 | 44.4 | 32.09 | 217.86 | 6 | 0.84 | 1.01 | 6.74 | 0.06 | 0 | 9.19 | 886.26 | 173.78 | 4.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 80 | 0.05 | 1.72 | 48.74 | 29.97 | 199.5 | 4 | 0.65 | 0.81 | 4.93 | 0.06 | 0 | 5.34 | 886.08 | 55.25 | 3.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 83 | 0.01 | 1.72 | 61.93 | 26.33 | 206.38 | 10 | 0.95 | 1.07 | 4.69 | 0.06 | 0.02 | 6.87 | 886.2 | 0 | 1.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 77.43 | 0 | 1.72 | 69.2 | 25.19 | 155.35 | 10 | 0.94 | 1.08 | 3.92 | 0.06 | 0 | 9.34 | 886.9 | 0 | 1.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 75 | 0.01 | 1.72 | 80.52 | 21.74 | 211.74 | 9.08 | 0.84 | 0.93 | 4.5 | 0.06 | 0 | 8.97 | 887.71 | 0 | 12.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 80 | 0.02 | 1.72 | 82.13 | 19.82 | 232.56 | 6 | 0.65 | 0.85 | 3.02 | 0.06 | 0 | 8.35 | 888.58 | 0 | 15.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 39 | 0.09 | 1.72 | 62.79 | 22 | 216.87 | 6 | 1.34 | 1.21 | 2.11 | 0.06 | 0 | 6.03 | 888.82 | 0 | 11.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 27 | 0.08 | 1.72 | 59.23 | 22.32 | 163.88 | 5 | 1.01 | 1.02 | 1.35 | 0.06 | 0 | 5.24 | 888.86 | 0 | 11.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 20 | 0.04 | 1.72 | 58.88 | 22.3 | 193.76 | 3 | 0.88 | 0.96 | 1.14 | 0.06 | 0 | 9.08 | 888.91 | 0 | 8.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 21 | 0.07 | 1.7 | 57.46 | 22.78 | 202.43 | 2 | 0.78 | 0.97 | 0.62 | 0.06 | 0 | 12.3 | 888.97 | 0 | 3.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 26 | 0 | 1.64 | 61.65 | 22.42 | 184.63 | 3 | 0.73 | 0.99 | 0.27 | 0.06 | 0 | 16.26 | 889.07 | 0 | 3.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 19 | 0.03 | 1.68 | 67.24 | 21.93 | 200.86 | 1 | 0.93 | 1.16 | 0.21 | 0.06 | 0 | 11.8 | 888.65 | 0 | 2.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 27 | 0.03 | 1.68 | 68.95 | 22.24 | 204.05 | 0 | 1.14 | 1.17 | 0.33 | 0.06 | 0 | 10.2 | 888.14 | 0 | 2.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 27 | 0.02 | 1.63 | 71.68 | 21.64 | 210.59 | 0 | 0.94 | 1.1 | 0.41 | 0.06 | 0 | 15.68 | 888.01 | 0 | 3.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 20 | 0.02 | 1.62 | 70.75 | 21.85 | 214.16 | 0 | 1.02 | 1.06 | 0.32 | 0.06 | 0 | 11.7 | 888.07 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 24 | 0.03 | 1.68 | 72.5 | 21.86 | 208.32 | 0 | 0.96 | 0.98 | 0.2 | 0.06 | 0 | 12.73 | 888.77 | 1.67 | 2.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 20 | 0.04 | 1.72 | 76.29 | 21.31 | 211.62 | 1 | 0.84 | 0.99 | 0.53 | 0.06 | 0.14 | 9.61 | 889.9 | 0 | 1.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 54.14 | 0.03 | 1.69 | 60.9 | 25.53 | 200.96 | 4.29 | 0.88 | 1.02 | 2.17 | 0.06 | 0.01 | 9.38 | 888.51 | 63.92 | 4.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 19 | 0 | 1.59 | 44.4 | 19.82 | 155.35 | 0 | 0.43 | 0.81 | 0.2 | 0.06 | 0 | 4.67 | 886.08 | 0 | 1.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 84 | 0.09 | 1.72 | 82.13 | 32.09 | 232.56 | 10 | 1.34 | 1.23 | 6.74 | 0.06 | 0.14 | 16.26 | 890.54 | 227.72 | 15.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 54.14 | 0.03 | 1.69 | 60.9 | 25.53 | 200.96 | 4.29 | 0.88 | 1.02 | 2.17 | 0.06 | 0.01 | 9.38 | 888.51 | 63.92 | 4.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 27.58 | 0.03 | 0.04 | 11.19 | 4.26 | 20.42 | 3.04 | 0.18 | 0.11 | 2.01 | 0 | 0.03 | 2.98 | 1.26 | 87.88 | 3.98 | 0 | 0 | 0 | 0 | 0
Mode | 80 | 0 | 1.72 | 53.84 | 29.37 | 228.92 | 5 | 0.84 | 0.96 | 0.35 | 0.06 | 0 | 7.58 | 890.08 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 75 | 0.02 | 1.72 | 61.65 | 22.78 | 206.38 | 5 | 0.88 | 1.01 | 1.5 | 0.06 | 0 | 9.19 | 888.77 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0