## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 9 |  |  |  | Date : 09/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 09/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 106 | 0.02 | 1.61 | 64.01 | 26.29 | 226.86 | 12 | 0.89 | 1.06 | 1.47 | 0.06 | 0 | 10.42 | 892.26 | 136.14 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 106 | 0.09 | 1.69 | 54.91 | 28.91 | 216.96 | 13.91 | 0.87 | 0.97 | 1.58 | 0.06 | 0 | 10.93 | 892.61 | 188.58 | 1.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 108 | 0.05 | 1.67 | 49.47 | 29.18 | 224.54 | 15 | 0.88 | 1.02 | 3.13 | 0.06 | 0 | 9.41 | 892.73 | 221.94 | 22.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 76 | 0 | 1.72 | 48.52 | 29.26 | 231.23 | 22 | 0.72 | 0.99 | 3.24 | 0.06 | 0 | 7.91 | 892.36 | 184.14 | 22.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 73 | 0.04 | 1.72 | 41.59 | 30.02 | 229.05 | 24 | 0.68 | 1 | 2.44 | 0.06 | 0 | 6.75 | 891.48 | 216.87 | 3.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 48 | 0.01 | 1.72 | 39.95 | 30.31 | 211.89 | 13 | 0.93 | 0.92 | 2.33 | 0.06 | 0 | 7.44 | 890.31 | 209.86 | 3.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 46 | 0.01 | 1.72 | 37.7 | 30.33 | 220.86 | 10.16 | 0.73 | 0.92 | 3 | 0.06 | 0 | 8.17 | 889.16 | 147.88 | 22.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 41 | 0 | 1.72 | 37.29 | 30.03 | 222.81 | 10 | 0.97 | 1.17 | 2.98 | 0.06 | 0 | 6.84 | 888.2 | 118.51 | 4.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 34 | 0.01 | 1.72 | 34.52 | 32.31 | 209.89 | 7.13 | 0.78 | 0.94 | 2.94 | 0.06 | 0 | 6.05 | 887.55 | 132.67 | 1.75 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 45 | 0.03 | 1.72 | 44.16 | 28.87 | 224.6 | 3 | 0.91 | 0.99 | 3.8 | 0.06 | 0 | 7.17 | 887.46 | 24.19 | 2.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 82 | 0.03 | 1.72 | 53.4 | 25.91 | 219.71 | 5 | 0.89 | 1.05 | 4.83 | 0.06 | 0 | 6.59 | 887.86 | 1.33 | 2.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 85 | 0.06 | 1.72 | 56.79 | 24.61 | 215.12 | 7 | 0.86 | 1.01 | 5.12 | 0.06 | 0 | 8.16 | 888.37 | 0 | 2.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 62 | 0.04 | 1.72 | 59.1 | 23.93 | 216.78 | 7 | 0.83 | 1.01 | 4.36 | 0.06 | 0 | 7.41 | 888.66 | 0 | 2.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 56 | 0.01 | 1.72 | 60.63 | 23.55 | 209.85 | 6.04 | 0.73 | 0.98 | 2.35 | 0.06 | 0 | 9.85 | 889.05 | 0 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 60 | 0 | 1.72 | 73.38 | 22.46 | 196.68 | 6 | 0.81 | 1.04 | 2.23 | 0.06 | 0 | 7.51 | 889.05 | 0 | 0.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 63 | 0.03 | 1.72 | 77.4 | 21.89 | 207.1 | 5 | 0.77 | 0.93 | 2.11 | 0.06 | 0 | 10.06 | 888.79 | 0 | 0.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 57 | 0.02 | 1.72 | 77.85 | 21.54 | 201.6 | 5 | 0.81 | 1 | 1.32 | 0.06 | 0 | 13.24 | 888.58 | 0 | 0.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 60 | 0.02 | 1.7 | 84.87 | 20.87 | 198.6 | 4 | 0.86 | 1.05 | 1.01 | 0.06 | 0 | 14.22 | 888.04 | 0 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 51 | 0.04 | 1.69 | 85.97 | 20.64 | 198.42 | 3 | 0.98 | 1.23 | 1.08 | 0.06 | 0 | 15.76 | 887.49 | 0 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 55 | 0.04 | 1.64 | 86.55 | 20.35 | 212.46 | 2 | 0.85 | 0.98 | 1.1 | 0.06 | 0 | 14.42 | 886.95 | 0 | 0.69 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 45 | 0.06 | 1.61 | 86.81 | 20.4 | 219.67 | 3 | 0.99 | 1.13 | 1.21 | 0.06 | 0 | 12.51 | 886.82 | 0 | 0.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 49 | 0.07 | 1.66 | 89.28 | 20.06 | 206.74 | 3 | 0.95 | 0.95 | 0.59 | 0.06 | 0 | 15.53 | 886.91 | 0 | 0.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 37 | 0.01 | 1.6 | 84.84 | 21.25 | 206.32 | 4 | 0.92 | 1.07 | 0.4 | 0.06 | 0 | 13.81 | 887.09 | 30.02 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 42 | 0.01 | 1.55 | 71.98 | 24.27 | 209.23 | 2 | 0.78 | 0.99 | 0.64 | 0.06 | 0 | 16.22 | 887.48 | 100.97 | 2.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 61.96 | 0.03 | 1.69 | 62.54 | 25.3 | 214.04 | 8.01 | 0.85 | 1.02 | 2.3 | 0.06 | 0 | 10.27 | 888.97 | 71.38 | 4.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 34 | 0 | 1.55 | 34.52 | 20.06 | 196.68 | 2 | 0.68 | 0.92 | 0.4 | 0.06 | 0 | 6.05 | 886.82 | 0 | 0.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 108 | 0.09 | 1.72 | 89.28 | 32.31 | 231.23 | 24 | 0.99 | 1.23 | 5.12 | 0.06 | 0 | 16.22 | 892.73 | 221.94 | 22.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 61.96 | 0.03 | 1.69 | 62.54 | 25.3 | 214.04 | 8.01 | 0.85 | 1.02 | 2.3 | 0.06 | 0 | 10.27 | 888.97 | 71.38 | 4.15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 21.33 | 0.02 | 0.05 | 18.23 | 3.96 | 9.74 | 5.87 | 0.09 | 0.07 | 1.31 | 0 | 0 | 3.27 | 1.9 | 84.47 | 6.96 | 0 | 0 | 0 | 0 | 0
Mode | 106 | 0.01 | 1.72 | 64.01 | 26.29 | 226.86 | 3 | 0.89 | 0.99 | 1.47 | 0.06 | 0 | 10.42 | 889.05 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 57 | 0.03 | 1.72 | 60.63 | 24.61 | 215.12 | 6.04 | 0.86 | 1 | 2.33 | 0.06 | 0 | 9.85 | 888.58 | 24.19 | 1.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0