## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-02-01 | Station Name : |  | Sikulpuikawn |  |  | FEBRUARY
Report No |  | 22 |  |  |  | Date : 22/02/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 22/02/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 101 | 0 | 1.71 | 57.65 | 21.89 | 210.97 | 13.92 | 0.36 | 0.77 | 11.79 | 0.06 | 0 | 9.71 | 892.3 | 111.01 | 4.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 110 | 0 | 1.72 | 52.22 | 24.09 | 207.14 | 16 | 0.26 | 0.76 | 10.61 | 0.06 | 0 | 15.56 | 892.99 | 42.88 | 4.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 115 | 0.01 | 1.72 | 45.38 | 26.16 | 213.77 | 20.78 | 0.45 | 0.75 | 4.05 | 0.06 | 0 | 14.35 | 893.34 | 105.5 | 3.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 106 | 0 | 1.64 | 31.22 | 27.36 | 216.29 | 19 | 0.34 | 0.71 | 3.99 | 0.06 | 0 | 7.86 | 893.49 | 248.5 | 3.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 77 | 0 | 1.69 | 23.31 | 28.11 | 200.85 | 10 | 0.31 | 0.85 | 4.73 | 0.06 | 0 | 10.46 | 893.13 | 262.46 | 4.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 54 | 0 | 1.72 | 24.35 | 28.4 | 241 | 7.2 | 0.42 | 0.73 | 5.69 | 0.06 | 0 | 8.32 | 892.21 | 254.07 | 5.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 72 | 0 | 1.72 | 24.76 | 28.85 | 221.46 | 5 | 0.44 | 0.77 | 5.4 | 0.06 | 0 | 9.65 | 891.41 | 223.56 | 5.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 73 | 0.02 | 1.72 | 26.28 | 28.29 | 229.43 | 4 | 0.44 | 0.76 | 6.65 | 0.06 | 0 | 7.01 | 890.85 | 124.49 | 4.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 80.56 | 0.02 | 1.72 | 28.03 | 27.51 | 210.32 | 5.89 | 0.25 | 0.65 | 4.79 | 0.06 | 0 | 8.13 | 890.52 | 102.18 | 3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 79 | 0 | 1.72 | 33.88 | 24.79 | 210.22 | 8 | 0.37 | 0.78 | 5.44 | 0.06 | 0 | 4.02 | 890.36 | 38.2 | 1.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 103.27 | 0 | 1.72 | 42.63 | 21.41 | 206.55 | 9.87 | 0.54 | 0.78 | 4.67 | 0.06 | 0 | 7.33 | 890.55 | 0 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 128.44 | 0.01 | 1.72 | 48.4 | 20.32 | 219.34 | 10.94 | 0.42 | 0.73 | 3.7 | 0.06 | 0 | 7.37 | 891.17 | 0 | 1.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 105 | 0 | 1.7 | 48.67 | 20.04 | 213.69 | 8.25 | 0.63 | 0.89 | 2.63 | 0.06 | 0 | 8.01 | 891.73 | 0 | 2.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 92 | 0.05 | 1.67 | 51.49 | 19.65 | 184.01 | 10 | 0.51 | 0.77 | 2.36 | 0.06 | 0 | 12.99 | 892.27 | 0 | 3.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 95 | 0 | 1.69 | 62.76 | 18.9 | 222.9 | 9 | 0.2 | 0.62 | 2.14 | 0.06 | 0 | 9.12 | 892.51 | 0 | 5.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 105.15 | 0 | 1.7 | 66.58 | 18.88 | 217.12 | 15.46 | 0.24 | 0.58 | 2.59 | 0.06 | 0 | 12.11 | 892.42 | 0 | 2.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 112 | 0 | 1.65 | 62.22 | 18.34 | 201.59 | 13 | 0.36 | 0.91 | 2.5 | 0.06 | 0 | 13.71 | 892.01 | 0 | 1.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 93 | 0 | 1.69 | 67.85 | 17.76 | 204.97 | 10 | 0.36 | 0.88 | 2.17 | 0.06 | 0 | 6.69 | 891.58 | 0 | 2.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 92 | 0 | 1.64 | 66.63 | 17.14 | 211.66 | 10 | 0.47 | 0.88 | 1.98 | 0.06 | 0 | 13.39 | 891.2 | 0 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 86 | 0 | 1.66 | 50.61 | 17.74 | 186.25 | 13 | 0.27 | 0.62 | 2.19 | 0.06 | 0 | 26.15 | 890.9 | 0 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 60 | 0.02 | 1.69 | 55.47 | 18.11 | 204.02 | 10 | 0.34 | 0.62 | 2.83 | 0.06 | 0 | 14.01 | 890.72 | 0 | 3.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 72 | 0 | 1.67 | 54.2 | 18.17 | 212.15 | 8 | 0.43 | 0.87 | 2.94 | 0.06 | 0 | 14.02 | 891.16 | 0 | 3.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 70 | 0 | 1.59 | 54.07 | 18.23 | 212.21 | 11 | 0.23 | 0.67 | 2.67 | 0.06 | 0 | 12.34 | 891.68 | 0 | 5.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 70 | 0.03 | 1.57 | 45.92 | 18.87 | 217.45 | 12 | 0.5 | 0.85 | 4.37 | 0.06 | 0 | 11.74 | 892.35 | 12.93 | 2.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 89.64 | 0.01 | 1.68 | 46.86 | 22.04 | 211.47 | 10.85 | 0.38 | 0.76 | 4.29 | 0.06 | 0 | 11 | 891.79 | 63.57 | 3.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 54 | 0 | 1.57 | 23.31 | 17.14 | 184.01 | 4 | 0.2 | 0.58 | 1.98 | 0.06 | 0 | 4.02 | 890.36 | 0 | 0.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 128.44 | 0.05 | 1.72 | 67.85 | 28.85 | 241 | 20.78 | 0.63 | 0.91 | 11.79 | 0.06 | 0 | 26.15 | 893.49 | 262.46 | 5.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 89.64 | 0.01 | 1.68 | 46.86 | 22.04 | 211.47 | 10.85 | 0.38 | 0.76 | 4.29 | 0.06 | 0 | 11 | 891.79 | 63.57 | 3.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 18.67 | 0.01 | 0.04 | 14.2 | 4.14 | 11.79 | 3.99 | 0.11 | 0.09 | 2.46 | 0 | 0 | 4.34 | 0.91 | 91.52 | 1.48 | 0 | 0 | 0 | 0 | 0
Mode | 72 | 0 | 1.72 | 57.65 | 21.89 | 210.97 | 10 | 0.36 | 0.77 | 11.79 | 0.06 | 0 | 9.71 | 892.3 | 0 | 4.35 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 92 | 0 | 1.7 | 50.61 | 20.32 | 212.15 | 10 | 0.37 | 0.77 | 3.99 | 0.06 | 0 | 10.46 | 891.73 | 0 | 3.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0