## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-12-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | DECEMBER
Report No |  | 2025-12-01 | [8 empty] | Date : 31/12/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 31/12/2025
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
Day 1 | 35.41 | 22.68 | 0.02 | 78.32 | 1.28 | 0.17 | 0.01 | 0.01 | 19.71 | 71.97 | 3.37 | 11.08 | 0.02 | 0 | 888.86 | 0.18 | 2.65 | 0.06 | 0.01 | 41.13 | 56.46
Day 2 | 35.18 | 22.76 | 0.02 | 84.5 | 2.16 | 0.16 | 0.01 | 0.01 | 18.37 | 92.46 | 3.43 | 11 | 0.02 | 0 | 889.09 | 0 | 2.69 | 0.06 | 0.01 | 37.22 | 34.37
Day 3 | 35.57 | 22.75 | 0.02 | 77.57 | 1.28 | 0.14 | 0.01 | 0.01 | 19.3 | 84.62 | 3.39 | 11.13 | 0.02 | 0 | 890.28 | 0 | 2.67 | 0.06 | 0.01 | 35.05 | 38.86
Day 4 | 35.76 | 23.04 | 0.02 | 77.71 | 0.76 | 0.17 | 0.01 | 0.01 | 20.13 | 81.3 | 3.41 | 11.19 | 0.02 | 0 | 891.07 | 0 | 2.67 | 0.06 | 0.01 | 37.42 | 45.15
Day 5 | 35.94 | 22.44 | 0.02 | 69.61 | 1.15 | 0.16 | 0.01 | 0.01 | 20.13 | 95.73 | 3.36 | 11.24 | 0.02 | 0 | 891.95 | 0 | 2.64 | 0.06 | 0.01 | 34.67 | 46.46
Day 6 | 35.97 | 22.66 | 0.02 | 76.91 | 0.83 | 0.18 | 0.01 | 0.01 | 18.97 | 115.13 | 3.39 | 11.26 | 0.02 | 0 | 891.33 | 0 | 2.64 | 0.06 | 0.01 | 33.69 | 44.69
Day 7 | 36.22 | 22.86 | 0.02 | 72.46 | 1.17 | 0.18 | 0.01 | 0.01 | 18.35 | 135.75 | 3.41 | 11.33 | 0.02 | 0 | 890.88 | 0 | 2.65 | 0.06 | 0.01 | 28.78 | 46.64
Day 8 | 36.71 | 22.5 | 0.02 | 56.4 | 2.08 | 0.18 | 0.01 | 0.01 | 18.48 | 93.67 | 3.36 | 11.48 | 0.02 | 0 | 890.11 | 0 | 2.62 | 0.06 | 0.01 | 30.75 | 42.04
Day 9 | 36.84 | 22.76 | 0.02 | 54.56 | 1.98 | 0.17 | 0.01 | 0.01 | 18.91 | 92.02 | 3.41 | 11.52 | 0.02 | 0 | 890.09 | 0 | 2.64 | 0.06 | 0.01 | 33.81 | 44.74
Day 10 | 36.92 | 22.56 | 0.02 | 52.83 | 1.75 | 0.17 | 0.01 | 0.01 | 19.5 | 93.27 | 3.38 | 11.55 | 0.02 | 0 | 890.75 | 0 | 2.64 | 0.06 | 0.01 | 34.37 | 45.69
Day 11 | 36.83 | 22.68 | 0.02 | 60.07 | 1.52 | 0.16 | 0.01 | 0.01 | 19.26 | 100.41 | 3.37 | 11.52 | 0.02 | 0 | 889.93 | 0 | 2.63 | 0.06 | 0.01 | 30.71 | 46.36
Day 12 | 35.84 | 22.84 | 0.02 | 62.61 | 1.35 | 0.17 | 0.01 | 0.01 | 19.38 | 105.39 | 3.39 | 11.22 | 0.02 | 0 | 889.78 | 0 | 2.64 | 0.06 | 0.01 | 31.56 | 45.11
Day 13 | 35.69 | 22.57 | 0.02 | 68.14 | 1.05 | 0.16 | 0.01 | 0.01 | 19.3 | 94.31 | 3.37 | 11.16 | 0.02 | 0 | 890.72 | 0 | 2.64 | 0.06 | 0.01 | 46.41 | 44.38
Day 14 | 35.83 | 22.56 | 0.02 | 71.02 | 1.77 | 0.17 | 0.01 | 0.01 | 19.21 | 86.75 | 3.37 | 11.21 | 0.02 | 0 | 891.3 | 0 | 2.63 | 0.06 | 0.01 | 53.85 | 44.65
Day 15 | 36.15 | 22.75 | 0.02 | 70.65 | 1.86 | 0.16 | 0.01 | 0.01 | 19.38 | 91.64 | 3.4 | 11.31 | 0.02 | 0 | 890.95 | 0 | 2.67 | 0.06 | 0.01 | 42.7 | 39.44
Day 16 | 36.3 | 22.34 | 0.02 | 70.92 | 2.93 | 0.17 | 0.01 | 0.01 | 18.29 | 110.35 | 3.34 | 11.36 | 0.02 | 0 | 889.71 | 0.03 | 2.62 | 0.06 | 0.01 | 28.82 | 42.56
Day 17 | 36.44 | 22.54 | 0.02 | 74.91 | 2.18 | 0.17 | 0.01 | 0.01 | 18.21 | 94.21 | 3.36 | 11.4 | 0.02 | 0 | 890.34 | 0 | 2.64 | 0.06 | 0.01 | 34.26 | 43.52
Day 18 | 36.56 | 22.46 | 0.02 | 70.16 | 1.52 | 0.17 | 0.01 | 0.01 | 18.66 | 95.6 | 3.35 | 11.44 | 0.02 | 0 | 890.62 | 0 | 2.62 | 0.06 | 0.01 | 33.73 | 44.12
Day 19 | 36.7 | 22.68 | 0.02 | 73.56 | 1.35 | 0.17 | 0.01 | 0.01 | 18.32 | 94.44 | 3.4 | 11.49 | 0.02 | 0 | 889.33 | 0 | 2.67 | 0.06 | 0.01 | 32.24 | 42.58
Day 20 | 37.04 | 22.31 | 0.02 | 73.22 | 1.57 | 0.14 | 0.01 | 0.01 | 17.7 | 99.33 | 3.32 | 11.59 | 0.02 | 0 | 888.54 | 0 | 2.64 | 0.06 | 0.01 | 31.81 | 39.3
Day 21 | 36.94 | 22.83 | 0.02 | 69.71 | 1.89 | 0.17 | 0.01 | 0.01 | 17.57 | 103.93 | 3.4 | 11.56 | 0.02 | 0 | 890.04 | 0.01 | 2.66 | 0.06 | 0.01 | 28.29 | 41.61
Day 22 | 36.88 | 22.56 | 0.02 | 66.09 | 1.7 | 0.17 | 0.01 | 0.01 | 18.72 | 98.17 | 3.38 | 11.54 | 0.02 | 0 | 889.37 | 0 | 2.64 | 0.06 | 0.01 | 33.99 | 36.2
Day 23 | 37.31 | 22.83 | 0.02 | 72.08 | 2.67 | 0.18 | 0.01 | 0.01 | 17.83 | 96.44 | 3.41 | 11.68 | 0.02 | 0 | 888.17 | 0 | 2.66 | 0.06 | 0.01 | 30.71 | 33.73
Day 24 | 34.99 | 22.6 | 0.02 | 77.19 | 2.19 | 0.16 | 0.01 | 0.01 | 17.37 | 100.4 | 3.38 | 10.94 | 0.02 | 0 | 888.32 | 0 | 2.65 | 0.06 | 0.01 | 30.3 | 29.01
Day 25 | 34.04 | 23.06 | 0.02 | 87.65 | 2.39 | 0.2 | 0.01 | 0.01 | 14.6 | 111.58 | 3.42 | 10.65 | 0.02 | 0 | 888.64 | 0.03 | 2.65 | 0.06 | 0.01 | 21.77 | 2.92
Day 26 | 34.33 | 22.89 | 0.02 | 80.12 | 1.83 | 0.17 | 0.01 | 0.01 | 16.76 | 131.09 | 3.4 | 10.74 | 0.02 | 0 | 888.76 | 0 | 2.66 | 0.06 | 0.01 | 25.39 | 44.76
Day 27 | 34.69 | 22.65 | 0.02 | 77.25 | 2.03 | 0.18 | 0.01 | 0.01 | 17.15 | 102.03 | 3.39 | 10.85 | 0.02 | 0 | 888.9 | 0 | 2.63 | 0.06 | 0.01 | 29.5 | 44.94
Day 28 | 34.89 | 22.9 | 0.02 | 75.93 | 2.02 | 0.17 | 0.01 | 0.01 | 17.45 | 97.27 | 3.42 | 10.91 | 0.02 | 0 | 889.32 | 0 | 2.66 | 0.06 | 0.01 | 29.4 | 44.2
Day-29 | 34.91 | 22.85 | 0.02 | 74.85 | 1.99 | 0.19 | 0.01 | 0.01 | 17.81 | 130.23 | 3.41 | 10.92 | 0.02 | 0 | 888.82 | 0 | 2.63 | 0.06 | 0.01 | 30.1 | 63.55
Day-30 | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
Day-31 | 35.84 | 22.71 | 0.02 | 52.47 | 4.56 | 0.16 | 0.01 | 0.01 | 14.59 | 96.82 | 3.41 | 11.22 | 0.02 | 0.01 | 885.81 | 0 | 2.67 | 0.06 | 0.01 | 17.94 | 0
Day-1 | 35.35 | 22.81 | 0.02 | 32.29 | 6.08 | 0.15 | 0.01 | 0.01 | 16.69 | 118.12 | 3.43 | 11.06 | 0.02 | 0 | 886.41 | 0 | 2.71 | 0.06 | 0.01 | 11.79 | 12.75
Average | 35.94 | 22.69 | 0.02 | 69.73 | 1.96 | 0.17 | 0.01 | 0.01 | 18.26 | 100.47 | 3.39 | 11.24 | 0.02 | 0 | 889.62 | 0.01 | 2.65 | 0.06 | 0.01 | 32.33 | 39.7
Min | 34.04 | 22.31 | 0.02 | 32.29 | 0.76 | 0.14 | 0.01 | 0.01 | 14.59 | 71.97 | 3.32 | 10.65 | 0.02 | 0 | 885.81 | 0 | 2.62 | 0.06 | 0.01 | 11.79 | 0
Max | 37.31 | 23.06 | 0.02 | 87.65 | 6.08 | 0.2 | 0.01 | 0.01 | 20.13 | 135.75 | 3.43 | 11.68 | 0.02 | 0.01 | 891.95 | 0.18 | 2.71 | 0.06 | 0.01 | 53.85 | 63.55
Geom.Mean | 35.94 | 22.69 | 0.02 | 69.73 | 1.96 | 0.17 | 0.01 | 0.01 | 18.26 | 100.47 | 3.39 | 11.24 | 0.02 | 0 | 889.62 | 0.01 | 2.65 | 0.06 | 0.01 | 32.33 | 39.7
Median | 35.94 | 22.68 | 0.02 | 72.08 | 1.83 | 0.17 | 0.01 | 0.01 | 18.37 | 96.82 | 3.39 | 11.24 | 0.02 | 0 | 889.78 | 0 | 2.64 | 0.06 | 0.01 | 31.81 | 44.12
Mode | 35.84 | 22.68 | 0.02 | 32.29 | 1.28 | 0.17 | 0.01 | 0.01 | 19.3 | 130.23 | 3.41 | 11.52 | 0.02 | 0 | 891.33 | 0 | 2.64 | 0.06 | 0.01 | 30.71 | 0
Std.Deviation | 0.85 | 0.18 | 0 | 11.1 | 1.04 | 0.01 | 0 | 0 | 1.34 | 14.13 | 0.03 | 0.27 | 0 | 0 | 1.36 | 0.03 | 0.02 | 0 | 0 | 7.72 | 13.11
Valid Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Total Data Points | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Data Availability % | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88 | 96.88
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0