## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 11 |  |  |  | Date : 11/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 11/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 112 | 0.01 | 1.51 | 41.67 | 23.51 | 195.7 | 23 | 0.45 | 0.82 | 2.17 | 0.06 | 0 | 10.26 | 892.1 | 127.29 | 8.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 125 | 0.02 | 1.47 | 32.86 | 26.91 | 202.05 | 23.95 | 0.48 | 0.77 | 2.87 | 0.06 | 0 | 10.56 | 892.62 | 85.72 | 5.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 103 | 0.01 | 1.55 | 27.35 | 28.8 | 224.57 | 16 | 0.28 | 0.69 | 5.03 | 0.06 | 0 | 9.35 | 892.85 | 172.15 | 6.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 100 | 0 | 1.6 | 29.43 | 28.57 | 221.87 | 11.24 | 0.39 | 0.82 | 2.76 | 0.06 | 0 | 11.19 | 892.43 | 238.01 | 9.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 104 | 0.01 | 1.57 | 31.42 | 29.29 | 230.2 | 13 | 0.32 | 0.71 | 3.64 | 0.06 | 0 | 8.5 | 891.51 | 248.56 | 9.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 125 | 0 | 1.72 | 31.48 | 29.82 | 221.97 | 18 | 0.25 | 0.71 | 4.56 | 0.06 | 0 | 11.79 | 890.45 | 215.54 | 8.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 121 | 0.01 | 1.72 | 33.63 | 29.39 | 228.29 | 15.13 | 0.26 | 0.75 | 3.56 | 0.06 | 0 | 9.29 | 889.66 | 164.81 | 7.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 128 | 0 | 1.71 | 38.31 | 28.31 | 225.17 | 15.95 | 0.33 | 0.79 | 4.2 | 0.06 | 0 | 8.63 | 888.92 | 129.56 | 6.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 134 | 0.07 | 1.67 | 41.34 | 27.65 | 212.01 | 17.9 | 0.41 | 0.79 | 4.83 | 0.06 | 0 | 7.25 | 888.3 | 94.69 | 5.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 150 | 0.01 | 1.72 | 49.73 | 24.79 | 227.65 | 15 | 0.29 | 0.65 | 5.92 | 0.06 | 0 | 7.33 | 888.26 | 32.71 | 4.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 146 | 0.04 | 1.72 | 56.94 | 22.28 | 235.05 | 19.78 | 0.32 | 0.68 | 6.07 | 0.06 | 0 | 10.01 | 888.55 | 0.23 | 4.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 147 | 0 | 1.69 | 59.6 | 21.29 | 217.58 | 20.95 | 0.3 | 0.7 | 4.16 | 0.06 | 0 | 8.79 | 888.92 | 0 | 3.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 151 | 0.03 | 1.69 | 60.86 | 20.66 | 207.39 | 21.95 | 0.5 | 0.87 | 3.72 | 0.06 | 0 | 9.37 | 889.28 | 0 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 170 | 0.02 | 1.69 | 61.18 | 20.67 | 217.32 | 27.73 | 0.23 | 0.75 | 3.07 | 0.06 | 0 | 10.06 | 889.79 | 0 | 1.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 147 | 0 | 1.66 | 63.96 | 20.58 | 201.44 | 22.27 | 0.37 | 0.76 | 2.95 | 0.06 | 0 | 11.71 | 889.91 | 0 | 2.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 140 | 0 | 1.72 | 67.49 | 20.1 | 202.67 | 18.17 | 0.29 | 0.8 | 3.66 | 0.06 | 0 | 12.24 | 889.67 | 0 | 2.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 140 | 0 | 1.63 | 69.48 | 19.77 | 220.98 | 15.14 | 0.41 | 0.84 | 2.87 | 0.06 | 0 | 11.83 | 889.3 | 0 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 136 | 0 | 1.62 | 73.26 | 19.33 | 195.04 | 16.91 | 0.27 | 0.81 | 2.76 | 0.06 | 0 | 15.95 | 888.74 | 0 | 2.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 137 | 0 | 1.59 | 74.43 | 18.86 | 204.53 | 15.09 | 0.33 | 0.82 | 4.36 | 0.06 | 0 | 15.23 | 888.14 | 0 | 3.3 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 125 | 0 | 1.62 | 71.41 | 18.73 | 214.95 | 16.91 | 0.26 | 0.75 | 2.28 | 0.06 | 0 | 14.49 | 887.53 | 0 | 3.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 110 | 0 | 1.58 | 72.4 | 18.55 | 207.49 | 13.18 | 0.43 | 0.76 | 1.76 | 0.06 | 0 | 16.08 | 887.19 | 0 | 3.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 113 | 0.01 | 1.57 | 74.3 | 18.35 | 198.98 | 13.95 | 0.35 | 0.79 | 1.56 | 0.06 | 0 | 13.83 | 887.32 | 0 | 2.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 120 | 0.01 | 1.48 | 75.03 | 18.54 | 205.22 | 14.95 | 0.44 | 0.82 | 1.49 | 0.06 | 0 | 13.98 | 887.87 | 0.8 | 3.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 111 | 0 | 1.49 | 74.29 | 19.37 | 207.2 | 15.96 | 0.31 | 0.76 | 1.59 | 0.06 | 0 | 11.25 | 888.52 | 33.85 | 4.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 128.96 | 0.01 | 1.62 | 54.66 | 23.09 | 213.55 | 17.59 | 0.34 | 0.77 | 3.41 | 0.06 | 0 | 11.21 | 889.49 | 64.33 | 4.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 100 | 0 | 1.47 | 27.35 | 18.35 | 195.04 | 11.24 | 0.23 | 0.65 | 1.49 | 0.06 | 0 | 7.25 | 887.19 | 0 | 1.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 170 | 0.07 | 1.72 | 75.03 | 29.82 | 235.05 | 27.73 | 0.5 | 0.87 | 6.07 | 0.06 | 0 | 16.08 | 892.85 | 248.56 | 9.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 128.96 | 0.01 | 1.62 | 54.66 | 23.09 | 213.55 | 17.59 | 0.34 | 0.77 | 3.41 | 0.06 | 0 | 11.21 | 889.49 | 64.33 | 4.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 17.66 | 0.02 | 0.08 | 17.22 | 4.19 | 11.51 | 3.9 | 0.08 | 0.05 | 1.28 | 0 | 0 | 2.54 | 1.66 | 85.12 | 2.46 | 0 | 0 | 0 | 0 | 0
Mode | 125 | 0 | 1.72 | 41.67 | 23.51 | 195.7 | 16.91 | 0.32 | 0.82 | 2.87 | 0.06 | 0 | 10.26 | 888.92 | 0 | 8.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 128 | 0.01 | 1.63 | 60.86 | 21.29 | 214.95 | 16.91 | 0.33 | 0.77 | 3.56 | 0.06 | 0 | 11.19 | 889.28 | 0.8 | 4.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0