## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-02-01 | Station Name : |  | Sikulpuikawn |  |  | FEBRUARY
Report No |  | 12 |  |  |  | Date : 12/02/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 12/02/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 82 | 0.03 | 1.72 | 79.35 | 18.1 | 209.76 | 26 | 0.64 | 0.83 | 10.42 | 0.06 | 0 | 14.22 | 890.5 | 100.15 | 9.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 79 | 0 | 1.72 | 61.57 | 21.52 | 225.69 | 25 | 0.33 | 0.8 | 10.58 | 0.06 | 0 | 11.26 | 891.28 | 36.83 | 8.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 74 | 0 | 1.72 | 52.4 | 24.89 | 226.01 | 22 | 0.46 | 0.92 | 9.87 | 0.06 | 0 | 15.68 | 891.56 | 102.03 | 4.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 79.54 | 0.02 | 1.72 | 40.57 | 25.7 | 222.32 | 19.23 | 0.19 | 0.57 | 3.55 | 0.06 | 0 | 11.39 | 891.41 | 242.54 | 4.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 69 | 0.04 | 1.72 | 36.74 | 25.26 | 208.58 | 11 | 0.68 | 0.79 | 3.49 | 0.06 | 0 | 8.95 | 890.78 | 254.93 | 10.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 67 | 0 | 1.72 | 35.73 | 25.6 | 206.77 | 13 | 0.44 | 1.03 | 4.05 | 0.06 | 0 | 8.27 | 889.9 | 254.42 | 12.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 67 | 0.05 | 1.72 | 33.22 | 25.61 | 227.47 | 11 | 0.42 | 0.87 | 2.95 | 0.06 | 0 | 9.62 | 889.1 | 153.74 | 11.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 64 | 0 | 1.72 | 31.8 | 25.16 | 193.07 | 9 | 0.28 | 0.75 | 1.85 | 0.06 | 0 | 10.76 | 888.47 | 114.09 | 6.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 66 | 0.1 | 1.72 | 34.09 | 25.41 | 240.18 | 7 | 0.65 | 0.8 | 2.44 | 0.06 | 0 | 9.56 | 888.2 | 105.63 | 5.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 78 | 0.02 | 1.72 | 44.22 | 23.01 | 210.83 | 6 | 0.44 | 0.88 | 2.6 | 0.06 | 0 | 8.06 | 888.2 | 36.25 | 6.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 97 | 0.02 | 1.72 | 57.8 | 19.96 | 213.9 | 11 | 0.45 | 0.79 | 1.98 | 0.06 | 0 | 9.64 | 888.35 | 0 | 9.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 86 | 0 | 1.72 | 67.86 | 19.16 | 234.48 | 11 | 0.31 | 0.71 | 1.6 | 0.06 | 0 | 12 | 888.77 | 0 | 13.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 89 | 0 | 1.72 | 70.58 | 18.74 | 205.15 | 13 | 0.57 | 1.02 | 1.32 | 0.06 | 0 | 12.89 | 889.28 | 0 | 9.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 90 | 0 | 1.72 | 73.85 | 18.56 | 206.81 | 14.82 | 0.26 | 0.64 | 1.2 | 0.06 | 0 | 9.21 | 889.66 | 0 | 10.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 84 | 0 | 1.72 | 75.4 | 18.29 | 226.52 | 12 | 0.35 | 0.74 | 3.46 | 0.06 | 0 | 13.67 | 889.84 | 0 | 11.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 84 | 0 | 1.72 | 78.27 | 18.03 | 218 | 21 | 0.2 | 0.76 | 1.62 | 0.06 | 0 | 13.53 | 889.69 | 0 | 15.91 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 95 | 0.02 | 1.72 | 80.39 | 17.68 | 211.16 | 22 | 0.49 | 0.87 | 1.4 | 0.06 | 0 | 15.53 | 889.53 | 0 | 21.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 105 | 0 | 1.72 | 83.14 | 17.06 | 206.37 | 23 | 0.31 | 0.84 | 1.52 | 0.06 | 0 | 17.05 | 889.25 | 0 | 14.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 105 | 0.02 | 1.72 | 87.45 | 16.58 | 204.76 | 28 | 0.3 | 0.68 | 1.47 | 0.06 | 0 | 18.37 | 888.89 | 0 | 9.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 93 | 0 | 1.67 | 90.35 | 16.34 | 206.5 | 28 | 0.42 | 0.96 | 1.76 | 0.06 | 0 | 23.78 | 888.5 | 0 | 8.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | No Data Software issue
03-04Hr
04-05Hr | 90 | 0 | 1.66 | 90.22 | 15.82 | 208.21 | 19 | 0.07 | 0.56 | 7.75 | 0.06 | 0 | 20.72 | 888.2 | 0 | 7.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 101 | 0.03 | 1.7 | 87.7 | 16.54 | 210.63 | 18 | 0.5 | 0.79 | 7.85 | 0.06 | 0 | 15.34 | 888.74 | 26.25 | 7.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 83.84 | 0.02 | 1.71 | 63.3 | 20.59 | 214.69 | 16.82 | 0.4 | 0.8 | 3.85 | 0.06 | 0 | 13.16 | 889.46 | 64.86 | 10.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 64 | 0 | 1.66 | 31.8 | 15.82 | 193.07 | 6 | 0.07 | 0.56 | 1.2 | 0.06 | 0 | 8.06 | 888.2 | 0 | 4.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 105 | 0.1 | 1.72 | 90.35 | 25.7 | 240.18 | 28 | 0.68 | 1.03 | 10.58 | 0.06 | 0 | 23.78 | 891.56 | 254.93 | 21.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 83.84 | 0.02 | 1.71 | 63.3 | 20.59 | 214.69 | 16.82 | 0.4 | 0.8 | 3.85 | 0.06 | 0 | 13.16 | 889.46 | 64.86 | 10.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 12.35 | 0.02 | 0.02 | 20.65 | 3.63 | 11.14 | 6.7 | 0.15 | 0.12 | 3.11 | 0 | 0 | 4.08 | 1.05 | 87.29 | 3.89 | 0 | 0 | 0 | 0 | 0
Mode | 67 | 0 | 1.72 | 79.35 | 18.1 | 209.76 | 11 | 0.44 | 0.79 | 10.42 | 0.06 | 0 | 14.22 | 888.2 | 0 | 9.73 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 84 | 0 | 1.72 | 70.58 | 19.16 | 210.83 | 18 | 0.42 | 0.8 | 2.6 | 0.06 | 0 | 12.89 | 889.28 | 26.25 | 9.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Total Data Points | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22 | 22
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0