## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 26 |  |  |  | Date : 26/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 26/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 65 | 0.02 | 1.69 | 83.02 | 23.36 | 235.44 | 10 | 2.06 | 1.74 | 0 | 0.06 | 0 | 8.37 | 888.35 | 83.39 | 0.47 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 69 | 0.05 | 1.69 | 73.91 | 25.49 | 187.91 | 10 | 2.16 | 1.88 | 0 | 0.06 | 0 | 6.55 | 889.11 | 161.94 | 0.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 75 | 0.06 | 1.71 | 69.55 | 26.12 | 203.9 | 9.04 | 2.13 | 1.8 | 0 | 0.06 | 0 | 6.23 | 889.41 | 166.6 | 2.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 63 | 0.13 | 1.71 | 66.57 | 26.99 | 189.3 | 9.96 | 2.15 | 1.81 | 0.03 | 0.06 | 0 | 7.21 | 889.46 | 176.84 | 1.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 67 | 0 | 1.72 | 56.78 | 29.1 | 195.43 | 8.08 | 1.97 | 1.71 | 0.03 | 0.06 | 0 | 13.71 | 889.12 | 240.53 | 1.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 64 | 0.09 | 1.72 | 52.55 | 29.73 | 203.84 | 5 | 2.1 | 1.75 | 0 | 0.06 | 0 | 4.63 | 888.47 | 249.53 | 2.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 62 | 0.07 | 1.7 | 50.88 | 30.07 | 188.24 | 3.08 | 2.12 | 1.73 | 0.03 | 0.06 | 0 | 6.58 | 887.77 | 228.3 | 4.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 72.56 | 0.13 | 1.72 | 52.29 | 29.54 | 205.53 | 6.84 | 2.11 | 1.78 | 0.46 | 0.06 | 0 | 7.13 | 887.14 | 175.92 | 7.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 85 | 0.06 | 1.72 | 52.94 | 29.16 | 210.09 | 6.04 | 2.06 | 1.84 | 1.49 | 0.06 | 0 | 6.3 | 886.74 | 116.12 | 7.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 81 | 0.02 | 1.72 | 57.05 | 27.83 | 211.47 | 7 | 2.12 | 1.96 | 2.14 | 0.06 | 0 | 7.22 | 886.61 | 44.45 | 6.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 77 | 0.11 | 1.72 | 65.85 | 26.06 | 201.31 | 7 | 2.04 | 1.68 | 2.92 | 0.06 | 0 | 5.91 | 886.7 | 2 | 2.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 75 | 0.02 | 1.72 | 69.69 | 25.07 | 164.15 | 8.92 | 2.06 | 1.79 | 2.78 | 0.06 | 0 | 8.09 | 886.86 | 0 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 73 | 0.12 | 1.72 | 73.24 | 24.61 | 220.76 | 5.18 | 2.05 | 1.66 | 2.1 | 0.06 | 0 | 6.79 | 887.26 | 0 | 4.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 66 | 0.07 | 1.72 | 71.24 | 24.48 | 211.53 | 2 | 1.95 | 1.61 | 1.17 | 0.06 | 0 | 8.25 | 887.98 | 0 | 6.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 68 | 0.1 | 1.72 | 58.12 | 24.81 | 220.32 | 5.83 | 2.03 | 1.82 | 0.85 | 0.06 | 0 | 6.85 | 887.73 | 0 | 7.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 78 | 0.04 | 1.72 | 52.63 | 24.8 | 207.34 | 12.71 | 2.16 | 1.86 | 0.47 | 0.06 | 0 | 9.45 | 887.26 | 0 | 8.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 87 | 0.02 | 1.72 | 55.15 | 24.54 | 205.91 | 11.08 | 2.01 | 1.67 | 0.09 | 0.06 | 0 | 10.7 | 887.77 | 0 | 9.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 88 | 0.03 | 1.72 | 62.36 | 24.15 | 221.53 | 11 | 1.95 | 1.7 | 0.01 | 0.06 | 0 | 10.05 | 887.88 | 0 | 7.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 82 | 0.06 | 1.71 | 77.08 | 23.05 | 198.33 | 10.04 | 2.24 | 1.83 | 0 | 0.06 | 0 | 9.85 | 887.88 | 0 | 6.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 70 | 0.08 | 1.72 | 86.66 | 21.47 | 205.75 | 10 | 2.02 | 1.75 | 0 | 0.06 | 0 | 12.04 | 888.6 | 0 | 0.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 67 | 0.02 | 1.7 | 87.17 | 20.98 | 196.79 | 10 | 2.08 | 1.78 | 0 | 0.06 | 0 | 13.85 | 888.59 | 0 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 55 | 0.04 | 1.67 | 90.4 | 20.68 | 206.57 | 8.08 | 2.15 | 1.89 | 0 | 0.06 | 0 | 12.9 | 888.7 | 0 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 51 | 0.16 | 1.67 | 86.9 | 21.08 | 199.41 | 10.88 | 2.31 | 1.81 | 0 | 0.06 | 0 | 12.43 | 889.72 | 7.89 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 52 | 0.09 | 1.66 | 83.11 | 21.83 | 201.92 | 6.22 | 2.16 | 1.85 | 0 | 0.06 | 0 | 10.79 | 890.77 | 19.33 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 70.52 | 0.07 | 1.71 | 68.13 | 25.21 | 203.87 | 8.08 | 2.09 | 1.78 | 0.61 | 0.06 | 0 | 8.83 | 888.16 | 69.7 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 51 | 0 | 1.66 | 50.88 | 20.68 | 164.15 | 2 | 1.95 | 1.61 | 0 | 0.06 | 0 | 4.63 | 886.61 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 88 | 0.16 | 1.72 | 90.4 | 30.07 | 235.44 | 12.71 | 2.31 | 1.96 | 2.92 | 0.06 | 0 | 13.85 | 890.77 | 249.53 | 9.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 70.52 | 0.07 | 1.71 | 68.13 | 25.21 | 203.87 | 8.08 | 2.09 | 1.78 | 0.61 | 0.06 | 0 | 8.83 | 888.16 | 69.7 | 3.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 10 | 0.04 | 0.02 | 12.87 | 2.86 | 13.72 | 2.64 | 0.08 | 0.08 | 0.94 | 0 | 0 | 2.63 | 1.05 | 90.07 | 3.19 | 0 | 0 | 0 | 0 | 0
Mode | 75 | 0.02 | 1.72 | 83.02 | 23.36 | 235.44 | 10 | 2.06 | 1.81 | 0 | 0.06 | 0 | 8.37 | 887.77 | 0 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 70 | 0.06 | 1.72 | 69.55 | 24.81 | 205.53 | 8.92 | 2.1 | 1.79 | 0.03 | 0.06 | 0 | 8.25 | 887.98 | 7.89 | 2.62 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0