## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 15 |  |  |  | Date : 15/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 95 | 0 | 1.52 | 45.45 | 24.27 | 219.45 | 13 | 0.38 | 0.68 | 1.51 | 0.06 | 0 | 11.15 | 890.43 | 124.49 | 3.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 102 | 0 | 1.55 | 37.81 | 28.31 | 229.9 | 14 | 0.22 | 0.77 | 1.32 | 0.06 | 0 | 8.63 | 891.16 | 75.33 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 96 | 0 | 1.63 | 35.09 | 29.89 | 228.68 | 18 | 0.32 | 0.81 | 2.06 | 0.06 | 0.02 | 12.21 | 891.31 | 194.31 | 3.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 93 | 0.02 | 1.7 | 33.29 | 29.4 | 227.62 | 16.08 | 0.33 | 0.67 | 2.23 | 0.06 | 0 | 9.49 | 891.22 | 237.23 | 5.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 87 | 0 | 1.66 | 31.93 | 30.62 | 215.79 | 11.22 | 0.27 | 0.75 | 2.31 | 0.06 | 0 | 10.65 | 890.61 | 240.99 | 6.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 97 | 0 | 1.68 | 32.54 | 30.99 | 229.54 | 13.87 | 0.29 | 0.71 | 2.35 | 0.06 | 0 | 8.79 | 889.81 | 234.99 | 8.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 101 | 0 | 1.68 | 31.75 | 31.65 | 231.23 | 11.14 | 0.32 | 0.76 | 2.2 | 0.06 | 0 | 9.31 | 889.03 | 218 | 9.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 96 | 0 | 1.66 | 32.14 | 31.63 | 233.08 | 11.96 | 0.31 | 0.84 | 2.47 | 0.06 | 0 | 9.78 | 888.43 | 159.24 | 8.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 108 | 0 | 1.69 | 33.69 | 30.88 | 212.59 | 10.09 | 0.26 | 0.62 | 3.16 | 0.06 | 0 | 7.89 | 888.15 | 95.52 | 7.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 166 | 0 | 1.72 | 44.5 | 28.25 | 214.57 | 19.57 | 0.37 | 0.84 | 4.37 | 0.06 | 0 | 7.65 | 888.2 | 38.71 | 5.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 236 | 0 | 1.72 | 57.68 | 25.01 | 195.84 | 31.45 | 0.44 | 0.76 | 5.06 | 0.06 | 0 | 6.72 | 888.46 | 0.17 | 3.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 283 | 0.01 | 1.72 | 63.24 | 23.96 | 235.85 | 45.42 | 0.29 | 0.73 | 5.69 | 0.06 | 0 | 7.17 | 888.88 | 0 | 5.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 270 | 0.03 | 1.72 | 68.63 | 23.29 | 221.5 | 46 | 0.5 | 0.78 | 5.02 | 0.06 | 0 | 9.12 | 889.6 | 0 | 6.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 244 | 0.01 | 1.72 | 68.83 | 22.77 | 222.32 | 56 | 0.36 | 0.67 | 4.74 | 0.06 | 0 | 8.49 | 890.28 | 0 | 5.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 171 | 0.05 | 1.71 | 74.25 | 22.32 | 209.2 | 50.27 | 0.27 | 0.69 | 3.82 | 0.06 | 0 | 10.26 | 890.37 | 0 | 5.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 128 | 0 | 1.71 | 74.54 | 22.06 | 204.52 | 33.71 | 0.32 | 0.7 | 2.91 | 0.06 | 0 | 8.62 | 890 | 0 | 6.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 113 | 0 | 1.72 | 72.98 | 22.06 | 218.77 | 26.32 | 0.37 | 0.71 | 2.29 | 0.06 | 0 | 11.9 | 889.33 | 0 | 9.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 102 | 0.01 | 1.68 | 73.97 | 21.95 | 204.63 | 29.83 | 0.38 | 0.74 | 1.82 | 0.06 | 0 | 13.58 | 889.08 | 0 | 8.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 119 | 0 | 1.66 | 77.3 | 21.41 | 206.59 | 24.27 | 0.49 | 0.76 | 1.96 | 0.06 | 0 | 19.38 | 888.85 | 0 | 7.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 142 | 0 | 1.7 | 80.21 | 20.89 | 199.7 | 30.7 | 0.32 | 0.77 | 3.14 | 0.06 | 0 | 14.78 | 888.41 | 0 | 6.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 142 | 0 | 1.62 | 81 | 20.58 | 209.28 | 32.91 | 0.38 | 0.8 | 1.81 | 0.06 | 0 | 16.3 | 888.02 | 0 | 5.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 150 | 0 | 1.53 | 73.45 | 20.49 | 189.76 | 33.96 | 0.34 | 0.62 | 1.47 | 0.06 | 0 | 21.95 | 888.28 | 0 | 4.4 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 132 | 0.01 | 1.53 | 69.05 | 20.88 | 202.14 | 31.14 | 0.33 | 0.67 | 1.51 | 0.06 | 0 | 14.35 | 888.66 | 3.56 | 4.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 121 | 0 | 1.56 | 60.43 | 22.62 | 206.43 | 28.13 | 0.53 | 0.9 | 1.68 | 0.06 | 0 | 12.62 | 889.08 | 56.4 | 5.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 141.42 | 0.01 | 1.66 | 56.41 | 25.26 | 215.37 | 26.63 | 0.35 | 0.74 | 2.79 | 0.06 | 0 | 11.28 | 889.4 | 69.96 | 6.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 87 | 0 | 1.52 | 31.75 | 20.49 | 189.76 | 10.09 | 0.22 | 0.62 | 1.32 | 0.06 | 0 | 6.72 | 888.02 | 0 | 3.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 283 | 0.05 | 1.72 | 81 | 31.65 | 235.85 | 56 | 0.53 | 0.9 | 5.69 | 0.06 | 0.02 | 21.95 | 891.31 | 240.99 | 9.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 141.42 | 0.01 | 1.66 | 56.41 | 25.26 | 215.37 | 26.63 | 0.35 | 0.74 | 2.79 | 0.06 | 0 | 11.28 | 889.4 | 69.96 | 6.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 57.38 | 0.01 | 0.07 | 18.41 | 4.03 | 12.53 | 13.04 | 0.08 | 0.07 | 1.28 | 0 | 0 | 3.77 | 1.03 | 90.77 | 1.82 | 0 | 0 | 0 | 0 | 0
Mode | 102 | 0 | 1.72 | 45.45 | 22.06 | 219.45 | 13 | 0.32 | 0.67 | 1.51 | 0.06 | 0 | 11.15 | 889.08 | 0 | 3.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 121 | 0 | 1.68 | 63.24 | 23.96 | 215.79 | 28.13 | 0.33 | 0.75 | 2.31 | 0.06 | 0 | 10.26 | 889.08 | 3.56 | 5.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0