## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 18 |  |  |  | Date : 18/03/2024
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 18/03/2024
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 82 | 0.26 | 1.72 | 45.55 | 26.07 | 218.88 | 44.28 | 1.98 | 1.34 | 0 | 0.3 | 0 | 5.94 | 892.18 | 0 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
07-08Hr | 85 | 0.86 | 1.72 | 45.29 | 26.56 | 200.54 | 40.86 | 2.9 | 1.64 | 0.89 | 0.3 | 0 | 8.07 | 892.41 | 0 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
08-09Hr | 89 | 0.89 | 1.72 | 43.9 | 27.09 | 245.17 | 32.22 | 3.06 | 1.74 | 0 | 0.32 | 0 | 7.8 | 892.52 | 0 | 0 | 0.06 | 0.11 | 0.08 | 0.09 | 0.05
09-10Hr | 101 | 2.14 | 1.72 | 31.68 | 30.27 | 194.87 | 54.54 | 4.14 | 1.7 | 0 | 0.36 | 0 | 6.51 | 892.21 | 0 | 0 | 0.07 | 0.13 | 0.09 | 0.11 | 0.05
10-11Hr | 88 | 5.62 | 1.72 | 35.55 | 29.9 | 286.85 | 43.61 | 6.82 | 1.37 | 3.54 | 0.32 | 0 | 5.81 | 891.76 | 249.79 | 38.3 | 0.06 | 0.12 | 0.08 | 0.1 | 0.05
11-12Hr | 103 | 6.59 | 1.73 | 0 | 0 | 0 | 55.62 | 7.91 | 1.58 | 0.81 | 0.29 | 0 | 0 | 0 | 353.46 | 17.71 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
12-13Hr | 83 | 2.84 | 1.73 | 0 | 0 | 0 | 38.49 | 4.53 | 1.45 | 1.21 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
13-14Hr | 87 | 7.4 | 1.85 | 29.95 | 29.07 | 234.18 | 42.09 | 8.69 | 1.64 | 7.73 | 0.31 | 0 | 6.71 | 889.55 | 200.89 | 35.69 | 0.06 | 0.11 | 0.08 | 0.09 | 0.05
14-15Hr | 102 | 5.49 | 2 | 25.56 | 29.34 | 151.17 | 52.71 | 6.99 | 1.64 | 12.35 | 0.3 | 0 | 5.88 | 889.57 | 165.5 | 13.39 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
15-16Hr | 95 | 3.17 | 2 | 25.05 | 26.83 | 243.19 | 49.27 | 4.99 | 1.61 | 8.66 | 0.33 | 0 | 8.24 | 889.39 | 72.63 | 0 | 0.07 | 0.12 | 0.08 | 0.1 | 0.05
16-17Hr | 102 | 2.81 | 2 | 31.4 | 23.64 | 218.76 | 46.35 | 4.85 | 1.75 | 3.57 | 0.37 | 0 | 5.54 | 889.51 | 0.96 | 0 | 0.07 | 0.13 | 0.09 | 0.11 | 0.05
17-18Hr | 99 | 2.34 | 2 | 35.61 | 22.61 | 202.43 | 49.05 | 4.49 | 1.78 | 3.81 | 0.41 | 0 | 5.36 | 889.65 | 0 | 0 | 0.08 | 0.14 | 0.1 | 0.12 | 0.06
18-19Hr | 114 | 1.7 | 2 | 30.74 | 23.11 | 211.38 | 61.56 | 3.65 | 1.64 | 1.89 | 0.41 | 0 | 5.27 | 889.89 | 0 | 0 | 0.08 | 0.14 | 0.1 | 0.12 | 0.06
19-20Hr | 83 | 1.03 | 2 | 31.57 | 23.09 | 221.6 | 37.74 | 2.87 | 1.49 | 0.67 | 0.4 | 0 | 6.33 | 890.53 | 0 | 0 | 0.08 | 0.14 | 0.1 | 0.12 | 0.06
20-21Hr | 66 | 0.67 | 2 | 30.23 | 22.57 | 220.93 | 29.79 | 2.57 | 1.53 | 0.01 | 0.39 | 0 | 7.26 | 890.61 | 0 | 0 | 0.08 | 0.14 | 0.1 | 0.12 | 0.06
21-22Hr | 72 | 0.45 | 1.99 | 30.3 | 22.35 | 245.5 | 38.88 | 2.59 | 1.69 | 0 | 0.39 | 0 | 6.76 | 890.52 | 0 | 0 | 0.08 | 0.13 | 0.1 | 0.12 | 0.06
22-23Hr | 67 | 0.23 | 2 | 31.68 | 22.13 | 223.39 | 29.98 | 2.18 | 1.58 | 0 | 0.38 | 0 | 11.11 | 890.4 | 0 | 0 | 0.08 | 0.13 | 0.1 | 0.11 | 0.06
23-00Hr | 68 | 0.1 | 1.99 | 32.14 | 22.08 | 226.88 | 31.55 | 2.01 | 1.55 | 0.11 | 0.37 | 0 | 9 | 890.26 | 0 | 0 | 0.07 | 0.13 | 0.09 | 0.11 | 0.06
00-01Hr | 72 | 0.08 | 1.99 | 33.12 | 21.71 | 246.1 | 37.35 | 1.94 | 1.67 | 0 | 0.35 | 0 | 7.51 | 889.93 | 0 | 0 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
01-02Hr | 61 | 0.07 | 2 | 34.42 | 21.58 | 234.77 | 29.05 | 1.68 | 1.48 | 0 | 0.35 | 0 | 5.48 | 889.66 | 0 | 0 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
02-03Hr | 57 | 0 | 1.95 | 34.42 | 21.33 | 242.49 | 26.66 | 1.46 | 1.52 | 0 | 0.34 | 0 | 6.23 | 889.34 | 0 | 0 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
03-04Hr | 66 | 0.08 | 1.88 | 34.57 | 21.34 | 234.81 | 34.24 | 1.81 | 1.55 | 0 | 0.33 | 0 | 6.01 | 889.47 | 0 | 0 | 0.07 | 0.12 | 0.08 | 0.1 | 0.05
04-05Hr | 62 | 0.13 | 1.81 | 34.53 | 21.37 | 218 | 30.49 | 2.04 | 1.61 | 0 | 0.3 | 0 | 11.04 | 889.8 | 1.67 | 0.13 | 0.06 | 0.1 | 0.08 | 0.09 | 0.04
05-06Hr | 70 | 0.13 | 1.73 | 32.3 | 22.63 | 238.93 | 34.56 | 2.04 | 1.54 | 0 | 0.29 | 0 | 8.54 | 890.71 | 42.55 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Avg | 82.25 | 1.88 | 1.89 | 33.62 | 24.39 | 225.49 | 40.46 | 3.67 | 1.59 | 1.89 | 0.34 | 0 | 7.11 | 890.45 | 57.23 | 4.38 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
Min | 57 | 0 | 1.72 | 25.05 | 21.33 | 151.17 | 26.66 | 1.46 | 1.34 | 0 | 0.29 | 0 | 5.27 | 889.34 | 0 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
Max | 114 | 7.4 | 2 | 45.55 | 30.27 | 286.85 | 61.56 | 8.69 | 1.78 | 12.35 | 0.41 | 0 | 11.11 | 892.52 | 353.46 | 38.3 | 0.08 | 0.14 | 0.1 | 0.12 | 0.06
Geom.Mean | 82.25 | 1.88 | 1.89 | 33.62 | 24.39 | 225.49 | 40.46 | 3.67 | 1.59 | 1.89 | 0.34 | 0 | 7.11 | 890.45 | 57.23 | 4.38 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
Median | 15.74 | 2.21 | 0.12 | 5.22 | 3.04 | 25.24 | 9.41 | 2.05 | 0.11 | 3.22 | 0.04 | 0 | 1.64 | 1.05 | 102.58 | 10.75 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Mode | 83 | 0.08 | 2 | 31.68 | 26.07 | 218.88 | 44.28 | 2.04 | 1.64 | 0 | 0.3 | 0 | 5.94 | 892.18 | 0 | 0 | 0.06 | 0.1 | 0.07 | 0.09 | 0.05
Std.Deviation | 83 | 0.89 | 1.99 | 32.3 | 23.09 | 226.88 | 38.88 | 2.9 | 1.61 | 0.11 | 0.34 | 0 | 6.71 | 890.26 | 0 | 0 | 0.07 | 0.12 | 0.09 | 0.1 | 0.05
Valid Data Points | 24 | 24 | 24 | 22 | 22 | 22 | 24 | 24 | 24 | 24 | 24 | 22 | 22 | 22 | 19 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 91 | 91 | 91 | 100 | 100 | 100 | 100 | 100 | 91 | 91 | 91 | 79 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0