## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 15 |  |  |  | Date : 15/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 15/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 24 | 0 | 1.62 | 90.64 | 19.08 | 244.65 | 0.07 | 0.91 | 1.28 | 0.77 | 0.06 | 0.88 | 12.65 | 890.91 | 1.77 | 2.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 17 | 0.03 | 1.68 | 95.15 | 18.36 | 221.64 | 0 | 0.76 | 1.08 | 0.44 | 0.06 | 0.07 | 13.25 | 890.64 | 22.91 | 7.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 20 | 0.09 | 1.69 | 91.98 | 18.7 | 234.07 | 0 | 0.98 | 1 | 1.36 | 0.06 | 0 | 15.24 | 890.08 | 54.06 | 29.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 22 | 0.04 | 1.61 | 76.21 | 22.13 | 220.55 | 12 | 0.9 | 0.95 | 3.36 | 0.06 | 0 | 6.41 | 890.12 | 178.65 | 26.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 31 | 0.03 | 1.69 | 70 | 23.49 | 232.15 | 9 | 0.92 | 1.02 | 1.81 | 0.06 | 0 | 11.23 | 889.84 | 243.14 | 1.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 35 | 0 | 1.72 | 58.99 | 25.92 | 213.21 | 4 | 0.81 | 1.15 | 1.76 | 0.06 | 0 | 8.14 | 889.14 | 256.24 | 0.28 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 24.46 | 0.01 | 1.72 | 50.3 | 28.97 | 207.65 | 0.17 | 0.93 | 1.06 | 1.49 | 0.06 | 0 | 9.97 | 888.39 | 220.23 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 16 | 0.04 | 1.72 | 50.4 | 29.3 | 228.15 | 0 | 1.05 | 1 | 3.29 | 0.06 | 0 | 6.94 | 887.51 | 158.19 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 22 | 0.03 | 1.71 | 56.42 | 27.29 | 236.12 | 0 | 0.77 | 0.87 | 2.42 | 0.06 | 0 | 8.35 | 886.86 | 74.67 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 20.1 | 0.05 | 1.72 | 56.35 | 27.18 | 217.93 | 0 | 0.97 | 0.98 | 1.45 | 0.06 | 0.02 | 5.57 | 886.79 | 47.36 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 29 | 0.03 | 1.72 | 66.32 | 24.48 | 240.46 | 0 | 0.89 | 1.09 | 1.53 | 0.06 | 0 | 8.33 | 887.11 | 2.65 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 30 | 0.05 | 1.72 | 75.74 | 22.99 | 199.31 | 1.91 | 0.77 | 0.95 | 1.76 | 0.06 | 0 | 15.77 | 887.41 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 24 | 0.04 | 1.71 | 78.83 | 22.52 | 209.62 | 0 | 0.99 | 1.02 | 1.45 | 0.06 | 0 | 6.79 | 888.35 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 17 | 0.05 | 1.69 | 80.22 | 22.29 | 212.83 | 0 | 0.75 | 0.99 | 1.02 | 0.06 | 0 | 7.74 | 889.14 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 8 | 0 | 1.7 | 82.17 | 21.96 | 209.58 | 0 | 0.74 | 0.97 | 0.64 | 0.06 | 0 | 9.6 | 889.38 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 12 | 0.04 | 1.7 | 81.26 | 22 | 214.94 | 0 | 0.98 | 1.07 | 0.25 | 0.06 | 0 | 10.67 | 889.13 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 11 | 0.01 | 1.66 | 84.71 | 21.61 | 202.98 | 0 | 0.96 | 1.16 | 0.61 | 0.06 | 0 | 11.76 | 888.8 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 7 | 0.07 | 1.69 | 91.12 | 20.76 | 209.7 | 0 | 1.17 | 1.05 | 0.35 | 0.06 | 0 | 13.77 | 888.7 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 10 | 0.02 | 1.68 | 93.19 | 20.43 | 206.11 | 0 | 0.96 | 1.09 | 0.22 | 0.06 | 0 | 16.59 | 888.47 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 10 | 0.05 | 1.69 | 93.9 | 20.2 | 211.71 | 0 | 0.91 | 1.15 | 0.07 | 0.06 | 0 | 13.83 | 888.1 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 18 | 0 | 1.64 | 94.96 | 20.07 | 213.52 | 0 | 0.83 | 0.98 | 0.12 | 0.06 | 0 | 14.04 | 888.26 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 17 | 0.01 | 1.66 | 96.2 | 20.09 | 202.2 | 0 | 0.84 | 1.07 | 0.07 | 0.06 | 0 | 13.08 | 888.41 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 13 | 0 | 1.68 | 94.51 | 20.52 | 213.6 | 0 | 1.01 | 1.08 | 0.25 | 0.06 | 0 | 14.68 | 888.51 | 19.94 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 12 | 0.02 | 1.66 | 84.01 | 22.9 | 225.43 | 0 | 0.79 | 1.02 | 0.44 | 0.06 | 0 | 10.08 | 888.89 | 76.37 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 18.73 | 0.03 | 1.69 | 78.9 | 22.63 | 217.84 | 1.13 | 0.9 | 1.05 | 1.12 | 0.06 | 0.04 | 11.02 | 888.71 | 56.51 | 2.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 7 | 0 | 1.61 | 50.3 | 18.36 | 199.31 | 0 | 0.74 | 0.87 | 0.07 | 0.06 | 0 | 5.57 | 886.79 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 35 | 0.09 | 1.72 | 96.2 | 29.3 | 244.65 | 12 | 1.17 | 1.28 | 3.36 | 0.06 | 0.88 | 16.59 | 890.91 | 256.24 | 29.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 18.73 | 0.03 | 1.69 | 78.9 | 22.63 | 217.84 | 1.13 | 0.9 | 1.05 | 1.12 | 0.06 | 0.04 | 11.02 | 888.71 | 56.51 | 2.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 7.55 | 0.02 | 0.03 | 14.9 | 3.05 | 12.25 | 2.99 | 0.11 | 0.08 | 0.93 | 0 | 0.18 | 3.19 | 1.09 | 84.43 | 7.67 | 0 | 0 | 0 | 0 | 0
Mode | 17 | 0 | 1.72 | 90.64 | 19.08 | 244.65 | 0 | 0.91 | 1.02 | 0.44 | 0.06 | 0 | 12.65 | 889.14 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 18 | 0.03 | 1.69 | 82.17 | 22.13 | 213.6 | 0 | 0.91 | 1.05 | 1.02 | 0.06 | 0 | 11.23 | 888.7 | 2.65 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0