## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-02-01 | Station Name : |  | Sikulpuikawn |  |  | FEBRUARY
Report No |  | 2 |  |  |  | Date : 02/02/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 02/02/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 104 | 0 | 1.72 | 73.36 | 19.29 | 212.86 | 27 | 0.62 | 1.36 | 9.54 | 0.06 | 0 | 10.82 | 889.15 | 65.03 | 16.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 100 | 0 | 1.72 | 66.91 | 21.56 | 204.65 | 29 | 0.75 | 1.39 | 10.03 | 0.06 | 0 | 10.1 | 889.94 | 49.02 | 17.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 105 | 0 | 1.72 | 62.01 | 22.37 | 206.13 | 25 | 0.68 | 1.29 | 9.62 | 0.06 | 0 | 13.6 | 890.31 | 136.35 | 19.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 94 | 0 | 1.72 | 57.3 | 22.55 | 221.09 | 23 | 0.5 | 1.24 | 4.96 | 0.06 | 0 | 15.64 | 890.06 | 224.95 | 21.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 98 | 0 | 1.72 | 49.26 | 23.72 | 217.5 | 24 | 0.91 | 1.44 | 4.8 | 0.06 | 0 | 12.34 | 889.4 | 250.4 | 25.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 83 | 0 | 1.72 | 48.25 | 24.05 | 239.66 | 28 | 0.84 | 1.31 | 3.32 | 0.06 | 0 | 12.56 | 888.64 | 240.5 | 25.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 86 | 0 | 1.72 | 43.95 | 25.19 | 221.01 | 23 | 0.54 | 1.41 | 3.77 | 0.06 | 0 | 14.76 | 887.87 | 215.46 | 24.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 91 | 0 | 1.72 | 43.65 | 25.58 | 221.91 | 24 | 0.63 | 1.22 | 3.67 | 0.06 | 0 | 12.73 | 887.36 | 168.84 | 20.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 92 | 0 | 1.72 | 46.63 | 24.12 | 224.95 | 16 | 0.66 | 1.33 | 3.75 | 0.06 | 0 | 7.43 | 887.15 | 112.77 | 17.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 89 | 0 | 1.72 | 53.57 | 21.31 | 216.64 | 24 | 0.84 | 1.32 | 4.02 | 0.06 | 0 | 9.49 | 887.13 | 37.68 | 14.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 85 | 0 | 1.72 | 64.73 | 18.35 | 199.94 | 18 | 0.77 | 1.56 | 3.99 | 0.06 | 0 | 8.72 | 887.33 | 0 | 11.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 102 | 0 | 1.72 | 75.52 | 17.25 | 208.07 | 21 | 0.43 | 1.04 | 3.37 | 0.06 | 0 | 10.32 | 887.67 | 0 | 14.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 98 | 0 | 1.72 | 78.6 | 16.72 | 240.54 | 19 | 0.65 | 1.33 | 3.7 | 0.06 | 0 | 11.6 | 888.15 | 0 | 13.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 104 | 0 | 1.72 | 83.64 | 16.61 | 210.68 | 16 | 0.9 | 1.42 | 2.84 | 0.06 | 0 | 17.1 | 888.64 | 0 | 15.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 106 | 0 | 1.72 | 88.77 | 16.29 | 221.44 | 20 | 0.8 | 1.47 | 2.76 | 0.06 | 0 | 18.19 | 888.91 | 0 | 14.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 109 | 0.04 | 1.72 | 91.8 | 15.87 | 212.47 | 26 | 0.81 | 1.15 | 2.86 | 0.06 | 0 | 18.67 | 888.91 | 0 | 15.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 105 | 0.02 | 1.72 | 93.94 | 15.28 | 216.23 | 21 | 0.97 | 1.34 | 3.16 | 0.06 | 0 | 26.45 | 888.76 | 0 | 12.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 110 | 0 | 1.72 | 95.6 | 15.17 | 237.95 | 25 | 0.67 | 1.29 | 3.28 | 0.06 | 0 | 23.78 | 888.36 | 0 | 13.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 103 | 0 | 1.72 | 91.77 | 15.34 | 221.83 | 20 | 0.47 | 1.24 | 3.21 | 0.06 | 0 | 20.85 | 887.97 | 0 | 15.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 100 | 0 | 1.72 | 92.18 | 15.2 | 206.32 | 26 | 0.52 | 1.27 | 3.31 | 0.06 | 0 | 21.36 | 887.58 | 0 | 17.51 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 108 | 0 | 1.72 | 95.21 | 14.69 | 219.37 | 23 | 0.85 | 1.48 | 5.65 | 0.06 | 0 | 29.29 | 887.3 | 0 | 17.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 109 | 0 | 1.72 | 96.49 | 14.32 | 228.21 | 26 | 0.49 | 1.13 | 9.89 | 0.06 | 0 | 25.21 | 887.45 | 0 | 15.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 110 | 0 | 1.72 | 92.71 | 13.9 | 208.22 | 28 | 0.61 | 1.17 | 9.47 | 0.06 | 0 | 20.95 | 887.87 | 0 | 15.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 110 | 0 | 1.72 | 81.4 | 15.23 | 203.27 | 26 | 0.9 | 1.36 | 8.61 | 0.06 | 0 | 14.74 | 888.57 | 35.84 | 13.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 100.04 | 0 | 1.72 | 73.64 | 18.75 | 217.54 | 23.25 | 0.7 | 1.31 | 5.15 | 0.06 | 0 | 16.11 | 888.35 | 64.03 | 17.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 83 | 0 | 1.72 | 43.65 | 13.9 | 199.94 | 16 | 0.43 | 1.04 | 2.76 | 0.06 | 0 | 7.43 | 887.13 | 0 | 11.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 110 | 0.04 | 1.72 | 96.49 | 25.58 | 240.54 | 29 | 0.97 | 1.56 | 10.03 | 0.06 | 0 | 29.29 | 890.31 | 250.4 | 25.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 100.04 | 0 | 1.72 | 73.64 | 18.75 | 217.54 | 23.25 | 0.7 | 1.31 | 5.15 | 0.06 | 0 | 16.11 | 888.35 | 64.03 | 17.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 8.36 | 0.01 | 0 | 18.65 | 3.87 | 10.98 | 3.61 | 0.16 | 0.12 | 2.62 | 0 | 0 | 5.94 | 0.93 | 88.58 | 3.77 | 0 | 0 | 0 | 0 | 0
Mode | 110 | 0 | 1.72 | 73.36 | 19.29 | 212.86 | 26 | 0.84 | 1.36 | 9.54 | 0.06 | 0 | 10.82 | 888.64 | 0 | 16.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 103 | 0 | 1.72 | 78.6 | 17.25 | 217.5 | 24 | 0.68 | 1.33 | 3.77 | 0.06 | 0 | 14.76 | 888.36 | 0 | 15.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0