## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 1 |  |  |  | Date : 01/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 114 | 0.01 | 1.67 | 68.8 | 24.65 | 199.39 | 27.69 | 0.99 | 1.06 | 2.56 | 0.06 | 0 | 12.91 | 889.52 | 135.89 | 0.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 115 | 0.02 | 1.6 | 59.05 | 27.25 | 221.91 | 25 | 0.85 | 1.11 | 2.55 | 0.06 | 0 | 10.46 | 890.19 | 174.61 | 1.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 109 | 0.02 | 1.65 | 53.04 | 28.03 | 248.85 | 25 | 0.77 | 1.05 | 3.08 | 0.06 | 0 | 8.27 | 890.27 | 218.44 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 109.96 | 0.06 | 1.72 | 47.66 | 28.82 | 226.81 | 32.67 | 0.96 | 0.98 | 2.81 | 0.06 | 0 | 10.1 | 889.98 | 253.23 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 128 | 0.01 | 1.68 | 47.98 | 29.86 | 221.34 | 27 | 0.86 | 1 | 2.2 | 0.06 | 0 | 6.89 | 889.43 | 257.88 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 117.48 | 0.04 | 1.72 | 43.15 | 30.5 | 218.09 | 22.21 | 0.86 | 0.93 | 2.62 | 0.06 | 0 | 6.95 | 888.63 | 241.17 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 123 | 0.05 | 1.72 | 34.26 | 31.89 | 220.28 | 25 | 0.84 | 1.08 | 3.65 | 0.06 | 0 | 8.06 | 887.9 | 216.19 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 119 | 0.01 | 1.72 | 32.78 | 31.91 | 231.88 | 22 | 0.85 | 0.94 | 4.24 | 0.06 | 0 | 6.58 | 887.36 | 161.22 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 113 | 0.01 | 1.72 | 28.97 | 31.95 | 218.77 | 15 | 0.74 | 0.93 | 5.29 | 0.06 | 0 | 15.95 | 887 | 122.55 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 107.25 | 0.07 | 1.72 | 33.78 | 29.91 | 236.6 | 21.71 | 0.88 | 0.99 | 5.26 | 0.06 | 0 | 9.63 | 886.98 | 47.34 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 114 | 0 | 1.72 | 50.71 | 25.99 | 205.34 | 15 | 0.73 | 1.02 | 5.63 | 0.06 | 0 | 8.52 | 887.17 | 0.63 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 146 | 0.03 | 1.72 | 60.97 | 24.59 | 203.59 | 20 | 0.81 | 0.93 | 6.7 | 0.06 | 0 | 7.56 | 887.65 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 136 | 0.02 | 1.72 | 70.37 | 23.85 | 208.45 | 23 | 0.8 | 0.96 | 5.52 | 0.06 | 0 | 7.51 | 888.18 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 125.58 | 0.04 | 1.72 | 75.07 | 23.14 | 221.72 | 20.16 | 0.96 | 1.14 | 4.72 | 0.06 | 0 | 9.43 | 888.62 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 125.96 | 0.05 | 1.72 | 80.49 | 22.35 | 213.51 | 18.08 | 0.91 | 1.03 | 3.41 | 0.06 | 0 | 12.16 | 888.77 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 124 | 0.03 | 1.72 | 86.62 | 21.53 | 210.26 | 21 | 0.82 | 1.09 | 2.57 | 0.06 | 0 | 18.77 | 888.84 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 123 | 0.05 | 1.71 | 90.36 | 21.29 | 218.8 | 18 | 0.94 | 1.01 | 2.36 | 0.06 | 0 | 21.74 | 888.78 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 115 | 0.04 | 1.71 | 90.39 | 21.54 | 216.69 | 13 | 1 | 0.98 | 2.14 | 0.06 | 0 | 22.71 | 888.39 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 115 | 0.03 | 1.72 | 92.15 | 20.81 | 232.43 | 21 | 0.92 | 1.16 | 1.91 | 0.06 | 0 | 19.68 | 887.86 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 116 | 0.03 | 1.68 | 94.18 | 20.37 | 239.49 | 18 | 1.1 | 1.09 | 1.8 | 0.06 | 0 | 21.39 | 887.78 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 108 | 0.08 | 1.68 | 93.99 | 20.02 | 244.77 | 16.08 | 1.03 | 1.04 | 1.63 | 0.06 | 0 | 20.29 | 887.9 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 103 | 0.02 | 1.65 | 93.42 | 19.78 | 232.45 | 16.95 | 0.77 | 1 | 1.44 | 0.06 | 0 | 23.76 | 888.2 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 105 | 0.07 | 1.62 | 89.2 | 20.05 | 215.32 | 15 | 0.68 | 1.01 | 1.47 | 0.06 | 0 | 19.7 | 889.08 | 10.65 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 108 | 0.04 | 1.62 | 81.85 | 22.65 | 212.64 | 16 | 0.76 | 0.96 | 1.71 | 0.06 | 0 | 12.56 | 889.92 | 66.38 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 117.51 | 0.03 | 1.69 | 66.64 | 25.11 | 221.64 | 20.61 | 0.87 | 1.02 | 3.22 | 0.06 | 0 | 13.4 | 888.52 | 79.42 | 0.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 103 | 0 | 1.6 | 28.97 | 19.78 | 199.39 | 13 | 0.68 | 0.93 | 1.44 | 0.06 | 0 | 6.58 | 886.98 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 146 | 0.08 | 1.72 | 94.18 | 31.95 | 248.85 | 32.67 | 1.1 | 1.16 | 6.7 | 0.06 | 0 | 23.76 | 890.27 | 257.88 | 1.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 117.51 | 0.03 | 1.69 | 66.64 | 25.11 | 221.64 | 20.61 | 0.87 | 1.02 | 3.22 | 0.06 | 0 | 13.4 | 888.52 | 79.42 | 0.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 9.9 | 0.02 | 0.04 | 22.27 | 4.19 | 12.61 | 4.72 | 0.1 | 0.07 | 1.51 | 0 | 0 | 5.84 | 0.98 | 97.59 | 0.45 | 0 | 0 | 0 | 0 | 0
Mode | 115 | 0.01 | 1.72 | 68.8 | 24.65 | 199.39 | 25 | 0.85 | 0.93 | 2.56 | 0.06 | 0 | 12.91 | 887.9 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 115 | 0.03 | 1.72 | 70.37 | 24.59 | 220.28 | 21 | 0.86 | 1.01 | 2.62 | 0.06 | 0 | 12.16 | 888.62 | 10.65 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0