## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 14 |  |  |  | Date : 14/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 14/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 100 | 0 | 1.5 | 54.94 | 22.72 | 205.25 | 28 | 0.34 | 0.76 | 0.7 | 0.06 | 0 | 12.06 | 889.45 | 107.15 | 11.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 104 | 0.05 | 1.55 | 49.43 | 24.9 | 216.96 | 27.06 | 0.56 | 0.84 | 1.12 | 0.06 | 0 | 10.66 | 890.11 | 86.83 | 9.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 103 | 0.03 | 1.58 | 49.86 | 25.16 | 219.47 | 23.21 | 0.43 | 0.75 | 2.02 | 0.06 | 0 | 10.81 | 890.31 | 156.62 | 9.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 121 | 0.01 | 1.54 | 50.3 | 25.14 | 218.99 | 16.29 | 0.35 | 0.69 | 2.2 | 0.06 | 0 | 12.23 | 890.11 | 180.73 | 11.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 103 | 0.01 | 1.6 | 43.99 | 27.41 | 222.01 | 12.17 | 0.26 | 0.7 | 1.88 | 0.06 | 0 | 10.06 | 889.49 | 212.37 | 11.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 96 | 0 | 1.7 | 43.94 | 27.02 | 222.08 | 22.54 | 0.36 | 0.68 | 2.27 | 0.06 | 0 | 9.35 | 888.63 | 102.3 | 10.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 99 | 0.01 | 1.69 | 42.83 | 28.23 | 209.9 | 23 | 0.49 | 0.76 | 2.84 | 0.06 | 0 | 9.28 | 887.9 | 119.77 | 8.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 103 | 0 | 1.72 | 41.5 | 28.56 | 209.99 | 21.08 | 0.39 | 0.7 | 3.6 | 0.06 | 0 | 9.19 | 887.4 | 138.44 | 11.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 106 | 0 | 1.72 | 47.08 | 26.69 | 229.74 | 22 | 0.36 | 0.79 | 3.88 | 0.06 | 0 | 8.87 | 887.01 | 87.44 | 15.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 122 | 0 | 1.71 | 53 | 25.22 | 200.38 | 24.88 | 0.37 | 0.71 | 4.19 | 0.06 | 0 | 6.79 | 886.92 | 37.85 | 17.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 136 | 0 | 1.71 | 60.82 | 23.51 | 206.31 | 25 | 0.24 | 0.71 | 4.31 | 0.06 | 0 | 8.79 | 887.03 | 0.35 | 19.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 126 | 0 | 1.67 | 65.12 | 22.73 | 205.69 | 35 | 0.32 | 0.77 | 3.36 | 0.06 | 0 | 8.69 | 887.26 | 0 | 13.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 122 | 0.01 | 1.71 | 61.4 | 22.14 | 206.19 | 31 | 0.28 | 0.59 | 1.93 | 0.06 | 0 | 9.13 | 887.75 | 0 | 10.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 89 | 0 | 1.67 | 56.09 | 21.87 | 217.58 | 25 | 0.31 | 0.7 | 1.32 | 0.06 | 0 | 9.83 | 888.1 | 0 | 6.06 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 83 | 0 | 1.66 | 54.16 | 21.56 | 220.92 | 20 | 0.27 | 0.77 | 1.04 | 0.06 | 0 | 18.12 | 888.14 | 0 | 6.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 78 | 0 | 1.57 | 57.04 | 20.84 | 197.71 | 14 | 0.32 | 0.87 | 1.01 | 0.06 | 0 | 15.97 | 888.31 | 0 | 8.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 76 | 0.02 | 1.54 | 60.66 | 20.41 | 211.82 | 18.79 | 0.28 | 0.8 | 0.93 | 0.06 | 0 | 13.53 | 888.4 | 0 | 8.92 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 65 | 0.03 | 1.55 | 67.01 | 19.8 | 197.54 | 16.13 | 0.49 | 0.85 | 0.73 | 0.06 | 0 | 14.13 | 888.2 | 0 | 6.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 65 | 0 | 1.53 | 65.53 | 19.77 | 212.09 | 9.32 | 0.38 | 0.93 | 0.66 | 0.06 | 0 | 14.17 | 887.82 | 0 | 6.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 57 | 0.03 | 1.67 | 60.46 | 19.94 | 216.19 | 10.91 | 0.39 | 0.71 | 3.34 | 0.06 | 0 | 16.33 | 887.35 | 0 | 7.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 58 | 0 | 1.56 | 57.78 | 19.79 | 202.17 | 11 | 0.36 | 0.79 | 1.21 | 0.06 | 0 | 15.18 | 887.09 | 0 | 5.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 57 | 0.02 | 1.56 | 55.66 | 19.87 | 209.96 | 11 | 0.27 | 0.82 | 0.59 | 0.06 | 0 | 13.14 | 887.8 | 0 | 4.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 63 | 0 | 1.56 | 55.68 | 19.91 | 197.26 | 11 | 0.43 | 0.8 | 0.81 | 0.06 | 0 | 13.89 | 888.66 | 2.57 | 4.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 77 | 0.02 | 1.51 | 59.22 | 20.47 | 204.58 | 12.91 | 0.25 | 0.75 | 0.88 | 0.06 | 0 | 12.34 | 889.41 | 57.12 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 92.04 | 0.01 | 1.62 | 54.73 | 23.07 | 210.87 | 19.64 | 0.35 | 0.76 | 1.95 | 0.06 | 0 | 11.77 | 888.28 | 53.73 | 9.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 57 | 0 | 1.5 | 41.5 | 19.77 | 197.26 | 9.32 | 0.24 | 0.59 | 0.59 | 0.06 | 0 | 6.79 | 886.92 | 0 | 2.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 136 | 0.05 | 1.72 | 67.01 | 28.56 | 229.74 | 35 | 0.56 | 0.93 | 4.31 | 0.06 | 0 | 18.12 | 890.31 | 212.37 | 19.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 92.04 | 0.01 | 1.62 | 54.73 | 23.07 | 210.87 | 19.64 | 0.35 | 0.76 | 1.95 | 0.06 | 0 | 11.77 | 888.28 | 53.73 | 9.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 23.48 | 0.01 | 0.08 | 7.2 | 2.94 | 8.72 | 7.01 | 0.08 | 0.07 | 1.21 | 0 | 0 | 2.87 | 1.03 | 67.19 | 4.03 | 0 | 0 | 0 | 0 | 0
Mode | 103 | 0 | 1.71 | 54.94 | 22.72 | 205.25 | 11 | 0.36 | 0.7 | 0.7 | 0.06 | 0 | 12.06 | 890.11 | 0 | 4.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 99 | 0 | 1.6 | 55.68 | 22.72 | 209.99 | 21.08 | 0.36 | 0.76 | 1.88 | 0.06 | 0 | 12.06 | 888.14 | 2.57 | 9.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0