## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | MARCH
Report No |  | 2025-03-01 | [8 empty] | Date : 31/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 31/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
Day 1 | 121.6 | 0.01 | 1.67 | 55.07 | 24.23 | 216.98 | 19.19 | 0.4 | 0.76 | 4.14 | 0.06 | 0 | 10.07 | 889.1 | 95.16 | 8.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 2 | 75.98 | 0.01 | 1.65 | 56.62 | 22.85 | 211.44 | 13.17 | 0.34 | 0.74 | 2.22 | 0.06 | 0 | 11.19 | 886.97 | 72.2 | 9.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 3 | 101.8 | 0.01 | 1.6 | 61.17 | 21.53 | 210.2 | 11.68 | 0.41 | 0.81 | 1.95 | 0.06 | 0 | 12.06 | 887.8 | 36.33 | 1.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 4 | 96.69 | 0.02 | 1.67 | 45.98 | 22.48 | 214.35 | 8.46 | 0.38 | 0.77 | 3.74 | 0.06 | 0 | 11.2 | 887.32 | 81.79 | 4.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 5 | 117.81 | 0.01 | 1.63 | 45.17 | 21.44 | 208.64 | 10.92 | 0.36 | 0.77 | 2.8 | 0.06 | 0 | 11.6 | 886.54 | 68.48 | 4.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 6 | 126.74 | 0.01 | 1.65 | 43.61 | 21.65 | 211.79 | 10.81 | 0.36 | 0.76 | 4.1 | 0.06 | 0 | 10.83 | 887.84 | 72.19 | 3.93 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 7 | 121.28 | 0.01 | 1.62 | 44.59 | 20.46 | 212.06 | 15.1 | 0.37 | 0.79 | 3.05 | 0.06 | 0 | 11.31 | 885.95 | 71.33 | 8.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 8 | 109.3 | 0.01 | 1.65 | 40.71 | 20.97 | 217.87 | 12.03 | 0.37 | 0.77 | 4.44 | 0.06 | 0 | 11.36 | 886.89 | 70.33 | 7.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 9 | 88.92 | 0.01 | 1.59 | 43.15 | 21.9 | 210.51 | 8.86 | 0.38 | 0.77 | 3.42 | 0.06 | 0 | 12.23 | 890.37 | 71.81 | 4.68 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Day 10 | 96.76 | 0.01 | 1.6 | 35.69 | 22.15 | 211.68 | 10.5 | 0.36 | 0.77 | 4.7 | 0.06 | 0 | 11.94 | 891.94 | 67.03 | 4.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 11 | 130.81 | 0.01 | 1.62 | 51.36 | 22.83 | 214.17 | 18.77 | 0.36 | 0.77 | 3.6 | 0.06 | 0 | 11.36 | 890.29 | 64.4 | 5.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 12 | 118.56 | 0.01 | 1.63 | 54.42 | 22.27 | 212.71 | 19.31 | 0.35 | 0.78 | 3.24 | 0.06 | 0 | 11.5 | 887.26 | 63.13 | 12.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 13 | 106.88 | 0.01 | 1.64 | 49.48 | 23.33 | 214.92 | 18.19 | 0.35 | 0.75 | 2.75 | 0.06 | 0 | 11.62 | 886.38 | 72.39 | 13.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 14 | 101.94 | 0.01 | 1.63 | 57.93 | 23.1 | 211.09 | 22.9 | 0.34 | 0.74 | 2.22 | 0.06 | 0 | 11.83 | 887.88 | 54.22 | 12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 15 | 120.08 | 0.01 | 1.64 | 52.49 | 24.84 | 216 | 20.97 | 0.34 | 0.76 | 2.55 | 0.06 | 0 | 10.72 | 889.19 | 69.66 | 5.97 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 16 | 108.44 | 0.01 | 1.67 | 59.79 | 24.91 | 211.36 | 23.1 | 0.39 | 0.75 | 2.85 | 0.06 | 0 | 12.24 | 888.59 | 73.52 | 8.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 17 | 71.51 | 0.01 | 1.66 | 56.63 | 24.12 | 215.51 | 10.75 | 0.37 | 0.76 | 1.83 | 0.06 | 0 | 10.88 | 887.99 | 46.41 | 6.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 18 | 75.28 | 0.04 | 1.63 | 73.51 | 22.72 | 209.23 | 18.33 | 0.44 | 0.8 | 2.48 | 0.06 | 0.02 | 12.76 | 888.32 | 45.15 | 8.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 19 | 82.13 | 0.03 | 1.66 | 66.48 | 23.54 | 224.81 | 13.76 | 0.67 | 0.95 | 2.08 | 0.06 | 0 | 13.51 | 891.19 | 68.41 | 13.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 20 | 88.23 | 0.04 | 1.62 | 68.74 | 23.18 | 218.8 | 10.97 | 0.92 | 1.05 | 1.39 | 0.06 | 0 | 14.31 | 892.21 | 58.57 | 15.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 21 | 73.04 | 0.02 | 1.6 | 67.1 | 21.83 | 208.9 | 9.94 | 0.85 | 1.04 | 1.53 | 0.06 | 0 | 11.77 | 892.6 | 32.27 | 17.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 22 | 61.61 | 0.03 | 1.59 | 61.56 | 21.28 | 205.94 | 4.18 | 0.9 | 1.06 | 1.71 | 0.06 | 0 | 11.42 | 891.67 | 38.67 | 14.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 23 | 43.77 | 0.02 | 1.6 | 59.05 | 22.45 | 209.57 | 3.79 | 0.89 | 1.07 | 2.16 | 0.06 | 0 | 11.58 | 891.32 | 66.08 | 15.38 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 24 | 54.16 | 0.03 | 1.62 | 50.62 | 23.46 | 213.76 | 2.87 | 0.9 | 1.02 | 2.44 | 0.06 | 0 | 10.49 | 889.83 | 84.85 | 15.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 25 | 74.08 | 0.03 | 1.64 | 45.08 | 23.76 | 212.95 | 6.39 | 0.88 | 1.05 | 3.07 | 0.06 | 0 | 10.24 | 886.34 | 83.96 | 16.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 26 | 91.84 | 0.03 | 1.66 | 48.42 | 24.32 | 212.87 | 10.91 | 0.87 | 1.04 | 3.31 | 0.06 | 0 | 11.18 | 885.45 | 80.24 | 16.52 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 27 | 132.9 | 0.02 | 1.68 | 54.58 | 24.22 | 211.59 | 16.55 | 0.88 | 1.08 | 3.47 | 0.06 | 0 | 10.97 | 884.57 | 54.01 | 16.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day 28 | 130.02 | 0.03 | 1.69 | 51.18 | 25.56 | 212.16 | 21.77 | 0.9 | 1.05 | 3.85 | 0.06 | 0 | 10.24 | 884.59 | 71.03 | 10.88 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-29 | 123.61 | 0.03 | 1.67 | 39.86 | 26.32 | 212.12 | 17.99 | 0.85 | 1.01 | 3.46 | 0.06 | 0 | 10.13 | 885.98 | 76.85 | 1.5 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-30 | 113.79 | 0.03 | 1.68 | 50.16 | 25.95 | 210.77 | 16.4 | 0.87 | 1.02 | 3.68 | 0.06 | 0 | 11.33 | 888.33 | 74.18 | 0.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-31 | 135.57 | 0.03 | 1.68 | 67.22 | 25.12 | 220.84 | 19.57 | 0.86 | 1.01 | 3.8 | 0.06 | 0 | 12.14 | 888.16 | 73.2 | 0.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Day-1 | 110.13 | 0.03 | 1.62 | 90.3 | 20.09 | 229.62 | 18.2 | 0.92 | 1.04 | 1.62 | 0.06 | 0 | 22.33 | 887.25 | 12.86 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Average | 100.16 | 0.02 | 1.64 | 54.62 | 23.09 | 213.6 | 13.95 | 0.59 | 0.88 | 2.93 | 0.06 | 0 | 11.82 | 888.32 | 64.71 | 8.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 43.77 | 0.01 | 1.59 | 35.69 | 20.09 | 205.94 | 2.87 | 0.34 | 0.74 | 1.39 | 0.06 | 0 | 10.07 | 884.57 | 12.86 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 135.57 | 0.04 | 1.69 | 90.3 | 26.32 | 229.62 | 23.1 | 0.92 | 1.08 | 4.7 | 0.06 | 0.02 | 22.33 | 892.6 | 95.16 | 17.37 | 0.01 | 0.02 | 0.02 | 0.02 | 0.01
Geom.Mean | 100.16 | 0.02 | 1.64 | 54.62 | 23.09 | 213.6 | 13.95 | 0.59 | 0.88 | 2.93 | 0.06 | 0 | 11.82 | 888.32 | 64.71 | 8.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 24.21 | 0.01 | 0.03 | 11.11 | 1.56 | 4.71 | 5.56 | 0.25 | 0.13 | 0.89 | 0 | 0 | 2.09 | 2.19 | 16.98 | 5.47 | 0 | 0 | 0 | 0 | 0
Mode | 121.6 | 0.01 | 1.62 | 55.07 | 24.23 | 216.98 | 19.19 | 0.36 | 0.77 | 2.22 | 0.06 | 0 | 11.36 | 889.1 | 95.16 | 8.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 106.88 | 0.02 | 1.64 | 54.42 | 23.1 | 212.16 | 13.76 | 0.41 | 0.8 | 3.05 | 0.06 | 0 | 11.42 | 887.99 | 70.33 | 8.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Total Data Points | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32 | 32
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0