## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 30 |  |  |  | Date : 30/03/2024
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 29/03/2024
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 74 | 0.15 | 1.72 | 93.23 | 20.15 | 222.28 | 36.67 | 1.82 | 1.55 | 1.81 | 0.22 | 0 | 6.96 | 891.03 | 24.82 | 0.43 | 0.04 | 0.07 | 0.06 | 0.07 | 0.03
07-08Hr | 72 | 0.17 | 1.72 | 87.51 | 21.5 | 239.87 | 35.69 | 2.03 | 1.6 | 1.68 | 0.22 | 0 | 8.17 | 891.47 | 95.43 | 1 | 0.04 | 0.08 | 0.06 | 0.07 | 0.03
08-09Hr | 71.06 | 0.27 | 1.74 | 79.83 | 23.48 | 186.8 | 36.01 | 2.33 | 1.7 | 3.62 | 0.23 | 0 | 11.47 | 891.65 | 215.72 | 1.88 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
09-10Hr | 69 | 0.24 | 1.72 | 72.97 | 25.39 | 209.79 | 32.36 | 2.36 | 1.69 | 2.04 | 0.24 | 0 | 7.97 | 891.39 | 273.93 | 4.37 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
10-11Hr | 73 | 1.03 | 1.72 | 66.79 | 27.03 | 245.4 | 36.43 | 2.88 | 1.51 | 2.38 | 0.26 | 0 | 10.86 | 890.82 | 254.43 | 12.09 | 0.05 | 0.09 | 0.06 | 0.08 | 0.04
11-12Hr | 82 | 1.2 | 1.85 | 62.4 | 28.01 | 285.23 | 44.28 | 3.29 | 1.72 | 8.22 | 0.27 | 0 | 8.14 | 889.93 | 309.76 | 22.21 | 0.06 | 0.1 | 0.07 | 0.08 | 0.04
12-13Hr | 83 | 1.06 | 2 | 61.8 | 28.07 | 213.58 | 41.41 | 3.39 | 1.89 | 16.66 | 0.28 | 0 | 7.42 | 889.31 | 246.6 | 1.65 | 0.06 | 0.1 | 0.07 | 0.08 | 0.04
13-14Hr | 99 | 0.96 | 2 | 67.09 | 26.87 | 265.17 | 48.65 | 3.49 | 2.03 | 23.48 | 0.29 | 0 | 7.67 | 888.9 | 93.67 | 4.85 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
14-15Hr | 95 | 1.42 | 2.02 | 66.8 | 26.88 | 231.48 | 51.3 | 3.59 | 1.75 | 28.86 | 0.31 | 0 | 5.45 | 888.79 | 117.99 | 112.33 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
15-16Hr | 95 | 0.85 | 2.18 | 74.8 | 24.62 | 179.93 | 51.3 | 3.77 | 2.31 | 32.04 | 0.31 | 0.27 | 12.05 | 888.56 | 24.59 | 49.88 | 0.06 | 0.11 | 0.08 | 0.09 | 0.05
16-17Hr | 101 | 1.13 | 2.23 | 92.63 | 21.33 | 249.72 | 48.54 | 3.87 | 2.17 | 33.15 | 0.29 | 0.4 | 13.17 | 888.28 | 0 | 28.65 | 0.06 | 0.1 | 0.07 | 0.09 | 0.04
17-18Hr | 56 | 0.99 | 2.12 | 86.14 | 22.16 | 169.44 | 27.54 | 3.72 | 2.18 | 32.02 | 0.28 | 0 | 10.8 | 888.6 | 0 | 21.04 | 0.06 | 0.1 | 0.07 | 0.08 | 0.04
18-19Hr | 76 | 0.85 | 2 | 86.99 | 22.25 | 226.09 | 37.36 | 3.64 | 2.22 | 30.6 | 0.26 | 0 | 5.96 | 889.42 | 0 | 13.33 | 0.05 | 0.09 | 0.07 | 0.08 | 0.04
19-20Hr | 82 | 0.49 | 2 | 88.7 | 22.04 | 183.04 | 36.33 | 2.59 | 1.63 | 17.88 | 0.25 | 0 | 4.91 | 890.01 | 0 | 9.97 | 0.05 | 0.09 | 0.06 | 0.07 | 0.04
20-21Hr | 79 | 0.1 | 1.83 | 90.52 | 21.63 | 233.08 | 39.42 | 1.98 | 1.45 | 6.55 | 0.24 | 0 | 8.39 | 890.39 | 0 | 24.02 | 0.05 | 0.09 | 0.06 | 0.07 | 0.04
21-22Hr | 70 | 0.22 | 1.75 | 92.12 | 21.24 | 272.54 | 34.41 | 1.96 | 1.45 | 4.89 | 0.24 | 0 | 10.41 | 890.36 | 0 | 16.09 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
22-23Hr | 78 | 0.07 | 1.72 | 93.57 | 20.82 | 248.19 | 42.12 | 1.89 | 1.59 | 2.99 | 0.24 | 0 | 6.9 | 890.41 | 0 | 15.74 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
23-00Hr | 71.58 | 0.07 | 1.72 | 93.38 | 20.59 | 231.16 | 38.68 | 1.76 | 1.35 | 2.22 | 0.23 | 0 | 8.9 | 890.08 | 0 | 22.91 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
00-01Hr | 66 | 0.07 | 1.72 | 94.33 | 20.47 | 248.29 | 29.79 | 1.88 | 1.56 | 1.41 | 0.22 | 0 | 7.69 | 889.88 | 0 | 7.68 | 0.04 | 0.08 | 0.06 | 0.07 | 0.03
01-02Hr | 51 | 0.03 | 1.72 | 94.63 | 20.28 | 251.22 | 27.54 | 1.79 | 1.53 | 1.01 | 0.21 | 0 | 8.65 | 889.2 | 0 | 3.59 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
02-03Hr | 59 | 0 | 1.72 | 94.5 | 19.96 | 193.42 | 31.86 | 1.65 | 1.55 | 0.59 | 0.2 | 0 | 14.87 | 889.54 | 0 | 3.89 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
03-04Hr | 57.15 | 0.02 | 1.72 | 94.16 | 19.78 | 236.25 | 30.87 | 1.59 | 1.6 | 2.51 | 0.19 | 0 | 9.89 | 889.95 | 0 | 10.96 | 0.04 | 0.07 | 0.05 | 0.06 | 0.03
04-05Hr | 52 | 0.05 | 1.86 | 94.43 | 19.73 | 244.97 | 23.07 | 1.65 | 1.5 | 6.49 | 0.18 | 0 | 9.31 | 890.32 | 0 | 17.93 | 0.04 | 0.06 | 0.04 | 0.05 | 0.03
05-06Hr | 54 | 0 | 1.9 | 93.44 | 20.12 | 231.09 | 24.76 | 2.06 | 1.91 | 8.23 | 0.17 | 0 | 7.91 | 890.45 | 25.82 | 1.76 | 0.03 | 0.06 | 0.04 | 0.05 | 0.03
Avg | 73.57 | 0.48 | 1.86 | 84.28 | 22.68 | 229.08 | 36.93 | 2.54 | 1.73 | 11.31 | 0.24 | 0.03 | 8.91 | 889.95 | 73.16 | 17.01 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Min | 51 | 0 | 1.72 | 61.8 | 19.73 | 169.44 | 23.07 | 1.59 | 1.35 | 0.59 | 0.17 | 0 | 4.91 | 888.28 | 0 | 0.43 | 0.03 | 0.06 | 0.04 | 0.05 | 0.03
Max | 101 | 1.42 | 2.23 | 94.63 | 28.07 | 285.23 | 51.3 | 3.87 | 2.31 | 33.15 | 0.31 | 0.4 | 14.87 | 891.65 | 309.76 | 112.33 | 0.06 | 0.11 | 0.08 | 0.09 | 0.05
Geom.Mean | 73.57 | 0.48 | 1.86 | 84.28 | 22.68 | 229.08 | 36.93 | 2.54 | 1.73 | 11.31 | 0.24 | 0.03 | 8.91 | 889.95 | 73.16 | 17.01 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Median | 14.22 | 0.47 | 0.16 | 11.52 | 2.79 | 29.25 | 7.79 | 0.8 | 0.27 | 11.72 | 0.04 | 0.09 | 2.36 | 0.93 | 105.01 | 22.85 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Mode | 82 | 0.07 | 1.72 | 93.23 | 20.15 | 222.28 | 51.3 | 1.65 | 1.55 | 1.81 | 0.24 | 0 | 6.96 | 891.03 | 0 | 0.43 | 0.05 | 0.08 | 0.06 | 0.07 | 0.03
Std.Deviation | 73 | 0.24 | 1.83 | 90.52 | 21.63 | 233.08 | 36.43 | 2.33 | 1.63 | 6.49 | 0.24 | 0 | 8.39 | 890.01 | 0 | 12.09 | 0.05 | 0.08 | 0.06 | 0.07 | 0.04
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 23 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 95 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0