## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 22 |  |  |  | Date : 22/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 22/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 55 | 0.06 | 1.53 | 58.23 | 20.94 | 202.79 | 3 | 0.85 | 1.01 | 0.56 | 0.06 | 0 | 11.46 | 893.11 | 24.07 | 12.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 74 | 0.03 | 1.52 | 61.1 | 21.75 | 206.47 | 3 | 0.91 | 1.08 | 0.35 | 0.06 | 0 | 9.08 | 893.73 | 46.31 | 11.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 83 | 0.02 | 1.46 | 49.75 | 25.24 | 193.87 | 2 | 0.79 | 0.94 | 0.81 | 0.06 | 0 | 9.81 | 893.09 | 156.04 | 13.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 71 | 0.04 | 1.54 | 41.95 | 27.48 | 214.34 | 3 | 0.77 | 0.97 | 1.61 | 0.06 | 0 | 11.04 | 893.5 | 225.21 | 15.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 53 | 0.04 | 1.61 | 41.4 | 27.04 | 211.98 | 3 | 0.89 | 1.14 | 1.98 | 0.06 | 0 | 8.94 | 893 | 181.46 | 16.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 43 | 0.09 | 1.61 | 42.38 | 26.53 | 203.43 | 3 | 0.82 | 0.98 | 2.41 | 0.06 | 0 | 9.02 | 892.31 | 101.81 | 15.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 45 | 0.02 | 1.72 | 43.17 | 26.35 | 122.82 | 0 | 0.81 | 0.96 | 6 | 0.06 | 0 | 4.32 | 891.68 | 84.28 | 18.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 45.96 | 0.02 | 1.72 | 53.02 | 23.58 | 197.76 | 2 | 0.98 | 1.07 | 5.14 | 0.06 | 0 | 10.14 | 891.47 | 27.4 | 17.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 67 | 0.01 | 1.68 | 56.74 | 23.27 | 222.91 | 6 | 1.1 | 1.13 | 2 | 0.06 | 0 | 7.68 | 891.47 | 54.94 | 16.45 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 80 | 0.01 | 1.69 | 70.51 | 20.83 | 194.59 | 7 | 0.67 | 0.96 | 1.64 | 0.06 | 0 | 8.7 | 891.53 | 8.19 | 15.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 96 | 0.07 | 1.56 | 73.43 | 19.63 | 242.37 | 5 | 1 | 1.14 | 1.32 | 0.06 | 0 | 11.12 | 891.26 | 0.14 | 14.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 105 | 0.01 | 1.57 | 80.41 | 18.66 | 224.36 | 9 | 0.86 | 0.97 | 1.21 | 0.06 | 0 | 8.86 | 891.54 | 0 | 13.31 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 113 | 0.01 | 1.61 | 77.65 | 18.96 | 211.37 | 13 | 0.9 | 1.07 | 0.9 | 0.06 | 0 | 12.14 | 891.71 | 0 | 12.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 105 | 0 | 1.62 | 79.64 | 18.62 | 212.14 | 10 | 0.99 | 1.21 | 0.91 | 0.06 | 0 | 10.8 | 892.09 | 0 | 12.64 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 93 | 0.02 | 1.58 | 78.5 | 18.47 | 211.29 | 15 | 0.98 | 1.08 | 1.25 | 0.06 | 0 | 11.7 | 891.84 | 0 | 14.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 68 | 0.03 | 1.61 | 79 | 18.39 | 208.17 | 3 | 1.02 | 1.03 | 2.46 | 0.06 | 0 | 14.29 | 891.47 | 0 | 14.57 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 68 | 0.01 | 1.55 | 77.4 | 18.7 | 212.19 | 10 | 0.79 | 1.13 | 0.65 | 0.06 | 0 | 18.3 | 891.22 | 0 | 12.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 58 | 0.01 | 1.44 | 77.62 | 18.36 | 197.39 | 8 | 0.83 | 0.98 | 0.88 | 0.06 | 0 | 16.52 | 890.87 | 0 | 13.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 46 | 0.02 | 1.48 | 78.61 | 17.76 | 215.22 | 6 | 0.92 | 1.08 | 1.05 | 0.06 | 0 | 14.84 | 890.47 | 0 | 12.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 38 | 0.01 | 1.45 | 73.63 | 18.14 | 203.77 | 2 | 0.95 | 1.15 | 1.02 | 0.06 | 0 | 15.17 | 890.32 | 0 | 13.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 56 | 0 | 1.47 | 72.55 | 18.37 | 198.9 | 7 | 0.95 | 1.22 | 0.87 | 0.06 | 0 | 13.45 | 890.53 | 0 | 15.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 52 | 0.06 | 1.48 | 70.72 | 18.2 | 201.91 | 8 | 0.97 | 0.99 | 1.43 | 0.06 | 0 | 14.94 | 890.84 | 0 | 14.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 42 | 0 | 1.52 | 68.44 | 18.24 | 204.69 | 5 | 0.87 | 1.06 | 1.49 | 0.06 | 0 | 11.93 | 891.46 | 1.07 | 13.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 40 | 0.02 | 1.55 | 61.41 | 20.58 | 187.38 | 3 | 0.95 | 1.2 | 6.07 | 0.06 | 0 | 12.08 | 892.27 | 55.67 | 13.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 66.54 | 0.03 | 1.57 | 65.3 | 21 | 204.25 | 5.67 | 0.9 | 1.06 | 1.83 | 0.06 | 0 | 11.51 | 891.78 | 40.27 | 14.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 38 | 0 | 1.44 | 41.4 | 17.76 | 122.82 | 0 | 0.67 | 0.94 | 0.35 | 0.06 | 0 | 4.32 | 890.32 | 0 | 11.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 113 | 0.09 | 1.72 | 80.41 | 27.48 | 242.37 | 15 | 1.1 | 1.22 | 6.07 | 0.06 | 0 | 18.3 | 893.73 | 225.21 | 18.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 66.54 | 0.03 | 1.57 | 65.3 | 21 | 204.25 | 5.67 | 0.9 | 1.06 | 1.83 | 0.06 | 0 | 11.51 | 891.78 | 40.27 | 14.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 22.28 | 0.02 | 0.08 | 13.48 | 3.24 | 20.39 | 3.69 | 0.1 | 0.08 | 1.57 | 0 | 0 | 3.07 | 0.93 | 63.31 | 1.6 | 0 | 0 | 0 | 0 | 0
Mode | 105 | 0.01 | 1.61 | 58.23 | 20.94 | 202.79 | 3 | 0.95 | 1.08 | 0.56 | 0.06 | 0 | 11.46 | 891.47 | 0 | 12.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 67 | 0.02 | 1.56 | 70.72 | 19.63 | 206.47 | 5 | 0.91 | 1.07 | 1.32 | 0.06 | 0 | 11.46 | 891.54 | 1.07 | 14.1 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0