## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 1 |  |  |  | Date : 01/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 01/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 168 | 0 | 1.49 | 71.24 | 20.99 | 217.64 | 27.14 | 0.27 | 0.65 | 3.23 | 0.06 | 0 | 12.07 | 890.41 | 100.08 | 4.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 174 | 0.02 | 1.61 | 56.57 | 24.67 | 213.35 | 26 | 0.38 | 0.78 | 9.56 | 0.06 | 0 | 12.28 | 891.06 | 53.38 | 3.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 158 | 0 | 1.71 | 45.86 | 27.37 | 228.32 | 24.1 | 0.45 | 0.88 | 7.67 | 0.06 | 0 | 10.58 | 891.36 | 137.17 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 123 | 0.02 | 1.65 | 41.11 | 27.33 | 219.54 | 16.33 | 0.43 | 0.73 | 2.62 | 0.06 | 0 | 10.12 | 891.2 | 236.83 | 4.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 110 | 0.02 | 1.62 | 42.14 | 27.29 | 218.72 | 15.04 | 0.34 | 0.79 | 2.89 | 0.06 | 0 | 11.88 | 890.47 | 243.33 | 7.67 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 101 | 0 | 1.72 | 40.13 | 28.03 | 220.6 | 11 | 0.2 | 0.69 | 4.08 | 0.06 | 0 | 9.66 | 889.49 | 247.33 | 8.83 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 105 | 0 | 1.72 | 35.81 | 28.27 | 207.54 | 14 | 0.24 | 0.8 | 4.9 | 0.06 | 0 | 8.06 | 888.44 | 220.32 | 10.56 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 115 | 0.01 | 1.69 | 34.18 | 28.68 | 227.09 | 18 | 0.62 | 0.89 | 3.38 | 0.06 | 0 | 8.46 | 887.85 | 168.53 | 9.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 100 | 0.01 | 1.7 | 39.65 | 27.41 | 223.26 | 14.17 | 0.41 | 0.71 | 3.75 | 0.06 | 0 | 6.1 | 887.63 | 108.97 | 6.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 103 | 0 | 1.72 | 49.5 | 24.67 | 189.07 | 16.86 | 0.3 | 0.76 | 4.55 | 0.06 | 0 | 7.22 | 887.51 | 43.19 | 5.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 110 | 0.02 | 1.72 | 60.52 | 21.88 | 221.54 | 18.91 | 0.47 | 0.8 | 4.4 | 0.06 | 0 | 7.76 | 887.71 | 0.14 | 9.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 115.76 | 0.02 | 1.72 | 65.94 | 21.24 | 259.18 | 18.08 | 0.45 | 0.8 | 4.22 | 0.06 | 0 | 8.92 | 887.91 | 0 | 10.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 112 | 0.05 | 1.7 | 68.75 | 20.93 | 194.86 | 20.83 | 0.38 | 0.69 | 3.45 | 0.06 | 0 | 7.1 | 888.32 | 0 | 13.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 117 | 0.03 | 1.7 | 71.13 | 20.64 | 204.18 | 19.08 | 0.44 | 0.74 | 2.66 | 0.06 | 0 | 10.17 | 888.56 | 0 | 12.87 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 113 | 0 | 1.7 | 73.51 | 20.28 | 197.37 | 22.78 | 0.39 | 0.81 | 2.4 | 0.06 | 0 | 16.48 | 888.88 | 0 | 11.36 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 114.88 | 0.02 | 1.65 | 75.7 | 19.96 | 224.19 | 23.94 | 0.51 | 0.75 | 2.53 | 0.06 | 0 | 14.83 | 888.64 | 0 | 10.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 117 | 0.02 | 1.67 | 77.53 | 19.65 | 204.94 | 24 | 0.62 | 0.76 | 2.48 | 0.06 | 0 | 11.49 | 887.98 | 0 | 13.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 112 | 0 | 1.7 | 74.5 | 19.62 | 204.41 | 22 | 0.35 | 0.78 | 4.45 | 0.06 | 0 | 12.36 | 887.05 | 0 | 16.48 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 93 | 0.02 | 1.57 | 72.8 | 19.56 | 213.61 | 19 | 0.52 | 0.82 | 1.84 | 0.06 | 0 | 14.89 | 886.35 | 0 | 20 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 91 | 0 | 1.64 | 72.26 | 19.43 | 212.25 | 18 | 0.41 | 0.8 | 1.51 | 0.06 | 0 | 14.81 | 885.85 | 0 | 21.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 87 | 0.04 | 1.64 | 73.9 | 19.1 | 196.14 | 26 | 0.29 | 0.66 | 1.48 | 0.06 | 0 | 11.92 | 885.65 | 0 | 22.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 95 | 0 | 1.59 | 71.66 | 18.98 | 201.14 | 23 | 0.33 | 0.71 | 0.86 | 0.06 | 0 | 19.21 | 885.79 | 0 | 20.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 79.55 | 0 | 1.67 | 64.69 | 18.67 | 205.21 | 23.92 | 0.35 | 0.64 | 0.3 | 0.06 | 0 | 16.13 | 886.43 | 0 | 14.68 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 59 | 0 | 1.64 | 54.82 | 19.21 | 209.6 | 13.79 | 0.32 | 0.82 | 0.84 | 0.06 | 0 | 9.21 | 887.12 | 26.29 | 10.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 111.38 | 0.01 | 1.66 | 59.75 | 22.66 | 213.07 | 19.83 | 0.39 | 0.76 | 3.34 | 0.06 | 0 | 11.32 | 888.24 | 66.07 | 11.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 59 | 0 | 1.49 | 34.18 | 18.67 | 189.07 | 11 | 0.2 | 0.64 | 0.3 | 0.06 | 0 | 6.1 | 885.65 | 0 | 3.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 174 | 0.05 | 1.72 | 77.53 | 28.68 | 259.18 | 27.14 | 0.62 | 0.89 | 9.56 | 0.06 | 0 | 19.21 | 891.36 | 247.33 | 22.21 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 111.38 | 0.01 | 1.66 | 59.75 | 22.66 | 213.07 | 19.83 | 0.39 | 0.76 | 3.34 | 0.06 | 0 | 11.32 | 888.24 | 66.07 | 11.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 25.23 | 0.01 | 0.06 | 14.52 | 3.6 | 14.31 | 4.38 | 0.1 | 0.07 | 2.03 | 0 | 0 | 3.3 | 1.68 | 90.09 | 5.51 | 0 | 0 | 0 | 0 | 0
Mode | 110 | 0 | 1.72 | 71.24 | 24.67 | 217.64 | 26 | 0.38 | 0.8 | 3.23 | 0.06 | 0 | 12.07 | 890.41 | 0 | 10.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 112 | 0.01 | 1.69 | 65.94 | 20.99 | 213.35 | 19.08 | 0.39 | 0.78 | 3.23 | 0.06 | 0 | 11.49 | 887.98 | 0.14 | 10.74 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0