## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 25 |  |  |  | Date : 25/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 25/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 65 | 0.03 | 1.68 | 43.01 | 24.28 | 208.22 | 2 | 0.71 | 0.96 | 4.58 | 0.06 | 0 | 10.98 | 887.82 | 143.23 | 16.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 76 | 0.01 | 1.52 | 37.54 | 26.65 | 221.65 | 4 | 0.83 | 1.1 | 0.96 | 0.06 | 0 | 13.29 | 888.25 | 195.62 | 16.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 95 | 0.01 | 1.58 | 36.53 | 27.26 | 216 | 8 | 0.88 | 1.1 | 1.41 | 0.06 | 0 | 8.25 | 888.3 | 233.4 | 18.34 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 94 | 0 | 1.69 | 28.54 | 29.19 | 210.57 | 8 | 0.83 | 1.17 | 2.47 | 0.06 | 0 | 9.79 | 887.74 | 265.03 | 18.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 66 | 0.02 | 1.66 | 27.36 | 30.17 | 222.39 | 11 | 0.85 | 1.09 | 2.77 | 0.06 | 0 | 9.6 | 886.74 | 261.99 | 19.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 75 | 0.07 | 1.67 | 25.86 | 30.63 | 216.45 | 7 | 1.04 | 1.03 | 2.34 | 0.06 | 0 | 8.42 | 885.82 | 255.88 | 19.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 74 | 0.02 | 1.68 | 25.57 | 31.1 | 218.79 | 4 | 1.04 | 1.16 | 2.17 | 0.06 | 0 | 7.63 | 884.87 | 222.89 | 20.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 69 | 0.02 | 1.68 | 25.51 | 31.56 | 217.14 | 7 | 1 | 1.15 | 4.16 | 0.06 | 0 | 8.3 | 884.12 | 178.58 | 19.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 81 | 0.01 | 1.72 | 27.24 | 30.97 | 206.3 | 5 | 0.9 | 1.21 | 5.3 | 0.06 | 0.02 | 7.17 | 883.83 | 127.55 | 18.32 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 79 | 0.02 | 1.72 | 32.84 | 27.84 | 208.89 | 8 | 0.78 | 1.04 | 6.76 | 0.06 | 0 | 6.59 | 883.9 | 42.95 | 17.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 83 | 0.09 | 1.72 | 43.01 | 24.21 | 242.97 | 9 | 0.82 | 0.86 | 7.08 | 0.06 | 0 | 6.45 | 884.22 | 1.1 | 17.81 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 109 | 0.05 | 1.72 | 49.39 | 22.75 | 214.98 | 12 | 0.99 | 1.11 | 6.32 | 0.06 | 0 | 6.94 | 884.99 | 0 | 16.96 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 123 | 0 | 1.72 | 51.96 | 21.93 | 185.59 | 14 | 0.91 | 0.99 | 5.35 | 0.06 | 0 | 9.6 | 885.93 | 0 | 15.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 105 | 0.04 | 1.71 | 53.97 | 21.34 | 227.96 | 12 | 0.78 | 1 | 3.88 | 0.06 | 0 | 9.99 | 886.81 | 0 | 14.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 93 | 0.02 | 1.67 | 56.1 | 20.81 | 209.97 | 14 | 0.95 | 1.19 | 3.01 | 0.06 | 0 | 9.11 | 887.01 | 0 | 14.85 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 98 | 0.06 | 1.68 | 57.02 | 20.15 | 240.5 | 9 | 0.88 | 0.97 | 2.58 | 0.06 | 0 | 11.14 | 886.71 | 0 | 15.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 82 | 0.05 | 1.68 | 59.85 | 19.75 | 199.86 | 10 | 0.89 | 1.02 | 1.7 | 0.06 | 0 | 13.96 | 886.24 | 0 | 16.14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 76 | 0.02 | 1.64 | 67.53 | 19.28 | 204 | 9 | 0.94 | 1.07 | 1.56 | 0.06 | 0 | 14.71 | 885.69 | 0 | 15.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 66 | 0.02 | 1.57 | 61.69 | 19.35 | 195.27 | 11 | 0.91 | 1.12 | 1.17 | 0.06 | 0 | 18.05 | 885.21 | 0 | 14.79 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 65 | 0.03 | 1.56 | 61.47 | 18.95 | 196.39 | 7 | 0.94 | 1.02 | 1.22 | 0.06 | 0 | 17.76 | 884.78 | 0 | 14.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 58 | 0.03 | 1.57 | 59.59 | 19.05 | 196.74 | 4 | 0.99 | 1.22 | 1.33 | 0.06 | 0 | 14.04 | 884.67 | 0 | 15 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 61 | 0.02 | 1.56 | 62.47 | 18.61 | 197.26 | 7 | 0.81 | 1.12 | 1.1 | 0.06 | 0 | 16.6 | 884.87 | 0 | 14.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 63 | 0.04 | 1.58 | 56.09 | 19.15 | 198.86 | 6 | 0.85 | 0.98 | 1.77 | 0.06 | 0 | 14.42 | 885.41 | 6.43 | 17.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 50 | 0 | 1.57 | 49.1 | 22.19 | 207.16 | 2 | 0.79 | 1.05 | 4.43 | 0.06 | 0 | 11.58 | 886.12 | 67.62 | 15.84 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 79.42 | 0.03 | 1.65 | 45.8 | 24.05 | 211 | 7.92 | 0.89 | 1.07 | 3.14 | 0.06 | 0 | 11.02 | 885.84 | 83.43 | 16.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 50 | 0 | 1.52 | 25.51 | 18.61 | 185.59 | 2 | 0.71 | 0.86 | 0.96 | 0.06 | 0 | 6.45 | 883.83 | 0 | 14.46 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 123 | 0.09 | 1.72 | 67.53 | 31.56 | 242.97 | 14 | 1.04 | 1.22 | 7.08 | 0.06 | 0.02 | 18.05 | 888.3 | 265.03 | 20.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 79.42 | 0.03 | 1.65 | 45.8 | 24.05 | 211 | 7.92 | 0.89 | 1.07 | 3.14 | 0.06 | 0 | 11.02 | 885.84 | 83.43 | 16.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 17.47 | 0.02 | 0.06 | 13.91 | 4.58 | 13.63 | 3.33 | 0.09 | 0.09 | 1.89 | 0 | 0 | 3.48 | 1.33 | 103.05 | 1.81 | 0 | 0 | 0 | 0 | 0
Mode | 65 | 0.02 | 1.68 | 43.01 | 24.28 | 208.22 | 7 | 0.83 | 1.1 | 4.58 | 0.06 | 0 | 9.6 | 884.87 | 0 | 16.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 76 | 0.02 | 1.68 | 49.39 | 22.75 | 209.97 | 8 | 0.89 | 1.09 | 2.58 | 0.06 | 0 | 9.99 | 885.82 | 6.43 | 16.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0