## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 20 |  |  |  | Date : 20/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 20/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 21 | 0.01 | 1.6 | 83.11 | 21.63 | 222.25 | 1.91 | 0.93 | 1.13 | 0.34 | 0.06 | 0 | 6.01 | 887.12 | 112.03 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 21 | 0.01 | 1.68 | 74.23 | 24.61 | 226.52 | 1.05 | 1.21 | 1.2 | 0.22 | 0.06 | 0 | 6.64 | 887.54 | 131.06 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 27.72 | 0.04 | 1.66 | 70.84 | 25.5 | 229.4 | 0.08 | 0.8 | 0.93 | 0.34 | 0.06 | 0.01 | 9.62 | 887.69 | 95.69 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 34 | 0 | 1.71 | 69.95 | 25.8 | 207.08 | 0.95 | 0.93 | 1.21 | 0.91 | 0.06 | 0 | 6.9 | 887.58 | 136.14 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 38 | 0.06 | 1.72 | 70.81 | 25.76 | 194.67 | 1 | 1.03 | 0.98 | 1.49 | 0.06 | 0 | 10.91 | 887.14 | 155.83 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 39 | 0.05 | 1.72 | 64.96 | 27.38 | 229 | 1 | 1.1 | 1.17 | 1.55 | 0.06 | 0 | 7.18 | 886.35 | 144.08 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 37 | 0 | 1.72 | 67.27 | 26.19 | 240.85 | 0.04 | 0.86 | 1.03 | 1.19 | 0.06 | 0 | 11.4 | 885.5 | 77.66 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 38 | 0.08 | 1.72 | 72.48 | 24.85 | 218.92 | 0 | 0.89 | 0.89 | 1.25 | 0.06 | 0 | 7.52 | 885.02 | 60.04 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 28 | 0.05 | 1.72 | 72.07 | 25.08 | 205.19 | 1.91 | 0.91 | 1.04 | 1.41 | 0.06 | 0 | 6.91 | 884.71 | 70.9 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 31 | 0.03 | 1.72 | 74.09 | 24.46 | 208.36 | 2 | 0.95 | 1.08 | 0.51 | 0.06 | 0 | 7.76 | 884.81 | 34.09 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 35 | 0.03 | 1.72 | 79.22 | 23.09 | 218.6 | 1.04 | 0.92 | 1.15 | 0.87 | 0.06 | 0 | 7.78 | 884.9 | 1.4 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 33 | 0.03 | 1.72 | 82.97 | 22.46 | 197.95 | 5.76 | 0.81 | 0.99 | 0.72 | 0.06 | 0 | 8.87 | 885.41 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 34 | 0.01 | 1.71 | 85.68 | 22.12 | 216.96 | 5 | 0.92 | 1.02 | 0.18 | 0.06 | 0 | 8.7 | 886.4 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 34 | 0.04 | 1.72 | 87.92 | 21.9 | 205.56 | 2.16 | 0.93 | 1.06 | 0.06 | 0.06 | 0 | 9.88 | 887.19 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 31 | 0.02 | 1.71 | 89.65 | 21.76 | 205.32 | 3.89 | 0.85 | 1.13 | 0.12 | 0.06 | 0 | 13.76 | 887.59 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 29 | 0 | 1.68 | 92.1 | 21.38 | 208.23 | 2.1 | 0.77 | 0.95 | 0.03 | 0.06 | 0 | 10.93 | 887.55 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 26 | 0.02 | 1.65 | 93.82 | 21.12 | 210.48 | 0.09 | 0.98 | 1.1 | 0.01 | 0.06 | 0 | 12.01 | 887.29 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 40 | 0.01 | 1.68 | 94.68 | 21.03 | 207.74 | 1.9 | 0.88 | 1.05 | 0 | 0.06 | 0 | 13.84 | 886.97 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 42 | 0.02 | 1.65 | 95.55 | 21.01 | 229.28 | 2 | 0.93 | 1.09 | 0 | 0.06 | 0.02 | 16.61 | 886.47 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 48 | 0.05 | 1.68 | 97.09 | 20.8 | 213.69 | 2 | 1.01 | 1.15 | 0 | 0.06 | 0 | 18.61 | 886.58 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 32.67 | 0.03 | 1.68 | 96.09 | 20.54 | 229.52 | 2.91 | 0.98 | 1.14 | 0.02 | 0.06 | 0 | 14.73 | 886.73 | 0 | 0.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 27 | 0.04 | 1.68 | 96.61 | 20.51 | 214.62 | 3 | 1 | 1.21 | 0.01 | 0.06 | 0 | 14.06 | 886.94 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 33 | 0 | 1.71 | 96.53 | 20.68 | 218.73 | 3.96 | 0.9 | 1.18 | 1.72 | 0.06 | 0 | 12.26 | 887.93 | 1.26 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 28 | 0.02 | 1.68 | 93.02 | 21.12 | 205.4 | 4 | 1.02 | 1.2 | 0 | 0.06 | 0.01 | 10.98 | 888.89 | 19.76 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 32.81 | 0.03 | 1.69 | 83.36 | 22.95 | 215.18 | 2.07 | 0.94 | 1.09 | 0.54 | 0.06 | 0 | 10.58 | 886.68 | 43.33 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 21 | 0 | 1.6 | 64.96 | 20.51 | 194.67 | 0 | 0.77 | 0.89 | 0 | 0.06 | 0 | 6.01 | 884.71 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 48 | 0.08 | 1.72 | 97.09 | 27.38 | 240.85 | 5.76 | 1.21 | 1.21 | 1.72 | 0.06 | 0.02 | 18.61 | 888.89 | 155.83 | 0.19 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 32.81 | 0.03 | 1.69 | 83.36 | 22.95 | 215.18 | 2.07 | 0.94 | 1.09 | 0.54 | 0.06 | 0 | 10.58 | 886.68 | 43.33 | 0.01 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 6.25 | 0.02 | 0.03 | 10.89 | 2.13 | 11.22 | 1.53 | 0.09 | 0.09 | 0.59 | 0 | 0 | 3.32 | 1.09 | 55.38 | 0.04 | 0 | 0 | 0 | 0 | 0
Mode | 34 | 0.01 | 1.72 | 83.11 | 21.12 | 222.25 | 2 | 0.93 | 1.13 | 0 | 0.06 | 0 | 6.01 | 887.12 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 33 | 0.03 | 1.71 | 85.68 | 22.12 | 214.62 | 2 | 0.93 | 1.1 | 0.34 | 0.06 | 0 | 10.91 | 886.97 | 1.4 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0