## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 30 |  |  |  | Date : 30/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 30/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 47 | 0.25 | 1.65 | 69.15 | 25.69 | 229.77 | 3.85 | 3.26 | 2.44 | 0 | 0.06 | 0 | 9.24 | 889.18 | 140.03 | 0.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 49 | 0.34 | 1.7 | 64.17 | 27.11 | 233.15 | 4 | 3.35 | 2.51 | 0.01 | 0.06 | 0 | 9.37 | 889.35 | 153.99 | 0.13 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 53 | 0.23 | 1.7 | 64.64 | 26.86 | 209.32 | 1.13 | 3.22 | 2.51 | 0 | 0.06 | 0 | 6.68 | 889.41 | 103.92 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 63 | 0.24 | 1.69 | 69.8 | 25.51 | 190.73 | 1.96 | 3.32 | 2.57 | 0.04 | 0.06 | 0 | 5.77 | 889.26 | 86.56 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 55 | 0.21 | 1.72 | 66.99 | 25.91 | 199.23 | 1 | 3.23 | 2.51 | 0.17 | 0.06 | 0 | 8.37 | 888.81 | 81.55 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 66 | 0.2 | 1.72 | 63.39 | 26.87 | 230.11 | 1 | 3.2 | 2.5 | 0.27 | 0.06 | 0 | 7.85 | 887.71 | 179 | 0.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 53 | 0.24 | 1.72 | 53.7 | 28.72 | 208.46 | 0.04 | 3.27 | 2.44 | 0.71 | 0.06 | 0 | 9.29 | 886.6 | 182.98 | 0.41 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 53 | 0.12 | 1.72 | 49.15 | 29.51 | 240.13 | 0 | 3.09 | 2.44 | 1.46 | 0.06 | 0 | 8.09 | 885.93 | 132.36 | 0.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 55 | 0.16 | 1.72 | 57.32 | 27.26 | 238.96 | 1 | 3.18 | 2.55 | 2.13 | 0.06 | 0 | 5.11 | 885.63 | 46.77 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 66 | 0.15 | 1.72 | 69.59 | 25.14 | 202.39 | 1 | 3.25 | 2.56 | 2.22 | 0.06 | 0 | 5.7 | 885.74 | 11.72 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 78 | 0.08 | 1.72 | 75.03 | 23.48 | 193.85 | 3.86 | 3.22 | 2.65 | 2.15 | 0.06 | 0 | 5.01 | 886.33 | 0.01 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 70 | 0.14 | 1.72 | 78.45 | 22.71 | 237.48 | 3.05 | 3.32 | 2.66 | 1.74 | 0.06 | 0 | 7.95 | 887.14 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 56 | 0.29 | 1.71 | 80.09 | 22.5 | 200.31 | 3 | 3.35 | 2.5 | 1.25 | 0.06 | 0 | 5.22 | 888.05 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 56 | 0.15 | 1.72 | 78.94 | 22.27 | 184.3 | 2.04 | 3.16 | 2.54 | 0.64 | 0.06 | 0 | 9.21 | 888.65 | 0 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 48 | 0.2 | 1.72 | 79.48 | 20.82 | 211.74 | 1 | 3.24 | 2.46 | 0.28 | 0.06 | 0 | 9.13 | 889.02 | 0 | 5.24 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 40 | 0.1 | 1.72 | 87.98 | 19.06 | 203.59 | 0.04 | 3.04 | 2.51 | 0.12 | 0.06 | 0 | 11.02 | 888.9 | 0 | 5.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 26 | 0.26 | 1.71 | 77.67 | 20.03 | 204.8 | 0 | 3.21 | 2.49 | 0 | 0.06 | 0 | 11.26 | 888.68 | 0 | 0.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 24 | 0.12 | 1.71 | 68.76 | 20.79 | 195.09 | 0 | 3.28 | 2.58 | 0 | 0.06 | 0 | 10.83 | 888.31 | 0 | 7.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 14 | 0.12 | 1.72 | 76.07 | 20.47 | 191.63 | 0 | 3.22 | 2.62 | 0 | 0.06 | 0 | 10.65 | 887.78 | 0 | 5.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 17 | 0.21 | 1.72 | 76.16 | 20.99 | 206.09 | 0 | 3.2 | 2.52 | 0 | 0.06 | 0 | 11.27 | 887.85 | 0 | 1.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 27 | 0.17 | 1.71 | 76.05 | 20.9 | 204.74 | 0 | 3.24 | 2.54 | 0 | 0.06 | 0 | 9.19 | 888.26 | 0 | 0.44 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 24 | 0.16 | 1.72 | 77.56 | 20.59 | 201.91 | 0 | 3.23 | 2.57 | 0.72 | 0.06 | 0 | 10.52 | 888.38 | 0 | 0.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 43 | 0.18 | 1.69 | 76.99 | 20.69 | 188.55 | 0 | 3.15 | 2.49 | 0 | 0.06 | 0 | 8.84 | 888.84 | 8.06 | 0.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 32 | 0.2 | 1.72 | 76.13 | 21.22 | 218.44 | 0 | 3.26 | 2.57 | 0 | 0.06 | 0 | 6.71 | 889.44 | 20.74 | 0.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 46.46 | 0.19 | 1.71 | 71.39 | 23.55 | 209.37 | 1.17 | 3.23 | 2.53 | 0.58 | 0.06 | 0 | 8.43 | 888.05 | 47.82 | 1.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 14 | 0.08 | 1.65 | 49.15 | 19.06 | 184.3 | 0 | 3.04 | 2.44 | 0 | 0.06 | 0 | 5.01 | 885.63 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 78 | 0.34 | 1.72 | 87.98 | 29.51 | 240.13 | 4 | 3.35 | 2.66 | 2.22 | 0.06 | 0 | 11.27 | 889.44 | 182.98 | 7.08 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 46.46 | 0.19 | 1.71 | 71.39 | 23.55 | 209.37 | 1.17 | 3.23 | 2.53 | 0.58 | 0.06 | 0 | 8.43 | 888.05 | 47.82 | 1.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 17.13 | 0.06 | 0.02 | 8.99 | 3.05 | 16.65 | 1.38 | 0.07 | 0.06 | 0.77 | 0 | 0 | 2 | 1.19 | 64.3 | 2.14 | 0 | 0 | 0 | 0 | 0
Mode | 53 | 0.2 | 1.72 | 69.15 | 25.69 | 229.77 | 0 | 3.22 | 2.51 | 0 | 0.06 | 0 | 9.24 | 889.18 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 53 | 0.2 | 1.72 | 76.05 | 22.71 | 204.8 | 1 | 3.23 | 2.52 | 0.17 | 0.06 | 0 | 9.13 | 888.38 | 8.06 | 0.18 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0