## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 17 |  |  |  | Date : 17/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 17/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 21 | 0.02 | 1.69 | 65.55 | 24.61 | 223.34 | 0 | 0.9 | 1.07 | 3.18 | 0.06 | 0 | 8 | 888.96 | 116.94 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 32 | 0.02 | 1.7 | 60.65 | 26.2 | 192.47 | 0 | 0.81 | 1.02 | 3.94 | 0.06 | 0 | 8.58 | 889.47 | 163.38 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 36 | 0.04 | 1.72 | 67.8 | 24.54 | 204.68 | 0 | 0.78 | 0.9 | 1.56 | 0.06 | 0 | 8.83 | 889.62 | 93.49 | 3.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 48 | 0.01 | 1.65 | 61.24 | 26.16 | 225.2 | 0 | 0.84 | 1.04 | 1.89 | 0.06 | 0 | 10.2 | 889.23 | 184.68 | 2.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 34 | 0.11 | 1.69 | 56.7 | 27.52 | 228.48 | 2 | 0.99 | 1.05 | 1.4 | 0.06 | 0 | 8.19 | 888.33 | 242.37 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 42 | 0.02 | 1.71 | 53.82 | 28.64 | 210.28 | 2.96 | 0.93 | 1.08 | 1.94 | 0.06 | 0 | 10.96 | 886.93 | 222.17 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 42 | 0.03 | 1.72 | 51.87 | 29.91 | 237.35 | 2 | 0.95 | 1.08 | 2.89 | 0.06 | 0 | 7.75 | 885.68 | 163 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 52 | 0.02 | 1.72 | 67.82 | 25.31 | 206.06 | 2 | 0.91 | 1.06 | 3.65 | 0.06 | 0 | 8.33 | 884.79 | 11.16 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 58 | 0.02 | 1.72 | 93.22 | 18.18 | 255.01 | 4 | 0.76 | 1.03 | 3.48 | 0.06 | 1.6 | 20.47 | 886.44 | 0 | 0.22 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 17 | 0.02 | 1.7 | 98.26 | 16.5 | 260.71 | 4.96 | 0.92 | 1.19 | 1.23 | 0.06 | 0.4 | 23.62 | 886.46 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 7 | 0.01 | 1.68 | 98.53 | 16.25 | 249.6 | 4.04 | 0.83 | 1.11 | 0.24 | 0.06 | 0 | 21.28 | 885.11 | 0 | 0.37 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 6 | 0.08 | 1.71 | 78.98 | 17.99 | 239.42 | 0 | 1.03 | 1.04 | 0.02 | 0.06 | 0 | 6.18 | 885.15 | 0 | 0.82 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 10 | 0.01 | 1.64 | 66.44 | 19.37 | 214.22 | 0 | 0.78 | 1.04 | 0 | 0.06 | 0 | 6.53 | 885.3 | 0 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 8 | 0.1 | 1.7 | 63.4 | 19.49 | 212 | 0 | 0.8 | 0.9 | 0 | 0.06 | 0 | 7.74 | 885.88 | 0 | 0.29 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 18 | 0.02 | 1.62 | 68.88 | 18.95 | 209.06 | 0 | 0.92 | 0.99 | 0 | 0.06 | 0 | 8.02 | 886.69 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 12 | 0.06 | 1.52 | 66.11 | 19.42 | 225.28 | 0 | 0.96 | 0.95 | 0.22 | 0.06 | 0 | 7.86 | 887.15 | 0 | 0.33 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 14 | 0.01 | 1.64 | 62.68 | 19.88 | 222.48 | 0 | 0.71 | 1.06 | 0.86 | 0.06 | 0 | 9.33 | 886.81 | 0 | 1.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 13 | 0.01 | 1.72 | 62.63 | 20.04 | 212.62 | 0 | 0.79 | 0.95 | 4.06 | 0.06 | 0 | 9.09 | 886.66 | 0 | 0.54 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 14 | 0.06 | 1.72 | 64.76 | 19.94 | 207.85 | 0 | 0.85 | 1.07 | 5.02 | 0.06 | 0 | 10.79 | 886.19 | 0 | 0.07 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 15 | 0.02 | 1.72 | 68.51 | 19.69 | 200.91 | 0 | 0.83 | 1.04 | 5.28 | 0.06 | 0 | 10.91 | 885.92 | 0 | 0.6 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 17 | 0.01 | 1.72 | 72.41 | 19.41 | 203.47 | 0 | 0.97 | 1.09 | 5.17 | 0.06 | 0 | 9.66 | 886.01 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 18 | 0.05 | 1.72 | 76.14 | 19.23 | 207.12 | 0 | 0.83 | 0.95 | 4.79 | 0.06 | 0 | 9.38 | 886.32 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 22 | 0.02 | 1.66 | 84.23 | 19.66 | 210.87 | 0 | 0.79 | 1.03 | 0.7 | 0.06 | 0 | 11.45 | 886.71 | 7.48 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 28 | 0.03 | 1.6 | 82.55 | 20.68 | 214.08 | 0 | 0.83 | 0.99 | 0.02 | 0.06 | 0 | 8.12 | 887.34 | 55.06 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 24.33 | 0.03 | 1.68 | 70.55 | 21.57 | 219.69 | 0.92 | 0.86 | 1.03 | 2.15 | 0.06 | 0.08 | 10.47 | 886.8 | 52.49 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 6 | 0.01 | 1.52 | 51.87 | 16.25 | 192.47 | 0 | 0.71 | 0.9 | 0 | 0.06 | 0 | 6.18 | 884.79 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 58 | 0.11 | 1.72 | 98.53 | 29.91 | 260.71 | 4.96 | 1.03 | 1.19 | 5.28 | 0.06 | 1.6 | 23.62 | 889.62 | 242.37 | 3.89 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 24.33 | 0.03 | 1.68 | 70.55 | 21.57 | 219.69 | 0.92 | 0.86 | 1.03 | 2.15 | 0.06 | 0.08 | 10.47 | 886.8 | 52.49 | 0.43 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 14.83 | 0.03 | 0.05 | 12.58 | 3.84 | 17.32 | 1.55 | 0.08 | 0.07 | 1.85 | 0 | 0.33 | 4.5 | 1.36 | 80.36 | 0.87 | 0 | 0 | 0 | 0 | 0
Mode | 42 | 0.02 | 1.72 | 65.55 | 24.61 | 223.34 | 0 | 0.83 | 1.04 | 0 | 0.06 | 0 | 8 | 888.96 | 0 | 0 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 18 | 0.02 | 1.7 | 67.8 | 19.88 | 214.08 | 0 | 0.84 | 1.04 | 1.89 | 0.06 | 0 | 9.09 | 886.66 | 0 | 0.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0