## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-04-01 | Station Name : |  | Sikulpuikawn |  |  | APRIL
Report No |  | 10 |  |  |  | Date : 10/04/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 10/04/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 57 | 0.06 | 1.65 | 64.07 | 26.32 | 219.88 | 2 | 1.13 | 1.19 | 0.99 | 0.06 | 0 | 12.53 | 887.94 | 152.43 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 56 | 0.03 | 1.7 | 50.45 | 29.18 | 225.55 | 5 | 0.86 | 1.01 | 1.56 | 0.06 | 0 | 9.69 | 888.22 | 185.91 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 49 | 0.03 | 1.7 | 49.47 | 28.04 | 238.82 | 7 | 0.93 | 1.08 | 1.38 | 0.06 | 0 | 12.29 | 888.24 | 143.65 | 1.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 41 | 0.03 | 1.69 | 44.8 | 28.96 | 233.59 | 4 | 0.95 | 1.02 | 2.16 | 0.06 | 0 | 7.99 | 887.99 | 123.79 | 1.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 42 | 0.07 | 1.72 | 42.83 | 30.28 | 207.85 | 1 | 0.89 | 1.02 | 2.47 | 0.06 | 0 | 13.67 | 887.27 | 246.8 | 2.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 46 | 0.04 | 1.72 | 41.05 | 30.86 | 229.51 | 0 | 0.77 | 0.93 | 2.41 | 0.06 | 0 | 8.25 | 886.33 | 188.34 | 2.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 63 | 0.02 | 1.72 | 44.63 | 29.05 | 218.54 | 1 | 0.84 | 1.02 | 2.95 | 0.06 | 0 | 11.73 | 885.11 | 74 | 2.12 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 34 | 0 | 1.72 | 49.16 | 28.63 | 222.38 | 1 | 0.85 | 0.94 | 3.31 | 0.06 | 0 | 8 | 884.07 | 31.03 | 1.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 54 | 0.04 | 1.72 | 78.39 | 22.34 | 225.19 | 0 | 0.81 | 0.96 | 4.19 | 0.06 | 1.35 | 13.23 | 883.78 | 0.1 | 5.94 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 59 | 0.01 | 1.72 | 89.29 | 18.72 | 205.72 | 2 | 0.86 | 1.03 | 5.97 | 0.06 | 0.04 | 14.92 | 883.93 | 3.14 | 6.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 36 | 0.01 | 1.72 | 77.47 | 20.86 | 197.46 | 11 | 0.88 | 1.1 | 4.13 | 0.06 | 0 | 6.18 | 883.8 | 0 | 1.27 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 38 | 0.01 | 1.72 | 72.8 | 21.15 | 196.42 | 9 | 0.83 | 1.08 | 1.87 | 0.06 | 0 | 7.67 | 884.15 | 0 | 1.03 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 53 | 0.02 | 1.71 | 78.29 | 20.55 | 225.43 | 6 | 0.82 | 0.98 | 1.29 | 0.06 | 0 | 8.07 | 885.07 | 0 | 1.23 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 64 | 0.02 | 1.71 | 79.97 | 20.5 | 197.75 | 3 | 0.89 | 1.11 | 1.53 | 0.06 | 0 | 11.43 | 885.66 | 0 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 57 | 0.02 | 1.68 | 83.52 | 20.05 | 200 | 5 | 0.96 | 1.12 | 0.44 | 0.06 | 0 | 11.79 | 885.53 | 0 | 3.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 45 | 0.02 | 1.61 | 79.14 | 20.25 | 213.85 | 6 | 0.84 | 0.94 | 0.2 | 0.06 | 0 | 10.05 | 885.64 | 0 | 3.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 44 | 0.05 | 1.63 | 79.77 | 19.93 | 222.28 | 5 | 1.09 | 1.16 | 0.22 | 0.06 | 0 | 12.63 | 885.77 | 0 | 3.95 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 43 | 0 | 1.62 | 78.52 | 20.17 | 209.81 | 3 | 0.97 | 1.06 | 0.1 | 0.06 | 0 | 14.06 | 885.49 | 0 | 4.76 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 33 | 0.02 | 1.58 | 78.75 | 20.31 | 207.85 | 2 | 0.92 | 0.97 | 0.23 | 0.06 | 0 | 11.98 | 884.99 | 0 | 5.58 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 30 | 0.05 | 1.57 | 78.11 | 20.26 | 219.78 | 4 | 0.89 | 0.92 | 0.25 | 0.06 | 0 | 12.7 | 884.57 | 0 | 5.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 31 | 0 | 1.57 | 76.5 | 20.13 | 215.21 | 4 | 0.84 | 1.13 | 0.08 | 0.06 | 0 | 13.34 | 884.57 | 0 | 3.78 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 31 | 0.03 | 1.59 | 78.34 | 19.9 | 202.13 | 3 | 0.95 | 1.1 | 1.54 | 0.06 | 0 | 13.55 | 884.7 | 0 | 4.86 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 30 | 0.01 | 1.67 | 79.81 | 19.74 | 204.6 | 5 | 0.8 | 1.06 | 2.8 | 0.06 | 0 | 11.29 | 885.03 | 1.33 | 1.8 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 34 | 0.02 | 1.54 | 78.26 | 20.41 | 219.85 | 7 | 0.9 | 1.09 | 0.63 | 0.06 | 0 | 13.58 | 885.49 | 18.66 | 0.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 44.58 | 0.03 | 1.67 | 68.89 | 23.19 | 214.98 | 4 | 0.89 | 1.04 | 1.78 | 0.06 | 0.06 | 11.28 | 885.56 | 48.72 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 30 | 0 | 1.54 | 41.05 | 18.72 | 196.42 | 0 | 0.77 | 0.92 | 0.08 | 0.06 | 0 | 6.18 | 883.78 | 0 | 0.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 64 | 0.07 | 1.72 | 89.29 | 30.86 | 238.82 | 11 | 1.13 | 1.19 | 5.97 | 0.06 | 1.35 | 14.92 | 888.24 | 246.8 | 6.53 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 44.58 | 0.03 | 1.67 | 68.89 | 23.19 | 214.98 | 4 | 0.89 | 1.04 | 1.78 | 0.06 | 0.06 | 11.28 | 885.56 | 48.72 | 3.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 10.87 | 0.02 | 0.06 | 15.31 | 4.16 | 11.73 | 2.72 | 0.08 | 0.07 | 1.5 | 0 | 0.27 | 2.39 | 1.39 | 76.37 | 1.7 | 0 | 0 | 0 | 0 | 0
Mode | 57 | 0.02 | 1.72 | 64.07 | 26.32 | 207.85 | 5 | 0.89 | 1.02 | 0.99 | 0.06 | 0 | 12.53 | 885.49 | 0 | 2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 44 | 0.02 | 1.7 | 78.26 | 20.55 | 218.54 | 4 | 0.89 | 1.06 | 1.54 | 0.06 | 0 | 11.98 | 885.49 | 0.1 | 2.66 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0