## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2025-03-01 | Station Name : |  | Sikulpuikawn |  |  | MARCH
Report No |  | 7 |  |  |  | Date : 07/03/2025
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | 1Hr.Average |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd |  |  | Data Submitted on : 07/03/2025
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
06-07Hr | 113 | 0.03 | 1.59 | 42.03 | 20.91 | 205.81 | 12.2 | 0.38 | 0.74 | 2.53 | 0.06 | 0 | 12.49 | 886.8 | 130.68 | 8.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
07-08Hr | 119 | 0 | 1.57 | 40.01 | 22.21 | 217.94 | 12 | 0.44 | 0.85 | 3.34 | 0.06 | 0 | 9.73 | 887.48 | 56.13 | 12.63 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
08-09Hr | 116 | 0 | 1.64 | 40.29 | 23.17 | 221.11 | 11.05 | 0.35 | 0.84 | 6.6 | 0.06 | 0 | 12.04 | 887.58 | 144.88 | 12.26 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
09-10Hr | 119 | 0.01 | 1.66 | 41.95 | 23.12 | 207.77 | 9 | 0.36 | 0.82 | 1.9 | 0.06 | 0 | 10.75 | 887.43 | 249.93 | 16.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
10-11Hr | 138 | 0.02 | 1.63 | 37.94 | 24.7 | 217.55 | 17.62 | 0.41 | 0.91 | 2.13 | 0.06 | 0 | 13.9 | 886.91 | 263.85 | 14 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
11-12Hr | 107 | 0.01 | 1.68 | 31.39 | 26.45 | 212.77 | 13.21 | 0.41 | 0.8 | 3.01 | 0.06 | 0 | 10.34 | 885.96 | 262.32 | 10.61 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
12-13Hr | 95 | 0 | 1.67 | 28.77 | 26.92 | 227.44 | 13 | 0.37 | 0.8 | 3.29 | 0.06 | 0 | 10.62 | 884.94 | 215.14 | 10.42 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
13-14Hr | 119 | 0 | 1.66 | 34.15 | 25.38 | 210.91 | 12 | 0.33 | 0.74 | 3.11 | 0.06 | 0 | 10.24 | 884.38 | 173.69 | 17.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
14-15Hr | 161 | 0.01 | 1.7 | 33.2 | 24.7 | 224.54 | 22 | 0.4 | 0.73 | 4.36 | 0.06 | 0 | 10.21 | 884.26 | 112.75 | 17.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
15-16Hr | 140.88 | 0.05 | 1.72 | 37.59 | 23.07 | 221.41 | 21.04 | 0.31 | 0.7 | 4.75 | 0.06 | 0 | 8.02 | 884.56 | 53.57 | 14.16 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
16-17Hr | 135 | 0.01 | 1.72 | 36.14 | 21.05 | 204.81 | 25.8 | 0.4 | 0.78 | 4.56 | 0.06 | 0 | 8.42 | 885.07 | 1.65 | 7.02 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
17-18Hr | 101 | 0.01 | 1.69 | 36.53 | 19.81 | 217.87 | 20.29 | 0.4 | 0.86 | 2.91 | 0.06 | 0 | 8.66 | 885.63 | 0 | 5.49 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
18-19Hr | 93.32 | 0.04 | 1.62 | 39.42 | 18.71 | 211.59 | 17.12 | 0.41 | 0.7 | 2.65 | 0.06 | 0 | 8.95 | 886.35 | 0 | 6.25 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
19-20Hr | 101 | 0.02 | 1.59 | 44.32 | 17.84 | 211.47 | 10.32 | 0.36 | 0.73 | 2.54 | 0.06 | 0 | 10.29 | 886.93 | 0 | 5.99 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
20-21Hr | 123 | 0 | 1.56 | 52.81 | 16.49 | 210.54 | 16 | 0.34 | 0.74 | 2.43 | 0.06 | 0 | 8.62 | 887.01 | 0 | 4.2 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
21-22Hr | 124 | 0 | 1.66 | 56.41 | 16.04 | 207.91 | 17 | 0.41 | 0.82 | 2.28 | 0.06 | 0 | 10.01 | 886.87 | 0 | 3.71 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
22-23Hr | 132 | 0.01 | 1.52 | 55.23 | 15.9 | 209.93 | 13.2 | 0.23 | 0.59 | 2.66 | 0.06 | 0 | 16.2 | 886.56 | 0 | 3.7 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
23-00Hr | 112 | 0 | 1.51 | 55.92 | 15.58 | 216.47 | 18 | 0.38 | 0.73 | 2.86 | 0.06 | 0 | 16.34 | 886.14 | 0 | 3.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
00-01Hr | 116 | 0.04 | 1.62 | 53.03 | 15.54 | 206.14 | 17.04 | 0.43 | 0.79 | 8.8 | 0.06 | 0 | 13.43 | 885.74 | 0 | 5.17 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
01-02Hr | 99 | 0 | 1.68 | 50.98 | 15.9 | 210.41 | 13.17 | 0.32 | 0.71 | 8.3 | 0.06 | 0 | 11.67 | 885.3 | 0 | 7.59 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
02-03Hr | 99 | 0 | 1.71 | 54.33 | 15.31 | 208.96 | 9.17 | 0.29 | 0.63 | 7.12 | 0.06 | 0 | 13.53 | 885.02 | 0 | 7.11 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
03-04Hr | 103 | 0 | 1.72 | 57.48 | 15.17 | 211.99 | 15.65 | 0.41 | 0.79 | 6.51 | 0.06 | 0 | 12.2 | 885.05 | 0 | 7.72 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
04-05Hr | 117 | 0.01 | 1.69 | 53.69 | 15.26 | 198.71 | 16.95 | 0.26 | 0.72 | 6.06 | 0.06 | 0 | 12.88 | 885.57 | 2.08 | 8.39 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
05-06Hr | 105 | 0 | 1.68 | 47.19 | 17.83 | 206.45 | 15.09 | 0.47 | 0.86 | 5.68 | 0.06 | 0 | 12.89 | 886.3 | 63.98 | 7.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Avg | 116.17 | 0.01 | 1.65 | 44.2 | 19.88 | 212.52 | 15.33 | 0.37 | 0.77 | 4.18 | 0.06 | 0 | 11.35 | 885.99 | 72.11 | 9.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Min | 93.32 | 0 | 1.51 | 28.77 | 15.17 | 198.71 | 9 | 0.23 | 0.59 | 1.9 | 0.06 | 0 | 8.02 | 884.26 | 0 | 3.65 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Max | 161 | 0.05 | 1.72 | 57.48 | 26.92 | 227.44 | 25.8 | 0.47 | 0.91 | 8.8 | 0.06 | 0 | 16.34 | 887.58 | 263.85 | 17.98 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Geom.Mean | 116.17 | 0.01 | 1.65 | 44.2 | 19.88 | 212.52 | 15.33 | 0.37 | 0.77 | 4.18 | 0.06 | 0 | 11.35 | 885.99 | 72.11 | 9.09 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Median | 16.16 | 0.01 | 0.06 | 8.85 | 3.97 | 6.67 | 4.12 | 0.06 | 0.07 | 2.02 | 0 | 0 | 2.25 | 1 | 94.31 | 4.32 | 0 | 0 | 0 | 0 | 0
Mode | 119 | 0 | 1.66 | 42.03 | 24.7 | 205.81 | 12 | 0.41 | 0.74 | 2.53 | 0.06 | 0 | 12.49 | 886.8 | 0 | 8.55 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Std.Deviation | 116 | 0.01 | 1.66 | 42.03 | 19.81 | 211.47 | 15.65 | 0.38 | 0.78 | 3.29 | 0.06 | 0 | 10.75 | 886.14 | 2.08 | 7.77 | 0.01 | 0.02 | 0.01 | 0.02 | 0.01
Valid Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Total Data Points | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24 | 24
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0