## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2024-11-01 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | NOVEMBER
Report No |  | 2024-11-01 | [8 empty] | Date : 30/11/2024
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 30/11/2024
Date | SPK_MV_Aizawl-PM10-(ug/m3)-Normalized | SPK_MV_Aizawl-NO2-(ug/m3)-Normalized | SPK_MV_Aizawl-SO2-(ug/m3)-Normalized | SPK_MV_Aizawl-RH-(%)-Normalized | SPK_MV_Aizawl-Temp-(Degree)-Normalized | SPK_MV_Aizawl-WD-(Degree)-Normalized | SPK_MV_Aizawl-PM2.5-(ug/m3)-Normalized | SPK_MV_Aizawl-NOx-(ug/m3)-Normalized | SPK_MV_Aizawl-NO-(ug/m3)-Normalized | SPK_MV_Aizawl-NH3-(ug/m3)-Normalized | SPK_MV_Aizawl-CO-(mg/m3)-Normalized | SPK_MV_Aizawl-Rain-(mm)-Normalized | SPK_MV_Aizawl-WS-(m/s)-Normalized | SPK_MV_Aizawl-Pressure-(kpa)-Normalized | SPK_MV_Aizawl-SR-(W/m2)-Normalized | SPK_MV_Aizawl-O3-(ug/m3)-Normalized | SPK_MV_Aizawl-Benzene-(ug/m3)-Normalized | SPK_MV_Aizawl-Toulene-(ppb)-Normalized | SPK_MV_Aizawl-Ethyl --(ppb)Normalized | SPK_MV_Aizawl-MP-(ppb)-Normalized | SPK_MV_Aizawl-Oxylene-(ppb)-Normalized
Day 1 | 72.93 | 0.11 | 2.45 | 79.5 | 25.3 | 206.54 | 11.68 | 1.28 | 1.07 | 4.47 | 0.05 | 0 | 11.31 | 890.82 | 79.22 | 15.3 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01
Day 2 | 53.86 | 0.1 | 2.42 | 84.79 | 23.41 | 225.78 | 9.52 | 1.36 | 1.15 | 4.4 | 0.04 | 0 | 14.97 | 890.49 | 75.63 | 4.49 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 3 | 34.67 | 0.09 | 2.42 | 77.59 | 24.51 | 220.67 | 6 | 1.3 | 1.12 | 3.98 | 0.04 | 0 | 11.14 | 890.92 | 68.25 | 7.13 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 4 | 45.65 | 0.09 | 2.47 | 81.46 | 24.71 | 211.69 | 6.33 | 1.31 | 1.1 | 4.22 | 0.04 | 0 | 10.7 | 890.62 | 64.06 | 2.16 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 5 | 33.14 | 0.12 | 2.44 | 85.45 | 22.97 | 209.41 | 2.26 | 1.37 | 1.11 | 3.27 | 0.04 | 0 | 12.55 | 891.47 | 36.26 | 2.35 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 6 | 33.1 | 0.09 | 2.37 | 70.72 | 21.54 | 209.29 | 1.07 | 1.32 | 1.13 | 2.73 | 0.03 | 0 | 8.48 | 890.95 | 45.37 | 6.9 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 7 | 23.07 | 0.09 | 2.41 | 78.62 | 21.45 | 216.09 | 0.47 | 1.36 | 1.12 | 3.93 | 0.03 | 0 | 10.4 | 890.41 | 54.53 | 13.68 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 8 | 31.51 | 0.1 | 2.44 | 74.18 | 21.11 | 213.88 | 0.98 | 1.34 | 1.1 | 4.09 | 0.03 | 0 | 9.98 | 890.26 | 66.46 | 18.31 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 9 | 23.68 | 0.09 | 2.44 | 69 | 21.25 | 210.87 | 0.87 | 1.32 | 1.12 | 4.41 | 0.03 | 0 | 9.88 | 890.39 | 60.77 | 9.88 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 10 | 13.35 | 0.07 | 2.46 | 74.58 | 23.04 | 207.97 | 0.5 | 1.26 | 1.1 | 3.96 | 0.03 | 0 | 10.7 | 891 | 56.68 | 2.96 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 11 | 32.3 | 0.08 | 2.46 | 80.01 | 23.14 | 212.78 | 4.56 | 1.3 | 1.12 | 3.75 | 0.04 | 0 | 10.38 | 890.55 | 46.2 | 4.11 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 12 | 27.25 | 0.11 | 2.46 | 83.29 | 23.06 | 215.84 | 1.03 | 1.33 | 1.09 | 3.69 | 0.04 | 0 | 12.18 | 889.88 | 58.55 | 2.84 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 13 | 30.66 | 0.1 | 2.45 | 85.83 | 22.27 | 223.5 | 1.86 | 1.34 | 1.11 | 3.15 | 0.04 | 0 | 14.83 | 889.14 | 62.68 | 0.03 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 14 | 26.45 | 0.1 | 2.42 | 83.44 | 21.82 | 226.99 | 0.62 | 1.34 | 1.11 | 2.94 | 0.04 | 0 | 16.67 | 889.59 | 57.83 | 0.04 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 15 | 25.42 | 0.12 | 2.43 | 86.08 | 21.12 | 229.34 | 0.89 | 1.36 | 1.11 | 3.63 | 0.03 | 0 | 16.9 | 889.14 | 66.39 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 16 | 28.04 | 0.09 | 2.45 | 77.77 | 20.85 | 229.66 | 0.99 | 1.31 | 1.1 | 3.95 | 0.03 | 0 | 13.9 | 888.49 | 67.25 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 17 | 14.37 | 0.08 | 2.45 | 70.58 | 20.39 | 214.95 | 0.47 | 1.35 | 1.13 | 4.85 | 0.03 | 0 | 11.42 | 888.75 | 64.79 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 18 | 30.78 | 0.07 | 2.47 | 66.66 | 21.29 | 213.66 | 0.97 | 1.36 | 1.17 | 4.57 | 0.03 | 0 | 9.84 | 889.58 | 80.26 | 0.54 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 19 | 25.62 | 0.08 | 2.48 | 75.63 | 21.33 | 206.89 | 1 | 1.31 | 1.11 | 5.75 | 0.03 | 0 | 11.15 | 890.45 | 62.64 | 2.46 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 20 | 24.43 | 0.1 | 2.42 | 89.27 | 20.73 | 209.21 | 0.68 | 1.36 | 1.14 | 3.1 | 0.03 | 0.01 | 12.91 | 889.91 | 29.31 | 16.76 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 21 | 27.82 | 0.09 | 2.44 | 87.09 | 20.55 | 220.43 | 1.61 | 1.31 | 1.1 | 3.28 | 0.03 | 0.01 | 13.51 | 889.5 | 42.64 | 8.13 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 22 | 29.84 | 0.09 | 2.39 | 83.59 | 19.84 | 224.38 | 3.13 | 1.36 | 1.12 | 3.11 | 0.03 | 0 | 14.95 | 889.35 | 49.59 | 12.71 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 23 | 47.01 | 0.07 | 2.47 | 75.19 | 19.34 | 209.71 | 5.42 | 1.33 | 1.13 | 5.06 | 0.03 | 0 | 10.76 | 890.02 | 57.38 | 24.21 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 24 | 39.03 | 0.11 | 2.5 | 76.39 | 19.61 | 212.85 | 5.62 | 1.33 | 1.1 | 4.77 | 0.03 | 0 | 12.98 | 890.08 | 64.96 | 26.93 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 25 | 40.23 | 0.1 | 2.51 | 75.96 | 19.28 | 211.3 | 5.61 | 1.33 | 1.13 | 5.73 | 0.03 | 0 | 12.22 | 889.45 | 71.42 | 29.94 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 26 | 30.76 | 0.09 | 2.52 | 74.77 | 18.41 | 214.09 | 1.03 | 1.34 | 1.13 | 5.99 | 0.03 | 0 | 13.17 | 888.9 | 64.01 | 11.26 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 27 | 19.36 | 0.09 | 2.53 | 66.53 | 19.95 | 210.47 | 0.31 | 1.36 | 1.14 | 5.98 | 0.03 | 0 | 10.19 | 888.84 | 65.02 | 9.73 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 28 | 21.35 | 0.11 | 2.49 | 75.71 | 21.41 | 212.05 | 0 | 1.35 | 1.11 | 3.84 | 0.03 | 0 | 11.28 | 890.31 | 38.57 | 9.19 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Day 29 | 31.68 | 0.08 | 2.52 | 84.33 | 20.74 | 217.85 | 0.04 | 1.33 | 1.13 | 3.71 | 0.04 | 0.06 | 13.9 | 890.64 | 30.19 | 3.4 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day 30 | 21.2 | 0.1 | 2.5 | 82.62 | 21.46 | 218.11 | 0 | 1.37 | 1.14 | 3.26 | 0.04 | 0.03 | 13.16 | 889.57 | 35.37 | 4.45 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Day-31 | 19.45 | 0.11 | 2.47 | 99.5 | 17.22 | 258.26 | 0.58 | 1.39 | 1.2 | 3.31 | 0.03 | 0.01 | 24.8 | 888.83 | 2.78 | 6.22 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01
Average | 30.9 | 0.09 | 2.46 | 79.23 | 21.39 | 216.92 | 2.45 | 1.33 | 1.12 | 4.09 | 0.03 | 0 | 12.62 | 889.95 | 55.65 | 8.26 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Min | 13.35 | 0.07 | 2.37 | 66.53 | 17.22 | 206.54 | 0 | 1.26 | 1.07 | 2.73 | 0.03 | 0 | 8.48 | 888.49 | 2.78 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Max | 72.93 | 0.12 | 2.53 | 99.5 | 25.3 | 258.26 | 11.68 | 1.39 | 1.2 | 5.99 | 0.05 | 0.06 | 24.8 | 891.47 | 80.26 | 29.94 | 0.01 | 0.02 | 0.01 | 0.01 | 0.01
Geom.Mean | 30.9 | 0.09 | 2.46 | 79.23 | 21.39 | 216.92 | 2.45 | 1.33 | 1.12 | 4.09 | 0.03 | 0 | 12.62 | 889.95 | 55.65 | 8.26 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Median | 11.7 | 0.01 | 0.04 | 7.03 | 1.78 | 9.96 | 2.9 | 0.03 | 0.02 | 0.89 | 0.01 | 0.01 | 3 | 0.77 | 16.55 | 8.03 | 0 | 0 | 0 | 0 | 0
Mode | 72.93 | 0.09 | 2.45 | 79.5 | 25.3 | 206.54 | 0.47 | 1.36 | 1.1 | 4.47 | 0.03 | 0 | 10.7 | 889.14 | 79.22 | 0 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Std.Deviation | 29.84 | 0.09 | 2.45 | 78.62 | 21.29 | 213.88 | 1 | 1.34 | 1.12 | 3.95 | 0.03 | 0 | 12.18 | 890.02 | 60.77 | 6.22 | 0.01 | 0.01 | 0.01 | 0.01 | 0
Valid Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Total Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Data Availability % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0