## Sheet1
MIZORAM POLLUTION CONTROL BOARD
Continuous Ambient Air Quality Monitoring Report
(MAIN POLLUTANTS)
Report |  | 2026-04-26 | Station Name : |  |  |  | Sikulpuikawn |  |  |  |  | APRIL
Report No |  | 2026-04-26 | [8 empty] | Date : 30/04/2026
Monitoring Location |  |  | Sikulpuikawn
Data Interval |  | Day |  |  |  |  | Data Submitted to MPCB By Swan technical service pvt.Ltd
Monitoring Conducted By: |  |  | Swan Technical Services Pvt.Ltd | [5 empty] | Data Submitted on : 30/04/2026
Date | SPK_MV_Aizawl PM10 (ug/m3) | SPK_MV_Aizawl PM2.5 (ug/m3) | SPK_MV_Aizawl MP Xylene (ppb) | SPK_MV_Aizawl RH (%) | SPK_MV_Aizawl O3 (ug/m3) | SPK_MV_Aizawl NO2 (ug/m3) | SPK_MV_Aizawl Benzene (ppb) | SPK_MV_Aizawl O_xylene (ppb) | SPK_MV_Aizawl Temperature (Degree) | SPK_MV_Aizawl WD (Degree) | SPK_MV_Aizawl NOx (ug/m3) | SPK_MV_Aizawl SO2 (ug/m3) | SPK_MV_Aizawl Toulene (ppb) | SPK_MV_Aizawl RF (mm) | SPK_MV_Aizawl Pressure (kpa) | SPK_MV_Aizawl NH3 (ug/m3) | SPK_MV_Aizawl NO (ug/m3) | SPK_MV_Aizawl CO (mg/m3) | SPK_MV_Aizawl Ethyl Benzene (ppb) | SPK_MV_Aizawl WS (m/s) | SPK_MV_Aizawl SR (W/m2)
Day 1 | 49.02 | 23.93 | 0.02 | 68.41 | NA | 0.93 | 0.01 | 0.01 | 25.25 | 214.48 | 2.45 | 11.97 | 0.02 | 0 | 888.37 | 0.82 | 1.2 | 0.06 | 0.01 | 7.86 | 72.33
Day 2 | 68.94 | 32.77 | 0.02 | 72.06 | NA | 0.96 | 0.01 | 0.01 | 24.39 | 226.6 | 2.47 | 11.84 | 0.02 | 0 | 888.19 | 0.75 | 1.2 | 0.06 | 0.01 | 8.23 | 53.1
Day 3 | 76.72 | 37.93 | 0.02 | 64.74 | NA | 0.95 | 0.01 | 0.01 | 25.51 | 219.12 | 2.47 | 12.02 | 0.02 | 0 | 887.72 | 0.77 | 1.21 | 0.06 | 0.01 | 9.85 | 48.46
Day 4 | 84.76 | 41.17 | 0.02 | 69.36 | NA | 0.94 | 0.01 | 0.01 | 24.58 | 221.52 | 2.45 | 11.99 | 0.02 | 0 | 886.39 | 0.77 | 1.2 | 0.06 | 0.01 | 8.39 | 45.28
Day 5 | 86.81 | 41.68 | 0.02 | 80.83 | NA | 0.93 | 0.01 | 0.01 | 21.76 | 235 | 2.47 | 11.71 | 0.02 | 0.05 | 886.05 | 0.74 | 1.22 | 0.06 | 0.01 | 9.47 | 26.66
Day 6 | 47.1 | 23.04 | 0.02 | 62.36 | NA | 0.92 | 0.01 | 0.01 | 24.19 | 205.4 | 2.45 | 12.12 | 0.02 | 0 | 887.36 | 0.6 | 1.2 | 0.06 | 0.01 | 8.13 | 57.3
Day 7 | 31.27 | 15.43 | 0.02 | 73.28 | NA | 0.92 | 0.01 | 0.01 | 22.53 | 207.1 | 2.46 | 11.8 | 0.02 | 0.01 | 887.46 | 0.32 | 1.22 | 0.06 | 0.01 | 7.51 | 44.4
Day 8 | 25.63 | 12.43 | 0.02 | 75.29 | NA | 0.93 | 0.01 | 0.01 | 21.6 | 211.72 | 2.44 | 11.7 | 0.02 | 0.03 | 887.66 | 0.32 | 1.2 | 0.06 | 0.01 | 7.44 | 45.57
Day 9 | 33.35 | 16.01 | 0.02 | 85.44 | NA | 0.92 | 0.01 | 0.01 | 19.13 | 208.21 | 2.47 | 11.59 | 0.02 | 0.03 | 888.17 | 0.32 | 1.23 | 0.06 | 0.01 | 7.39 | 12.78
Day 10 | 45.33 | 22.43 | 0.02 | 73.81 | NA | 0.9 | 0.01 | 0.01 | 20.37 | 211.42 | 2.44 | 11.76 | 0.02 | 0.01 | 887.95 | 0.34 | 1.23 | 0.06 | 0.01 | 7.69 | 46.03
Day 11 | 78.99 | 38.58 | 0.02 | 66.2 | NA | 0.93 | 0.01 | 0.01 | 22.13 | 223.89 | 2.47 | 11.77 | 0.02 | 0 | 887.95 | 0.32 | 1.22 | 0.06 | 0.01 | 7.99 | 50.68
Day 12 | 96.34 | 45.49 | 0.02 | 63.77 | NA | 0.93 | 0.01 | 0.01 | 23.26 | 220.57 | 2.45 | 12.02 | 0.02 | 0 | 886.07 | 0.33 | 1.19 | 0.06 | 0.01 | 8.14 | 57.19
Day 13 | 105.17 | 49.71 | 0.02 | 55.26 | NA | 0.91 | 0.01 | 0.01 | 24.89 | 191.53 | 2.46 | 12.08 | 0.02 | 0 | 887.35 | 0.35 | 1.22 | 0.06 | 0.01 | 15.27 | 55.29
Day 14 | 96.99 | 45.54 | 0.02 | 61.23 | NA | 0.94 | 0.01 | 0.01 | 24.39 | 228.06 | 2.45 | 12.05 | 0.02 | 0 | 887.06 | 0.33 | 1.2 | 0.06 | 0.01 | 9.29 | 52.74
Day 15 | 91.5 | 42.91 | 0.02 | 78.7 | NA | 0.95 | 0.01 | 0.01 | 23.41 | 216.67 | 2.49 | 12.06 | 0.02 | 0.03 | 886.17 | 0.31 | 1.22 | 0.06 | 0.01 | 10.89 | 47.62
Day 16 | 85.22 | 41.73 | 0.02 | 72.54 | NA | 0.94 | 0.01 | 0.01 | 24.92 | 210.22 | 2.46 | 12.17 | 0.02 | 0 | 887.31 | 0.33 | 1.2 | 0.06 | 0.01 | 9.41 | 5.5
Day 17 | 99.04 | 51.35 | 0.02 | 79.78 | NA | 0.92 | 0.01 | 0.01 | 24.79 | 214.51 | 2.44 | 12.06 | 0.02 | 0 | 887.79 | 0.32 | 1.2 | 0.06 | 0.01 | 7.08 | NA
Day 18 | 102.71 | 52.62 | 0.02 | 82.69 | NA | 0.93 | 0.01 | 0.01 | 24.6 | 200.51 | 2.44 | 12.03 | 0.02 | 0 | 886.98 | 0.32 | 1.19 | 0.06 | 0.01 | 6.28 | NA
Day 19 | 72.25 | 37.12 | 0.02 | 87.63 | NA | 0.94 | 0.01 | 0.01 | 23.53 | 216.65 | 2.47 | 11.86 | 0.02 | 0.02 | 886.23 | 0.33 | 1.22 | 0.06 | 0.01 | 7.95 | NA
Day 20 | 74.59 | 31.81 | 0.02 | 85.07 | 3.61 | 0.89 | 0.01 | 0.01 | 23.74 | 226.96 | 2.48 | 11.83 | 0.02 | 0.12 | 885.28 | 0.32 | 1.26 | 0.06 | 0.01 | 8.19 | NA
Day 21 | 65 | 8.58 | 0.02 | 82.16 | 0.23 | 0.9 | 0.01 | 0.01 | 24.33 | 216.49 | 2.53 | 11.59 | 0.02 | 0 | 885.04 | 0.33 | 1.3 | 0.06 | 0.01 | 8.85 | NA
Day 22 | 63.58 | 7.54 | 0.02 | 82.01 | 1.13 | 0.92 | 0.01 | 0.01 | 24.46 | 216.23 | 2.49 | 11.67 | 0.02 | 0.03 | 885.7 | 0.32 | 1.26 | 0.06 | 0.01 | 8.94 | NA
Day 23 | 58.37 | 6.08 | 0.02 | 71.05 | 0.6 | 0.93 | 0.01 | 0.01 | 25.5 | 219.55 | 2.45 | 11.78 | 0.02 | 0 | 885.75 | 0.32 | 1.2 | 0.06 | 0.01 | 7.86 | NA
Day 24 | 88.83 | 9.21 | 0.02 | 77.22 | 0 | 0.97 | 0.01 | 0.01 | 26.61 | 218.21 | 2.49 | 11.95 | 0.02 | 0 | 886.61 | 0.31 | 1.2 | 0.06 | 0.01 | 8.01 | NA
Day 25 | 95.04 | 10.96 | 0.02 | 72.53 | 0.77 | 0.92 | 0.01 | 0.01 | 26.49 | 214.77 | 2.43 | 11.95 | 0.02 | 0.02 | 887.56 | 0.32 | 1.18 | 0.06 | 0.01 | 8.01 | NA
Day 26 | 68.5 | 11.98 | 0.02 | 92.59 | 2.13 | 0.95 | 0.01 | 0.01 | 20.68 | 192.94 | 2.44 | 11.43 | 0.02 | 0.04 | 887.45 | 0.3 | 1.19 | 0.06 | 0.01 | 15.7 | NA
Day 27 | 12.44 | 1.64 | 0.02 | 91.8 | 5.68 | 0.96 | 0.01 | 0.01 | 18 | 173.78 | 2.5 | 11.76 | 0.02 | 0.28 | 884.99 | 0.32 | 1.23 | 0.06 | 0.01 | 12.4 | NA
Day28 | 19.4 | 4.39 | 0.02 | 86.03 | 4.29 | 0.9 | 0.01 | 0.01 | 18.41 | 170.92 | 2.46 | 11.65 | 0.02 | 0.09 | 884.91 | 0.31 | 1.23 | 0.06 | 0.01 | 7.41 | NA
Day 29 | 10.58 | 0.54 | 0.02 | 86.44 | 3.86 | 0.82 | 0.01 | 0.01 | 17.94 | 193.83 | 2.41 | 11.73 | 0.02 | 0.07 | 885.89 | 0.33 | 1.24 | 0.06 | 0.01 | 9.4 | NA
Day 30 | 12.08 | 0 | 0.02 | 85.59 | 1.97 | 0.84 | 0.01 | 0.01 | 19.45 | 179.12 | 2.47 | 11.47 | 0.02 | 0.01 | 886.58 | 0.31 | 1.29 | 0.06 | 0.01 | 8.01 | NA
Day 1 | 9.46 | 0.13 | 0.02 | 88.15 | 4.02 | 0.97 | 0.01 | 0.01 | 18.27 | 166.5 | 2.51 | 11.57 | 0.02 | 0 | 885.09 | 0.33 | 1.22 | 0.06 | 0.01 | 6.82 | NA
Average | 63.06 | 24.67 | 0.02 | 76.58 | 2.36 | 0.92 | 0.01 | 0.01 | 22.87 | 208.79 | 2.46 | 11.84 | 0.02 | 0.03 | 886.74 | 0.4 | 1.22 | 0.06 | 0.01 | 8.83 | 45.06
Min | 9.46 | 0 | 0.02 | 55.26 | 0 | 0.82 | 0.01 | 0.01 | 17.94 | 166.5 | 2.41 | 11.43 | 0.02 | 0 | 884.91 | 0.3 | 1.18 | 0.06 | 0.01 | 6.28 | 5.5
Max | 105.17 | 52.62 | 0.02 | 92.59 | 5.68 | 0.97 | 0.01 | 0.01 | 26.61 | 235 | 2.53 | 12.17 | 0.02 | 0.28 | 888.37 | 0.82 | 1.3 | 0.06 | 0.01 | 15.7 | 72.33
Geom.Mean | 63.06 | 24.67 | 0.02 | 76.58 | 2.36 | 0.92 | 0.01 | 0.01 | 22.87 | 208.79 | 2.46 | 11.84 | 0.02 | 0.03 | 886.74 | 0.4 | 1.22 | 0.06 | 0.01 | 8.83 | 45.06
Median | 68.94 | 23.04 | 0.02 | 77.22 | 2.05 | 0.93 | 0.01 | 0.01 | 23.74 | 214.51 | 2.46 | 11.83 | 0.02 | 0 | 886.98 | 0.32 | 1.22 | 0.06 | 0.01 | 8.13 | 48.04
Mode | 9.46 | 0.54 | 0.02 | 55.26 | 0.23 | 0.93 | 0.01 | 0.01 | 24.39 | 166.5 | 2.47 | 12.02 | 0.02 | 0 | 887.95 | 0.32 | 1.2 | 0.06 | 0.01 | 8.01 | 5.5
Std.Deviation | 30.78 | 17.66 | 0 | 9.7 | 1.88 | 0.03 | 0 | 0 | 2.62 | 17.4 | 0.02 | 0.2 | 0 | 0.06 | 1.07 | 0.17 | 0.03 | 0 | 0 | 2.14 | 16.86
Valid Data Points | 31 | 31 | 31 | 31 | 12 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 16
Total Data Points | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31 | 31
Data Availability % | 100 | 100 | 100 | 100 | 38.71 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 51.61
Uncertainty | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0